## input
OPEN 6.3.4
Mon Feb 3 2020 03:41:19
Unit= | PSC-0223
LCF= | LCF-2124
LCFCals= | -1.92 | -0.3 | -2940
LightSource= | 6400-40 Fluorometer | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LCF2124.xml
Remark= | sin
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | FCnt | DCnt | Fo | Fm | Fo' | Fm' | Fs | Fv/Fm | Fv'/Fm' | PhiPS2 | Adark | RedAbs | BlueAbs | %Blue | LeafAbs | PhiCO2 | qP | qN | NPQ | ParIn@Fs | PS2/1 | ETR | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Fv | PARabs | Fv' | qP_Fo | qN_Fo
in | in | in | in | out | out | out | in | in | in | in | in | in | in | out | out | out | in | in | in | in | out | out | out | out | out | in | in | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
1 | 03:42:08 | 105.5 | 0 | -2.2388 | 0.094046 | 430.6437 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | -106.0023 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 1.2203 | 1.2982 | 22.4961 | 2 | 4.6449 | 1 | 9.2897 | 22.7202 | 22.4961 | 23.0152 | 400.2636 | 400.9313 | 13.7458 | 14.2049 | 50.146 | 51.8207 | 524.069 | 0.013433 | 0.17196 | 101.1368 | -0.040371 | -0.033113 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.6203 | 0.0012203 | 295.6461 | 295.8702 | 0.0021493 | -0.20535 | 2.7349 | 27.0411 | 12.8363 | 22.6081 | 2.7535 | 0.093104 | 1.4366 | 1.3169 | 0.058274 | 43.5539 | 1.0741 | 52.0167 | 401.2566 | -0.0029023 | 0 | 0.011687 | 0 | #DIV/0! | #DIV/0!
Remark= | "03:42:26 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "03:53:02 Launched AutoProg /User/Configs/AutoProgs/LightCurve2"
Remark= | "03:56:30 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "03:56:31 CO2 Mixer: CO2R -> 400 uml"
Remark= | "03:56:31 Coolers: Tblock -> 23.00 C"
Remark= | "03:56:31 Flow: Fixed -> 500 umol/s"
Remark= | "03:56:31 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "03:57:47 Fs=491 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "03:57:47 RF#1 7624 um, Fmax=618 Int=9 Mod=20 Filter=50"
Remark= | "03:57:48 Fm'=618"
Remark= | "03:58:09 Flow: Fixed -> 500 umol/s"
2 | 03:57:48 | 1065.5 | 0 | 15.4753 | 0.15443 | 221.677 | 1 | 0 | 0 | 0 | 0 | 618.2994 | 491.8168 | #DIV/0! | 1 | 0.20457 | -1 | 0.87 | 0.92 | 10.0015 | 0.875 | 0.014461 | 0.20457 | #DIV/0! | -1 | 1302.0271 | 0.5 | 116.5281 | 2.765 | 1.7989 | 25.3045 | 2 | 4.6449 | 1 | 9.2897 | 22.8678 | 25.3045 | 23.0199 | 399.8674 | 393.2285 | 13.1302 | 14.2228 | 47.4894 | 51.4409 | 498.9524 | 1302.0271 | 0.091619 | 101.1702 | 0.095372 | -0.053329 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4948 | 0.002765 | 298.4545 | 296.0178 | 208.3243 | 0.23507 | 3.2379 | 32.0041 | 17.7813 | 24.0861 | 3.0105 | 0.1519 | 1.4389 | 1.5716 | 0.095163 | 22.4271 | 0.56374 | 44.0559 | 390.9795 | 0.017438 | 0 | 1139.2747 | 618.2994 | 0.20457 | #DIV/0!
Remark= | "03:58:09 LCF Lamp: ParIn -> 1100 uml, with blue = 10 percent, actinic on"
Remark= | "03:59:21 Fs=489 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "03:59:21 RF#2 7526 um, Fmax=646 Int=9 Mod=20 Filter=50"
Remark= | "03:59:22 Fm'=646"
Remark= | "03:59:43 Flow: Fixed -> 500 umol/s"
3 | 03:59:22 | 1159.5 | 0 | 15.5604 | 0.16846 | 234.6838 | 2 | 0 | 0 | 0 | 0 | 646.8107 | 489.347 | #DIV/0! | 1 | 0.24345 | -1 | 0.87 | 0.92 | 9.7266 | 0.87486 | 0.017184 | 0.24345 | #DIV/0! | -1 | 1101.5342 | 0.5 | 117.3036 | 2.812 | 1.6808 | 24.6746 | 2 | 4.6449 | 1 | 9.2897 | 22.845 | 24.6746 | 23.0088 | 399.9538 | 393.287 | 13.1018 | 14.2107 | 47.4533 | 51.4695 | 499.9819 | 1101.5342 | 0.34674 | 101.1731 | 0.13464 | -0.052821 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.002812 | 297.8246 | 295.995 | 176.2455 | 0.12632 | 3.1185 | 30.8236 | 16.613 | 23.7598 | 2.952 | 0.16546 | 1.4377 | 1.5143 | 0.10368 | 23.7437 | 0.59672 | 45.8436 | 391.0257 | 0.018243 | 0 | 963.6918 | 646.8107 | 0.24345 | #DIV/0!
Remark= | "03:59:43 LCF Lamp: ParIn -> 900 uml, with blue = 10 percent, actinic on"
Remark= | "04:01:10 Fs=490 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "04:01:10 RF#3 7441 um, Fmax=682 Int=9 Mod=20 Filter=50"
Remark= | "04:01:11 Fm'=682"
Remark= | "04:01:32 Flow: Fixed -> 500 umol/s"
4 | 04:01:11 | 1268.5 | 0 | 15.7668 | 0.17846 | 241.473 | 3 | 0 | 0 | 0 | 0 | 682.9077 | 490.5223 | #DIV/0! | 1 | 0.28172 | -1 | 0.87 | 0.92 | 9.7491 | 0.87487 | 0.021287 | 0.28172 | #DIV/0! | -1 | 900.2916 | 0.5 | 110.9454 | 2.8243 | 1.596 | 24.2011 | 2 | 4.6449 | 1 | 9.2897 | 22.8355 | 24.2011 | 23.0066 | 400.0894 | 393.3298 | 13.0716 | 14.1866 | 47.3731 | 51.4143 | 499.3723 | 900.2916 | 0.32277 | 101.1777 | 0.13907 | -0.053399 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4969 | 0.0028243 | 297.3511 | 295.9855 | 144.0467 | 0.016523 | 3.0314 | 29.9607 | 15.774 | 23.5183 | 2.9094 | 0.17509 | 1.4354 | 1.474 | 0.10973 | 24.4317 | 0.61392 | 47.1772 | 391.0385 | 0.019022 | 0 | 787.6423 | 682.9077 | 0.28172 | #DIV/0!
Remark= | "04:01:32 LCF Lamp: ParIn -> 700 uml, with blue = 10 percent, actinic on"
Remark= | "04:02:45 Fs=494 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "04:02:45 RF#4 7360 um, Fmax=753 Int=9 Mod=20 Filter=50"
Remark= | "04:02:46 Fm'=753"
Remark= | "04:03:07 Flow: Fixed -> 500 umol/s"
5 | 04:02:46 | 1363.5 | 0 | 14.8191 | 0.19244 | 260.8113 | 4 | 0 | 0 | 0 | 0 | 753.9531 | 494.8007 | #DIV/0! | 1 | 0.34372 | -1 | 0.87 | 0.92 | 9.7279 | 0.87486 | 0.02578 | 0.34372 | #DIV/0! | -1 | 701.3939 | 0.5 | 105.4589 | 2.8206 | 1.4811 | 23.5394 | 2 | 4.6449 | 1 | 9.2897 | 22.8309 | 23.5394 | 23.0292 | 400.4052 | 394.021 | 13.0402 | 14.1545 | 47.2696 | 51.3091 | 499.0618 | 701.3939 | 0.2974 | 101.1716 | 0.15369 | -0.056516 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4953 | 0.0028206 | 296.6894 | 295.9809 | 112.223 | -0.08043 | 2.9131 | 28.7936 | 14.6391 | 23.1851 | 2.8515 | 0.18853 | 1.432 | 1.4194 | 0.11818 | 26.3867 | 0.66192 | 49.0972 | 391.8675 | 0.018567 | 0 | 613.6242 | 753.9531 | 0.34372 | #DIV/0!
Remark= | "04:03:07 LCF Lamp: ParIn -> 550 uml, with blue = 10 percent, actinic on"
Remark= | "04:04:49 Fs=506 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "04:04:49 RF#5 7299 um, Fmax=871 Int=9 Mod=20 Filter=50"
Remark= | "04:04:50 Fm'=871"
Remark= | "04:05:11 Flow: Fixed -> 500 umol/s"
6 | 04:04:50 | 1487.5 | 0 | 14.4722 | 0.20316 | 270.1314 | 5 | 0 | 0 | 0 | 0 | 871.52 | 506.6323 | #DIV/0! | 1 | 0.41868 | -1 | 0.87 | 0.92 | 9.6392 | 0.87482 | 0.032133 | 0.41868 | #DIV/0! | -1 | 550.3979 | 0.5 | 100.7969 | 2.8019 | 1.3958 | 23.0115 | 2 | 4.6449 | 1 | 9.2897 | 22.7213 | 23.0115 | 23.0167 | 399.9472 | 393.7047 | 12.9867 | 14.0939 | 47.3883 | 51.4283 | 499.0076 | 550.3979 | 0.069067 | 101.168 | 0.09482 | -0.053378 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.495 | 0.0028019 | 296.1615 | 295.8713 | 88.0637 | -0.15501 | 2.8217 | 27.8911 | 13.7973 | 22.8664 | 2.797 | 0.19881 | 1.4258 | 1.3712 | 0.12464 | 27.3286 | 0.68613 | 50.5524 | 391.6015 | 0.018682 | 0 | 481.4989 | 871.52 | 0.41868 | #DIV/0!
Remark= | "04:05:11 LCF Lamp: ParIn -> 400 uml, with blue = 10 percent, actinic on"
Remark= | "04:06:23 Fs=515 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "04:06:23 RF#6 7238 um, Fmax=997 Int=9 Mod=20 Filter=50"
Remark= | "04:06:24 Fm'=997"
Remark= | "04:06:45 Flow: Fixed -> 500 umol/s"
7 | 04:06:24 | 1581.5 | 0 | 12.5752 | 0.21369 | 291.3001 | 6 | 0 | 0 | 0 | 0 | 997.9461 | 515.8524 | #DIV/0! | 1 | 0.48309 | -1 | 0.87 | 0.92 | 9.4169 | 0.87471 | 0.038832 | 0.48309 | #DIV/0! | -1 | 399.6646 | 0.5 | 84.441 | 2.7563 | 1.3077 | 22.4267 | 2 | 4.6449 | 1 | 9.2897 | 22.664 | 22.4267 | 23.0161 | 400.0039 | 394.528 | 12.903 | 13.9923 | 47.249 | 51.2377 | 499.0117 | 399.6646 | 0.40876 | 101.1727 | 0.04047 | -0.057821 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4951 | 0.0027563 | 295.5767 | 295.814 | 63.9463 | -0.21997 | 2.7234 | 26.9178 | 12.9256 | 22.5453 | 2.7431 | 0.20888 | 1.4156 | 1.3274 | 0.13098 | 29.4716 | 0.73835 | 52.081 | 392.7006 | 0.016678 | 0 | 349.59 | 997.9461 | 0.48309 | #DIV/0!
Remark= | "04:06:45 LCF Lamp: ParIn -> 250 uml, with blue = 10 percent, actinic on"
Remark= | "04:07:46 Fs=513 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "04:07:46 RF#7 7176 um, Fmax=1106 Int=9 Mod=20 Filter=50"
Remark= | "04:07:47 Fm'=1106"
Remark= | "04:08:08 Flow: Fixed -> 500 umol/s"
8 | 04:07:47 | 1664.5 | 0 | 9.4615 | 0.22044 | 318.4298 | 7 | 0 | 0 | 0 | 0 | 1106.7463 | 513.2979 | #DIV/0! | 1 | 0.53621 | -1 | 0.87 | 0.92 | 8.8689 | 0.87443 | 0.047753 | 0.53621 | #DIV/0! | -1 | 250.5315 | 0.5 | 58.7347 | 2.7125 | 1.2488 | 21.9951 | 2 | 4.6449 | 1 | 9.2897 | 22.6454 | 21.9951 | 23.0181 | 399.8912 | 395.6705 | 12.8052 | 13.8768 | 46.9406 | 50.8692 | 499.1978 | 250.5315 | 0.32982 | 101.1665 | 0.041339 | -0.059248 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.496 | 0.0027125 | 295.1451 | 295.7954 | 40.085 | -0.28944 | 2.6527 | 26.2213 | 12.3444 | 22.3202 | 2.7058 | 0.21533 | 1.4039 | 1.3019 | 0.13503 | 32.2144 | 0.80479 | 53.0725 | 394.2956 | 0.012735 | 0 | 219.0734 | 1106.7463 | 0.53621 | #DIV/0!
Remark= | "04:08:08 LCF Lamp: ParIn -> 150 uml, with blue = 10 percent, actinic on"
Remark= | "04:09:10 Fs=507 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "04:09:10 RF#8 7132 um, Fmax=1185 Int=9 Mod=20 Filter=50"
Remark= | "04:09:11 Fm'=1185"
Remark= | "04:09:32 Flow: Fixed -> 500 umol/s"
9 | 04:09:11 | 1748.5 | 0 | 6.419 | 0.22355 | 343.0719 | 8 | 0 | 0 | 0 | 0 | 1185.9669 | 507.5934 | #DIV/0! | 1 | 0.572 | -1 | 0.87 | 0.92 | 8.1039 | 0.87405 | 0.056787 | 0.572 | #DIV/0! | -1 | 149.4723 | 0.5 | 37.3649 | 2.679 | 1.2171 | 21.7274 | 2 | 4.6449 | 1 | 9.2897 | 22.6113 | 21.7274 | 23.0129 | 400.1972 | 397.2029 | 12.7077 | 13.7649 | 46.6835 | 50.5673 | 499.8319 | 149.4723 | 0.012686 | 101.1745 | 0.021652 | -0.061209 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4992 | 0.002679 | 294.8774 | 295.7613 | 23.9156 | -0.33795 | 2.6097 | 25.7942 | 12.0293 | 22.1694 | 2.681 | 0.2183 | 1.3927 | 1.2884 | 0.1369 | 34.7101 | 0.86372 | 53.5414 | 396.2701 | 0.0086729 | 0 | 130.6466 | 1185.9669 | 0.572 | #DIV/0!
Remark= | "04:09:32 LCF Lamp: ParIn -> 100 uml, with blue = 10 percent, actinic on"
Remark= | "04:10:43 Fs=498 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "04:10:43 RF#9 7105 um, Fmax=1256 Int=9 Mod=20 Filter=50"
Remark= | "04:10:44 Fm'=1256"
Remark= | "04:11:05 Flow: Fixed -> 500 umol/s"
10 | 04:10:44 | 1841.5 | 0 | 3.689 | 0.22497 | 363.7881 | 9 | 0 | 0 | 0 | 0 | 1256.3093 | 498.2689 | #DIV/0! | 1 | 0.60339 | -1 | 0.87 | 0.92 | 7.1263 | 0.87356 | 0.053129 | 0.60339 | #DIV/0! | -1 | 101.0306 | 0.5 | 26.6264 | 2.6721 | 1.2066 | 21.6028 | 2 | 4.6449 | 1 | 9.2897 | 22.6668 | 21.6028 | 23.0194 | 399.8571 | 397.9563 | 12.6195 | 13.6737 | 46.2014 | 50.0608 | 500.0272 | 101.0306 | 0.20297 | 101.1693 | -0.030179 | -0.061426 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.0026721 | 294.7528 | 295.8168 | 16.1649 | -0.35979 | 2.5899 | 25.5998 | 11.9261 | 22.1348 | 2.6754 | 0.21965 | 1.3834 | 1.292 | 0.13775 | 36.8042 | 0.91414 | 53.6038 | 397.4202 | 0.0049757 | 0 | 88.2566 | 1256.3093 | 0.60339 | #DIV/0!
Remark= | "04:11:05 LCF Lamp: ParIn -> 50 uml, with blue = 10 percent, actinic on"
Remark= | "04:12:06 Fs=466 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "04:12:06 RF#10 7082 um, Fmax=1307 Int=9 Mod=20 Filter=50"
Remark= | "04:12:07 Fm'=1307"
Remark= | "04:12:28 Flow: Fixed -> 500 umol/s"
11 | 04:12:07 | 1924.5 | 0 | 1.6701 | 0.22166 | 379.0573 | 10 | 0 | 0 | 0 | 0 | 1307.5117 | 466.4997 | #DIV/0! | 1 | 0.64322 | -1 | 0.87 | 0.92 | 6.6824 | 0.87334 | 0.062679 | 0.64322 | #DIV/0! | -1 | 48.7778 | 0.5 | 13.7004 | 2.6518 | 1.2149 | 21.6084 | 2 | 4.6449 | 1 | 9.2897 | 22.6531 | 21.6084 | 23.024 | 400.0465 | 398.957 | 12.5555 | 13.6002 | 46.0043 | 49.8322 | 500.7753 | 48.7778 | 0.35097 | 101.1676 | -0.050863 | -0.06132 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5039 | 0.0026518 | 294.7584 | 295.8031 | 7.8045 | -0.39054 | 2.5908 | 25.6089 | 12.0087 | 22.1308 | 2.6747 | 0.2165 | 1.3759 | 1.2988 | 0.13577 | 38.3483 | 0.95012 | 53.2842 | 398.7143 | 0.0022319 | 0 | 42.5997 | 1307.5117 | 0.64322 | #DIV/0!
Remark= | "04:12:28 LCF Lamp: ParIn -> 0 uml, with blue = 10 percent, actinic on"
Remark= | "04:13:53 Fs=373 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "04:13:53 RF#11 7077 um, Fmax=1402 Int=9 Mod=20 Filter=50"
Remark= | "04:13:54 Fm'=1402"
Remark= | "04:14:15 Flow: Fixed -> 500 umol/s"
12 | 04:13:54 | 2031.5 | 0 | -1.3668 | 0.21163 | 402.8535 | 11 | 0 | 0 | 0 | 0 | 1402.7987 | 373.1956 | #DIV/0! | 1 | 0.73396 | -1 | 0.87 | 0.92 | 0 | 0.87 | -2.8786 | 0.73396 | #DIV/0! | -1 | 0.14646 | 0.5 | 0.046761 | 2.5377 | 1.2166 | 21.565 | 2 | 4.6449 | 1 | 9.2897 | 22.6271 | 21.565 | 23.0079 | 400.0318 | 400.1722 | 12.5142 | 13.5144 | 45.9286 | 49.5996 | 500.5718 | 0.14646 | 0.16914 | 101.1746 | -0.02548 | -0.061269 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5029 | 0.0025377 | 294.715 | 295.7771 | 0.023434 | -0.4008 | 2.5839 | 25.5393 | 12.0249 | 22.0961 | 2.6691 | 0.20692 | 1.3673 | 1.3018 | 0.12974 | 40.7585 | 1.0067 | 53.0481 | 400.3708 | -0.001811 | 0 | 0.12742 | 1402.7987 | 0.73396 | #DIV/0!
Remark= | "04:14:15 LCF Lamp: ParIn -> 0 uml, with blue = 10 percent, actinic on"
Remark= | "04:14:15 CO2 Mixer: CO2R -> 400 uml"
Remark= | "04:14:15 Coolers: Tblock -> 23.00 C"
Remark= | "04:14:15 Flow: Fixed -> 500 umol/s"
Remark= | "04:59:40 Flow: Fixed -> 500 umol/s"
13 | 04:59:21 | 4757.5 | 0 | -1.6962 | 0.069583 | 429.7675 | 11 | 0 | 0 | 0 | 0 | 1402.7987 | 373.1956 | #DIV/0! | 1 | 0.73396 | -1 | 0.87 | 0.92 | 0 | 0.87 | -5.4087 | 0.73396 | #DIV/0! | -1 | 0.14646 | 0.5 | 0.046761 | 1.0369 | 1.4898 | 22.3642 | 2 | 4.6449 | 1 | 9.2897 | 22.559 | 22.3642 | 23.0254 | 399.9634 | 400.4761 | 11.6768 | 12.0868 | 43.0445 | 44.5559 | 499.6544 | 0.14795 | 0.16209 | 101.2024 | 0.18128 | -0.056605 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4983 | 0.0010369 | 295.5142 | 295.709 | 0.023672 | -0.17423 | 2.713 | 26.8078 | 14.7211 | 22.4616 | 2.7291 | 0.069065 | 1.2232 | 1.5059 | 0.043212 | 43.4935 | 1.0731 | 44.414 | 400.7226 | -0.00188 | 0 | 0.12871 | 1402.7987 | 0.73396 | #DIV/0!