## input
OPEN 6.3.4
Mon Feb 3 2020 07:34:28
Unit= | PSC-0223
LCF= | LCF-2124
LCFCals= | -1.92 | -0.3 | -2940
LightSource= | 6400-40 Fluorometer | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LCF2124.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | FCnt | DCnt | Fo | Fm | Fo' | Fm' | Fs | Fv/Fm | Fv'/Fm' | PhiPS2 | Adark | RedAbs | BlueAbs | %Blue | LeafAbs | PhiCO2 | qP | qN | NPQ | ParIn@Fs | PS2/1 | ETR | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Fv | PARabs | Fv' | qP_Fo | qN_Fo
in | in | in | in | out | out | out | in | in | in | in | in | in | in | out | out | out | in | in | in | in | out | out | out | out | out | in | in | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "07:34:28 Launched AutoProg /User/Configs/AutoProgs/LightCurve2"
Remark= | "07:34:38 LCF Lamp: ParIn -> 0 uml, with blue = 10 percent, actinic on"
Remark= | "07:34:39 CO2 Mixer: CO2R -> 400 uml"
Remark= | "07:34:39 Coolers: Tblock -> 23.00 C"
Remark= | "07:34:39 Flow: Fixed -> 500 umol/s"
Remark= | "07:34:43 LCF Lamp: ParIn -> 0 uml, with blue = 10 percent, actinic on"
Remark= | "07:34:44 CO2 Mixer: CO2R -> 400 uml"
Remark= | "07:34:44 Coolers: Tblock -> 23.00 C"
Remark= | "07:34:44 Flow: Fixed -> 500 umol/s"
Remark= | "08:21:16 LCF Lamp: ParIn -> 0 uml, with blue = 10 percent, actinic on"
Remark= | "08:21:16 CO2 Mixer: CO2R -> 400 uml"
Remark= | "08:21:16 Coolers: Tblock -> 23.00 C"
Remark= | "08:21:16 Flow: Fixed -> 500 umol/s"
Remark= | "08:22:15 Flow: Fixed -> 500 umol/s"
1 | 08:21:56 | 2880.5 | 0 | -2.2324 | 0.085806 | 433.0271 | 22 | 0 | 0 | 0 | 0 | 1424.4147 | 364.7104 | #DIV/0! | 1 | 0.74396 | -1 | 0.87 | 0.92 | 0 | 0.87 | -56.4666 | 0.74396 | #DIV/0! | -1 | 0.10601 | 0.5 | 0.034307 | 1.2269 | 1.4297 | 22.5767 | 2 | 4.6449 | 1 | 9.2897 | 22.6718 | 22.5767 | 23.0079 | 399.9866 | 400.6827 | 12.557 | 13.0412 | 45.9308 | 47.7019 | 500.1588 | 0.025087 | 0.48063 | 101.108 | 0.41427 | -0.0687 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5008 | 0.0012269 | 295.7267 | 295.8218 | 0.0040139 | -0.21227 | 2.7483 | 27.1817 | 14.1405 | 22.6243 | 2.7562 | 0.08502 | 1.3186 | 1.4377 | 0.053208 | 43.7825 | 1.0807 | 47.396 | 401.0071 | -0.0026386 | 0 | 0.021826 | 1424.4147 | 0.74396 | #DIV/0!