## input
OPEN 6.3.4
Mon Feb 3 2020 09:59:49
Unit= | PSC-0223
LCF= | LCF-2124
LCFCals= | -1.92 | -0.3 | -2940
LightSource= | 6400-40 Fluorometer | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LCF2124.xml
Remark= | sin
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | FCnt | DCnt | Fo | Fm | Fo' | Fm' | Fs | Fv/Fm | Fv'/Fm' | PhiPS2 | Adark | RedAbs | BlueAbs | %Blue | LeafAbs | PhiCO2 | qP | qN | NPQ | ParIn@Fs | PS2/1 | ETR | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Fv | PARabs | Fv' | qP_Fo | qN_Fo
in | in | in | in | out | out | out | in | in | in | in | in | in | in | out | out | out | in | in | in | in | out | out | out | out | out | in | in | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "10:01:06 Flow: Fixed -> 500 umol/s"
Remark= | "10:01:47 LCF Lamp: ParIn -> 600 uml, with blue = 10 percent, actinic on"
Remark= | "10:03:19 Flow: Fixed -> 500 umol/s"
1 | 10:02:59 | 225.5001 | 0 | 11.0327 | 0.15393 | 271.1431 | 22 | 0 | 0 | 0 | 0 | 1424.4147 | 364.7104 | #DIV/0! | 1 | 0.74396 | -1 | 0.87 | 0.92 | 9.71 | 0.87485 | 0.022952 | 0.74396 | #DIV/0! | -1 | 0.10601 | 0.5 | 0.034498 | 2.2538 | 1.4713 | 23.3139 | 2 | 4.6449 | 1 | 9.2897 | 22.6555 | 23.3139 | 23.0167 | 400.1489 | 395.3697 | 12.9963 | 13.8871 | 47.5277 | 50.7854 | 498.9866 | 599.2379 | 0.68923 | 100.9872 | 0.33845 | -0.076936 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4949 | 0.0022538 | 296.4639 | 295.8055 | 95.8781 | -0.043531 | 2.8737 | 28.4565 | 14.5695 | 22.9847 | 2.8171 | 0.15142 | 1.4024 | 1.4147 | 0.094857 | 27.382 | 0.6858 | 48.5462 | 393.7664 | 0.013602 | 0 | 524.2463 | 1424.4147 | 0.74396 | #DIV/0!
Remark= | "10:09:02 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "10:19:14 Launched AutoProg /User/Configs/AutoProgs/LightCurve2"
Remark= | "10:19:41 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "10:19:41 CO2 Mixer: CO2R -> 400 uml"
Remark= | "10:19:41 Coolers: Tblock -> 23.00 C"
Remark= | "10:19:41 Flow: Fixed -> 500 umol/s"
Remark= | "10:19:41 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "10:20:57 Fs=491 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "10:20:57 RF#23 7627 um, Fmax=627 Int=9 Mod=20 Filter=50"
Remark= | "10:20:58 Fm'=627"
Remark= | "10:21:19 Flow: Fixed -> 500 umol/s"
2 | 10:20:58 | 1305.0001 | 0 | 16.1186 | 0.16862 | 228.6819 | 23 | 0 | 0 | 0 | 0 | 627.8761 | 491.4273 | #DIV/0! | 1 | 0.21732 | -1 | 0.87 | 0.92 | 10.0329 | 0.87502 | 0.015069 | 0.21732 | #DIV/0! | -1 | 1298.2576 | 0.5 | 123.4363 | 2.9837 | 1.7769 | 25.2936 | 2 | 4.6449 | 1 | 9.2897 | 22.9111 | 25.2936 | 23.007 | 399.8703 | 392.94 | 13.2685 | 14.4471 | 47.7727 | 52.0162 | 498.9947 | 1298.2576 | 1.3362 | 100.9783 | 0.52837 | -0.075259 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.495 | 0.0029837 | 298.4436 | 296.0611 | 207.7212 | 0.19654 | 3.2358 | 32.0441 | 17.597 | 24.1024 | 3.0134 | 0.16562 | 1.4588 | 1.5546 | 0.10378 | 23.0919 | 0.58198 | 44.7804 | 390.5976 | 0.018479 | 0 | 1135.9967 | 627.8761 | 0.21732 | #DIV/0!
Remark= | "10:21:21 LCF Lamp: ParIn -> 1100 uml, with blue = 10 percent, actinic on"
Remark= | "10:22:26 Fs=488 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "10:22:26 RF#24 7533 um, Fmax=652 Int=9 Mod=20 Filter=50"
Remark= | "10:22:27 Fm'=652"
Remark= | "10:22:48 Flow: Fixed -> 500 umol/s"
3 | 10:22:27 | 1394.0001 | 0 | 15.6181 | 0.18042 | 244.0734 | 24 | 0 | 0 | 0 | 0 | 652.5761 | 488.3924 | #DIV/0! | 1 | 0.25159 | -1 | 0.87 | 0.92 | 9.7627 | 0.87488 | 0.017298 | 0.25159 | #DIV/0! | -1 | 1098.0931 | 0.5 | 120.853 | 2.9087 | 1.6223 | 24.4361 | 2 | 4.6449 | 1 | 9.2897 | 22.8422 | 24.4361 | 23.0152 | 399.9458 | 393.2362 | 13.2336 | 14.3811 | 47.843 | 51.9918 | 499.6346 | 1098.0931 | 1.7576 | 100.9713 | 0.49779 | -0.077672 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4982 | 0.0029087 | 297.5861 | 295.9922 | 175.6949 | 0.11781 | 3.0743 | 30.4477 | 16.0665 | 23.6392 | 2.9307 | 0.17698 | 1.4521 | 1.4786 | 0.11092 | 24.6444 | 0.62068 | 47.0508 | 390.9665 | 0.018796 | 0 | 960.7012 | 652.5761 | 0.25159 | #DIV/0!
Remark= | "10:22:50 LCF Lamp: ParIn -> 900 uml, with blue = 10 percent, actinic on"
Remark= | "10:23:55 Fs=489 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "10:23:55 RF#25 7456 um, Fmax=697 Int=9 Mod=20 Filter=50"
Remark= | "10:23:56 Fm'=697"
Remark= | "10:24:17 Flow: Fixed -> 500 umol/s"
4 | 10:23:56 | 1483.0001 | 0 | 14.9768 | 0.1801 | 250.0899 | 25 | 0 | 0 | 0 | 0 | 697.5735 | 489.4425 | #DIV/0! | 1 | 0.29836 | -1 | 0.87 | 0.92 | 9.7491 | 0.87487 | 0.020261 | 0.29836 | #DIV/0! | -1 | 901.3333 | 0.5 | 117.6381 | 2.8399 | 1.587 | 24.1732 | 2 | 4.6449 | 1 | 9.2897 | 22.7691 | 24.1732 | 23.0108 | 400.053 | 393.6083 | 13.1339 | 14.2548 | 47.6902 | 51.7605 | 499.4671 | 901.3333 | 1.4433 | 100.9645 | 0.44529 | -0.074694 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4973 | 0.0028399 | 297.3232 | 295.9191 | 144.2133 | 0.012734 | 3.0263 | 29.9736 | 15.7188 | 23.4712 | 2.9011 | 0.17667 | 1.4392 | 1.4619 | 0.11072 | 25.2502 | 0.63538 | 47.3919 | 391.4319 | 0.018133 | 0 | 788.5535 | 697.5735 | 0.29836 | #DIV/0!
Remark= | "10:24:19 LCF Lamp: ParIn -> 700 uml, with blue = 10 percent, actinic on"
Remark= | "10:25:25 Fs=495 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "10:25:25 RF#26 7374 um, Fmax=775 Int=9 Mod=20 Filter=50"
Remark= | "10:25:26 Fm'=775"
Remark= | "10:25:47 Flow: Fixed -> 500 umol/s"
5 | 10:25:26 | 1573.0001 | 0 | 14.4668 | 0.18675 | 259.9637 | 26 | 0 | 0 | 0 | 0 | 775.996 | 495.0336 | #DIV/0! | 1 | 0.36207 | -1 | 0.87 | 0.92 | 9.7848 | 0.87489 | 0.025307 | 0.36207 | #DIV/0! | -1 | 698.5485 | 0.5 | 110.6394 | 2.7527 | 1.4856 | 23.4998 | 2 | 4.6449 | 1 | 9.2897 | 22.698 | 23.4998 | 23.017 | 400.1147 | 393.8862 | 12.9828 | 14.0698 | 47.3452 | 51.3093 | 499.351 | 698.5485 | 1.4785 | 100.9642 | 0.39357 | -0.076143 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4968 | 0.0027527 | 296.6498 | 295.848 | 111.7678 | -0.074439 | 2.9062 | 28.784 | 14.7142 | 23.0989 | 2.8366 | 0.18307 | 1.4205 | 1.4161 | 0.11474 | 26.247 | 0.66 | 48.7907 | 391.7838 | 0.018016 | 0 | 611.1547 | 775.996 | 0.36207 | #DIV/0!
Remark= | "10:25:49 LCF Lamp: ParIn -> 550 uml, with blue = 10 percent, actinic on"
Remark= | "10:27:10 Fs=505 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "10:27:10 RF#27 7312 um, Fmax=873 Int=9 Mod=20 Filter=50"
Remark= | "10:27:11 Fm'=873"
Remark= | "10:27:32 Flow: Fixed -> 500 umol/s"
6 | 10:27:11 | 1678.0001 | 0 | 13.9074 | 0.19221 | 268.5004 | 27 | 0 | 0 | 0 | 0 | 873.6431 | 505.782 | #DIV/0! | 1 | 0.42107 | -1 | 0.87 | 0.92 | 9.6392 | 0.87482 | 0.030919 | 0.42107 | #DIV/0! | -1 | 551.1246 | 0.5 | 101.5052 | 2.7139 | 1.4247 | 23.0136 | 2 | 4.6449 | 1 | 9.2897 | 22.6412 | 23.0136 | 23.0118 | 399.9322 | 393.9343 | 12.7678 | 13.8397 | 46.7236 | 50.6459 | 499.3902 | 551.1246 | 1.6378 | 100.9676 | 0.36814 | -0.078583 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.497 | 0.0027139 | 296.1636 | 295.7912 | 88.1799 | -0.14269 | 2.822 | 27.95 | 14.1104 | 22.8274 | 2.7904 | 0.18831 | 1.3974 | 1.393 | 0.11804 | 27.1098 | 0.68159 | 49.4835 | 391.9132 | 0.01756 | 0 | 482.1346 | 873.6431 | 0.42107 | #DIV/0!
Remark= | "10:27:34 LCF Lamp: ParIn -> 400 uml, with blue = 10 percent, actinic on"
Remark= | "10:28:40 Fs=513 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "10:28:40 RF#28 7244 um, Fmax=1003 Int=9 Mod=20 Filter=50"
Remark= | "10:28:41 Fm'=1003"
Remark= | "10:29:02 Flow: Fixed -> 500 umol/s"
7 | 10:28:41 | 1768.0001 | 0 | 12.6883 | 0.19495 | 281.0494 | 28 | 0 | 0 | 0 | 0 | 1003.106 | 513.5237 | #DIV/0! | 1 | 0.48807 | -1 | 0.87 | 0.92 | 9.4169 | 0.87471 | 0.039106 | 0.48807 | #DIV/0! | -1 | 400.1669 | 0.5 | 85.4188 | 2.6807 | 1.3884 | 22.6827 | 2 | 4.6449 | 1 | 9.2897 | 22.6162 | 22.6827 | 23.015 | 400.1228 | 394.6228 | 12.5861 | 13.6441 | 46.1288 | 50.0062 | 499.8584 | 400.1669 | 1.5913 | 100.9679 | 0.39962 | -0.074522 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4993 | 0.0026807 | 295.8327 | 295.7662 | 64.0267 | -0.21981 | 2.766 | 27.3951 | 13.751 | 22.6495 | 2.7604 | 0.19094 | 1.3776 | 1.3828 | 0.11969 | 28.377 | 0.7122 | 49.8065 | 392.7789 | 0.016089 | 0 | 350.0294 | 1003.106 | 0.48807 | #DIV/0!
Remark= | "10:29:04 LCF Lamp: ParIn -> 250 uml, with blue = 10 percent, actinic on"
Remark= | "10:30:17 Fs=509 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "10:30:17 RF#29 7171 um, Fmax=1134 Int=9 Mod=20 Filter=50"
Remark= | "10:30:18 Fm'=1134"
Remark= | "10:30:39 Flow: Fixed -> 500 umol/s"
8 | 10:30:18 | 1865.0001 | 0 | 9.0961 | 0.19832 | 313.578 | 29 | 0 | 0 | 0 | 0 | 1134.0693 | 509.1794 | #DIV/0! | 1 | 0.55102 | -1 | 0.87 | 0.92 | 8.8689 | 0.87443 | 0.046036 | 0.55102 | #DIV/0! | -1 | 250.7992 | 0.5 | 60.4209 | 2.6302 | 1.3402 | 22.2789 | 2 | 4.6449 | 1 | 9.2897 | 22.6206 | 22.2789 | 23.0133 | 400.0195 | 395.9699 | 12.4214 | 13.4579 | 45.513 | 49.3109 | 500.6703 | 250.7992 | 1.3545 | 100.9677 | 0.37634 | -0.073769 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5034 | 0.0026302 | 295.4289 | 295.7706 | 40.1279 | -0.28841 | 2.699 | 26.7312 | 13.2732 | 22.4498 | 2.7272 | 0.19418 | 1.3588 | 1.3684 | 0.12173 | 31.6613 | 0.79192 | 50.3864 | 394.648 | 0.011613 | 0 | 219.3075 | 1134.0693 | 0.55102 | #DIV/0!
Remark= | "10:30:41 LCF Lamp: ParIn -> 150 uml, with blue = 10 percent, actinic on"
Remark= | "10:31:45 Fs=496 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "10:31:45 RF#30 7118 um, Fmax=1197 Int=9 Mod=20 Filter=50"
Remark= | "10:31:46 Fm'=1197"
Remark= | "10:32:07 Flow: Fixed -> 500 umol/s"
9 | 10:31:46 | 1953.0001 | 0 | 5.271 | 0.19354 | 344.8096 | 30 | 0 | 0 | 0 | 0 | 1197.0098 | 496.7318 | #DIV/0! | 1 | 0.58502 | -1 | 0.87 | 0.92 | 8.1039 | 0.87405 | 0.048042 | 0.58502 | #DIV/0! | -1 | 149.3411 | 0.5 | 38.1821 | 2.5737 | 1.3434 | 22.2342 | 2 | 4.6449 | 1 | 9.2897 | 22.6395 | 22.2342 | 23.0149 | 399.7073 | 397.1958 | 12.338 | 13.3514 | 45.1614 | 48.8708 | 501.1526 | 149.3411 | 1.7547 | 100.9813 | 0.35497 | -0.074809 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5058 | 0.0025737 | 295.3842 | 295.7895 | 23.8946 | -0.34058 | 2.6916 | 26.6548 | 13.3034 | 22.4369 | 2.725 | 0.18959 | 1.3482 | 1.3768 | 0.11884 | 34.8193 | 0.86811 | 50.1107 | 396.4298 | 0.0066628 | 0 | 130.5319 | 1197.0098 | 0.58502 | #DIV/0!
Remark= | "10:32:09 LCF Lamp: ParIn -> 100 uml, with blue = 10 percent, actinic on"
Remark= | "10:33:10 Fs=485 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "10:33:10 RF#31 7094 um, Fmax=1252 Int=9 Mod=20 Filter=50"
Remark= | "10:33:11 Fm'=1252"
Remark= | "10:33:32 Flow: Fixed -> 500 umol/s"
10 | 10:33:11 | 2038.0001 | 0 | 4.0165 | 0.18355 | 354.1742 | 31 | 0 | 0 | 0 | 0 | 1252.4406 | 485.9327 | #DIV/0! | 1 | 0.61201 | -1 | 0.87 | 0.92 | 7.1263 | 0.87356 | 0.056883 | 0.61201 | #DIV/0! | -1 | 100.9535 | 0.5 | 26.9864 | 2.4639 | 1.3545 | 22.2814 | 2 | 4.6449 | 1 | 9.2897 | 22.6746 | 22.2814 | 23.0161 | 399.9867 | 397.9908 | 12.3486 | 13.3196 | 45.0998 | 48.6462 | 500.7317 | 100.9535 | 1.5884 | 100.9717 | 0.38141 | -0.073859 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5037 | 0.0024639 | 295.4314 | 295.8246 | 16.1526 | -0.35272 | 2.6994 | 26.7341 | 13.4145 | 22.478 | 2.7319 | 0.18 | 1.3449 | 1.3869 | 0.11281 | 35.7616 | 0.88991 | 49.7892 | 397.4071 | 0.005032 | 0 | 88.1893 | 1252.4406 | 0.61201 | #DIV/0!
Remark= | "10:33:34 LCF Lamp: ParIn -> 50 uml, with blue = 10 percent, actinic on"
Remark= | "10:34:43 Fs=459 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "10:34:43 RF#32 7080 um, Fmax=1309 Int=9 Mod=20 Filter=50"
Remark= | "10:34:44 Fm'=1309"
Remark= | "10:35:05 Flow: Fixed -> 500 umol/s"
11 | 10:34:44 | 2131.0001 | 0 | 1.4734 | 0.16836 | 376.368 | 32 | 0 | 0 | 0 | 0 | 1309.2567 | 459.7616 | #DIV/0! | 1 | 0.64884 | -1 | 0.87 | 0.92 | 6.6824 | 0.87334 | 0.057877 | 0.64884 | #DIV/0! | -1 | 48.9322 | 0.5 | 13.8639 | 2.2367 | 1.3385 | 22.1862 | 2 | 4.6449 | 1 | 9.2897 | 22.6587 | 22.1862 | 23.0099 | 399.901 | 398.9554 | 12.4408 | 13.323 | 45.4815 | 48.7067 | 500.3191 | 48.9322 | 1.5278 | 100.9738 | 0.40948 | -0.071365 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5016 | 0.0022367 | 295.3362 | 295.8087 | 7.8291 | -0.34242 | 2.6838 | 26.5791 | 13.2561 | 22.4225 | 2.7226 | 0.16536 | 1.3453 | 1.3774 | 0.10362 | 38.0033 | 0.94338 | 50.0165 | 398.7412 | 0.0018481 | 0 | 42.7345 | 1309.2567 | 0.64884 | #DIV/0!
Remark= | "10:35:07 LCF Lamp: ParIn -> 0 uml, with blue = 10 percent, actinic on"
Remark= | "10:36:08 Fs=385 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "10:36:08 RF#33 7078 um, Fmax=1371 Int=9 Mod=20 Filter=50"
Remark= | "10:36:09 Fm'=1371"
Remark= | "10:36:29 Flow: Fixed -> 500 umol/s"
12 | 10:36:09 | 2215.5001 | 0 | -1.3866 | 0.14689 | 406.6987 | 33 | 0 | 0 | 0 | 0 | 1371.3328 | 385.3745 | #DIV/0! | 1 | 0.71898 | -1 | 0.87 | 0.92 | 0 | 0.87 | -27.5037 | 0.71898 | #DIV/0! | -1 | 0.016158 | 0.5 | 0.0050534 | 1.9558 | 1.3385 | 22.1927 | 2 | 4.6449 | 1 | 9.2897 | 22.6582 | 22.1927 | 23.0137 | 399.8591 | 400.1007 | 12.5626 | 13.3345 | 45.927 | 48.749 | 499.9963 | 0.016158 | 1.8393 | 100.972 | 0.33815 | -0.074204 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0019558 | 295.3427 | 295.8082 | 0.0025852 | -0.32448 | 2.6849 | 26.5901 | 13.2557 | 22.4255 | 2.7231 | 0.1446 | 1.3464 | 1.3767 | 0.090579 | 41.0652 | 1.0165 | 49.9245 | 400.3022 | -0.0017294 | 0 | 0.014057 | 1371.3328 | 0.71898 | #DIV/0!
Remark= | "10:36:32 LCF Lamp: ParIn -> 0 uml, with blue = 10 percent, actinic on"
Remark= | "10:36:32 CO2 Mixer: CO2R -> 400 uml"
Remark= | "10:36:32 Coolers: Tblock -> 23.00 C"
Remark= | "10:36:32 Flow: Fixed -> 500 umol/s"
Remark= | "11:03:00 Flow: Fixed -> 500 umol/s"
13 | 11:02:41 | 3806.0001 | 0 | -2.1956 | 0.046671 | 465.9618 | 33 | 0 | 0 | 0 | 0 | 1371.3328 | 385.3745 | #DIV/0! | 1 | 0.71898 | -1 | 0.87 | 0.92 | 0 | 0.87 | -26.4523 | 0.71898 | #DIV/0! | -1 | 0.016158 | 0.5 | 0.0050534 | 0.69712 | 1.4849 | 22.8 | 2 | 4.6449 | 1 | 9.2897 | 22.6043 | 22.8 | 23.0205 | 400.0018 | 400.7691 | 12.6097 | 12.8853 | 46.2442 | 47.2548 | 499.4482 | 0.051952 | 0.18182 | 100.9579 | 0.38808 | -0.068515 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4972 | 0.00069712 | 295.95 | 295.7543 | 0.0083123 | -0.13172 | 2.7858 | 27.5933 | 14.708 | 22.7021 | 2.7693 | 0.046438 | 1.3009 | 1.4684 | 0.029045 | 47.0425 | 1.1627 | 45.868 | 401.0882 | -0.0025109 | 0 | 0.045198 | 1371.3328 | 0.71898 | #DIV/0!