## input
OPEN 6.3.4
Tue Feb 4 2020 14:43:36
Unit= | PSC-0223
LCF= | LCF-2124
LCFCals= | -1.92 | -0.3 | -2940
LightSource= | 6400-40 Fluorometer | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LCF2124.xml
Remark= | sin
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | FCnt | DCnt | Fo | Fm | Fo' | Fm' | Fs | Fv/Fm | Fv'/Fm' | PhiPS2 | Adark | RedAbs | BlueAbs | %Blue | LeafAbs | PhiCO2 | qP | qN | NPQ | ParIn@Fs | PS2/1 | ETR | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Fv | PARabs | Fv' | qP_Fo | qN_Fo
in | in | in | in | out | out | out | in | in | in | in | in | in | in | out | out | out | in | in | in | in | out | out | out | out | out | in | in | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "14:44:09 LCF Lamp: ParIn -> 430 uml, with blue = 10 percent, actinic on"
Remark= | "14:46:51 Flow: Fixed -> 500 umol/s"
1 | 14:46:32 | 206.5 | 0 | 13.711 | 0.14537 | 238.293 | 22 | 0 | 0 | 0 | 0 | 1372.7882 | 377.3559 | #DIV/0! | 1 | 0.72512 | -1 | 0.87 | 0.92 | 9.8742 | 0.87494 | 0.038956 | 0.72512 | #DIV/0! | -1 | 0.039 | 0.5 | 0.012371 | 0.869 | 0.60382 | 23.6744 | 2 | 4.6449 | 1 | 9.2897 | 22.7731 | 23.6744 | 23.0141 | 399.9153 | 394.2887 | 22.5137 | 22.8536 | 82.6388 | 83.8867 | 499.5466 | 431.607 | 1.0838 | 102.0881 | 0.85295 | -0.027089 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4977 | 0.000869 | 296.8244 | 295.9231 | 69.0571 | 0.082488 | 2.9369 | 28.7683 | 5.9147 | 23.2238 | 2.8581 | 0.14313 | 2.3331 | 0.52505 | 0.089655 | 24.3269 | 0.60436 | 79.2208 | 392.2962 | 0.027688 | 0 | 377.629 | 1372.7882 | 0.72512 | #DIV/0!
Remark= | "14:47:24 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "15:14:49 Launched AutoProg /User/Configs/AutoProgs/LightCurve2"
Remark= | "15:14:51 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "15:14:51 CO2 Mixer: CO2R -> 400 uml"
Remark= | "15:14:51 Coolers: Tblock -> 23.00 C"
Remark= | "15:14:52 Flow: Fixed -> 500 umol/s"
Remark= | "15:14:52 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "15:15:54 Fs=424 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "15:15:54 RF#23 7636 um, Fmax=545 Int=9 Mod=20 Filter=50"
Remark= | "15:15:55 Fm'=545"
Remark= | "15:16:16 Flow: Fixed -> 500 umol/s"
2 | 15:15:55 | 1971 | 0 | 17.8098 | 0.23745 | 265.8655 | 23 | 0 | 0 | 0 | 0 | 545.8311 | 424.4186 | #DIV/0! | 1 | 0.22244 | -1 | 0.87 | 0.92 | 10.0329 | 0.87502 | 0.016555 | 0.22244 | #DIV/0! | -1 | 1298.4827 | 0.5 | 126.3652 | 1.836 | 0.78898 | 24.3303 | 2 | 4.6449 | 1 | 9.2897 | 22.6108 | 24.3303 | 23.0249 | 400.0864 | 392.6634 | 21.4629 | 22.182 | 79.6111 | 82.2787 | 499.2831 | 1298.4827 | 1.3629 | 102.152 | 0.61673 | -0.038548 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4964 | 0.001836 | 297.4803 | 295.7608 | 207.7572 | 0.42964 | 3.0549 | 29.9056 | 7.7236 | 23.4706 | 2.901 | 0.23153 | 2.2659 | 0.6351 | 0.14523 | 27.1587 | 0.67708 | 74.1438 | 390.0753 | 0.033852 | 0 | 1136.1937 | 545.8311 | 0.22244 | #DIV/0!
Remark= | "15:16:18 LCF Lamp: ParIn -> 1100 uml, with blue = 10 percent, actinic on"
Remark= | "15:17:34 Fs=426 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "15:17:34 RF#24 7524 um, Fmax=577 Int=9 Mod=20 Filter=50"
Remark= | "15:17:35 Fm'=577"
Remark= | "15:17:56 Flow: Fixed -> 500 umol/s"
3 | 15:17:35 | 2071 | 0 | 17.6522 | 0.23429 | 265.4384 | 24 | 0 | 0 | 0 | 0 | 577.8005 | 426.3777 | #DIV/0! | 1 | 0.26207 | -1 | 0.87 | 0.92 | 9.7266 | 0.87486 | 0.019362 | 0.26207 | #DIV/0! | -1 | 1101.1106 | 0.5 | 126.2277 | 1.7475 | 0.76091 | 24.2011 | 2 | 4.6449 | 1 | 9.2897 | 22.6838 | 24.2011 | 23.0171 | 399.9407 | 392.6 | 21.5398 | 22.2237 | 79.5513 | 82.0773 | 499.6328 | 1101.1106 | 1.2389 | 102.1623 | 0.67612 | -0.035503 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4982 | 0.0017475 | 297.3511 | 295.8338 | 176.1777 | 0.32813 | 3.0313 | 29.6718 | 7.4481 | 23.4424 | 2.8961 | 0.22853 | 2.2704 | 0.62569 | 0.14334 | 27.1178 | 0.6761 | 74.8637 | 390.0348 | 0.033882 | 0 | 963.3213 | 577.8005 | 0.26207 | #DIV/0!
Remark= | "15:17:58 LCF Lamp: ParIn -> 900 uml, with blue = 10 percent, actinic on"
Remark= | "15:19:13 Fs=437 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "15:19:13 RF#25 7437 um, Fmax=635 Int=9 Mod=20 Filter=50"
Remark= | "15:19:14 Fm'=635"
Remark= | "15:19:35 Flow: Fixed -> 500 umol/s"
4 | 15:19:14 | 2170 | 0 | 17.0827 | 0.21743 | 260.7811 | 25 | 0 | 0 | 0 | 0 | 635.2125 | 437.1956 | #DIV/0! | 1 | 0.31173 | -1 | 0.87 | 0.92 | 9.7491 | 0.87487 | 0.022967 | 0.31173 | #DIV/0! | -1 | 899.9498 | 0.5 | 122.7206 | 1.5786 | 0.73941 | 24.075 | 2 | 4.6449 | 1 | 9.2897 | 22.6994 | 24.075 | 23.016 | 399.9626 | 392.8772 | 21.5949 | 22.2127 | 79.672 | 81.9513 | 499.701 | 899.9498 | 1.7209 | 102.1528 | 0.64489 | -0.03337 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4985 | 0.0015786 | 297.225 | 295.8494 | 143.992 | 0.23561 | 3.0085 | 29.451 | 7.2383 | 23.3872 | 2.8865 | 0.21246 | 2.2691 | 0.6174 | 0.13323 | 26.6395 | 0.66377 | 75.348 | 390.3947 | 0.03297 | 0 | 787.3432 | 635.2125 | 0.31173 | #DIV/0!
Remark= | "15:19:37 LCF Lamp: ParIn -> 700 uml, with blue = 10 percent, actinic on"
Remark= | "15:20:38 Fs=453 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "15:20:38 RF#26 7354 um, Fmax=724 Int=9 Mod=20 Filter=50"
Remark= | "15:20:39 Fm'=724"
Remark= | "15:21:00 Flow: Fixed -> 500 umol/s"
5 | 15:20:39 | 2255 | 0 | 16.2708 | 0.208 | 261.8668 | 26 | 0 | 0 | 0 | 0 | 724.6293 | 453.7725 | #DIV/0! | 1 | 0.37379 | -1 | 0.87 | 0.92 | 9.7279 | 0.87486 | 0.028142 | 0.37379 | #DIV/0! | -1 | 701.4821 | 0.5 | 114.6967 | 1.4121 | 0.69091 | 23.7795 | 2 | 4.6449 | 1 | 9.2897 | 22.6574 | 23.7795 | 23.0144 | 399.7903 | 393.0531 | 21.6161 | 22.169 | 79.954 | 81.9989 | 499.4857 | 701.4821 | 1.4277 | 102.153 | 0.63766 | -0.034335 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4974 | 0.0014121 | 296.9295 | 295.8074 | 112.2371 | 0.1495 | 2.9555 | 28.9325 | 6.7635 | 23.2185 | 2.8572 | 0.20344 | 2.2646 | 0.59259 | 0.12755 | 26.7505 | 0.66624 | 76.5356 | 390.6886 | 0.031874 | 0 | 613.7014 | 724.6293 | 0.37379 | #DIV/0!
Remark= | "15:21:02 LCF Lamp: ParIn -> 550 uml, with blue = 10 percent, actinic on"
Remark= | "15:22:03 Fs=470 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "15:22:03 RF#27 7289 um, Fmax=832 Int=9 Mod=20 Filter=50"
Remark= | "15:22:04 Fm'=832"
Remark= | "15:22:25 Flow: Fixed -> 500 umol/s"
6 | 15:22:04 | 2340 | 0 | 15.6134 | 0.201 | 263.4406 | 27 | 0 | 0 | 0 | 0 | 832.2273 | 470.9738 | #DIV/0! | 1 | 0.43408 | -1 | 0.87 | 0.92 | 9.6392 | 0.87482 | 0.034523 | 0.43408 | #DIV/0! | -1 | 550.0924 | 0.5 | 104.4466 | 1.2689 | 0.64225 | 23.4839 | 2 | 4.6449 | 1 | 9.2897 | 22.6222 | 23.4839 | 23.0096 | 399.8628 | 393.4088 | 21.6363 | 22.1333 | 80.2049 | 82.0474 | 499.311 | 550.0924 | 1.5236 | 102.1595 | 0.58771 | -0.033759 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4966 | 0.0012689 | 296.6339 | 295.7722 | 88.0148 | 0.089619 | 2.9034 | 28.4201 | 6.2867 | 23.0531 | 2.8288 | 0.19674 | 2.2611 | 0.56766 | 0.12334 | 26.913 | 0.66964 | 77.7862 | 391.1399 | 0.03105 | 0 | 481.2316 | 832.2273 | 0.43408 | #DIV/0!
Remark= | "15:22:27 LCF Lamp: ParIn -> 400 uml, with blue = 10 percent, actinic on"
Remark= | "15:23:52 Fs=486 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "15:23:52 RF#28 7227 um, Fmax=981 Int=9 Mod=20 Filter=50"
Remark= | "15:23:53 Fm'=981"
Remark= | "15:24:13 Flow: Fixed -> 500 umol/s"
7 | 15:23:53 | 2448 | 0 | 13.5674 | 0.1882 | 273.9445 | 28 | 0 | 0 | 0 | 0 | 981.8457 | 486.2307 | #DIV/0! | 1 | 0.50478 | -1 | 0.87 | 0.92 | 9.4169 | 0.87471 | 0.041689 | 0.50478 | #DIV/0! | -1 | 399.4843 | 0.5 | 88.193 | 1.1102 | 0.59949 | 23.2054 | 2 | 4.6449 | 1 | 9.2897 | 22.5671 | 23.2054 | 23.0108 | 400.1116 | 394.5014 | 21.6421 | 22.0769 | 80.4988 | 82.1164 | 499.2806 | 399.4843 | 1.759 | 102.164 | 0.61126 | -0.035002 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4964 | 0.0011102 | 296.3554 | 295.7171 | 63.9175 | 0.031297 | 2.855 | 27.9449 | 5.868 | 22.8862 | 2.8004 | 0.18446 | 2.2555 | 0.54489 | 0.11562 | 27.9873 | 0.69441 | 78.8907 | 392.5297 | 0.027268 | 0 | 349.4323 | 981.8457 | 0.50478 | #DIV/0!
Remark= | "15:24:15 LCF Lamp: ParIn -> 250 uml, with blue = 10 percent, actinic on"
Remark= | "15:25:20 Fs=477 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "15:25:20 RF#29 7168 um, Fmax=1099 Int=9 Mod=20 Filter=50"
Remark= | "15:25:21 Fm'=1099"
Remark= | "15:25:40 Flow: Fixed -> 500 umol/s"
8 | 15:25:21 | 2535.5 | 0 | 9.844 | 0.17926 | 303.2975 | 29 | 0 | 0 | 0 | 0 | 1099.6334 | 477.6845 | #DIV/0! | 1 | 0.5656 | -1 | 0.87 | 0.92 | 8.8689 | 0.87443 | 0.049472 | 0.5656 | #DIV/0! | -1 | 250.6674 | 0.5 | 61.9872 | 0.97798 | 0.55408 | 22.8999 | 2 | 4.6449 | 1 | 9.2897 | 22.5087 | 22.8999 | 23.0169 | 399.8132 | 395.7147 | 21.6271 | 22.0102 | 80.727 | 82.1572 | 499.2495 | 250.6674 | 1.4475 | 102.162 | 0.60345 | -0.040355 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4962 | 0.00097798 | 296.0499 | 295.6587 | 40.1068 | -0.029559 | 2.8027 | 27.4337 | 5.4235 | 22.7043 | 2.7697 | 0.17586 | 2.2486 | 0.52104 | 0.11022 | 30.9855 | 0.76646 | 80.1131 | 394.2841 | 0.020002 | 0 | 219.1922 | 1099.6334 | 0.5656 | #DIV/0!
Remark= | "15:25:43 LCF Lamp: ParIn -> 150 uml, with blue = 10 percent, actinic on"
Remark= | "15:26:49 Fs=454 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "15:26:49 RF#30 7124 um, Fmax=1146 Int=9 Mod=20 Filter=50"
Remark= | "15:26:50 Fm'=1146"
Remark= | "15:27:08 Flow: Fixed -> 500 umol/s"
9 | 15:26:50 | 2623.5 | 0 | 6.5027 | 0.17235 | 332.5803 | 30 | 0 | 0 | 0 | 0 | 1146.9556 | 454.6624 | #DIV/0! | 1 | 0.60359 | -1 | 0.87 | 0.92 | 8.1039 | 0.87405 | 0.057402 | 0.60359 | #DIV/0! | -1 | 149.5385 | 0.5 | 39.4461 | 0.88989 | 0.52415 | 22.6896 | 2 | 4.6449 | 1 | 9.2897 | 22.4461 | 22.6896 | 23.0135 | 399.7148 | 396.9676 | 21.6049 | 21.9537 | 80.9592 | 82.2661 | 499.1122 | 149.5385 | 1.6321 | 102.1712 | 0.53277 | -0.039839 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4956 | 0.00088989 | 295.8396 | 295.5961 | 23.9262 | -0.072155 | 2.7672 | 27.0838 | 5.1301 | 22.5678 | 2.7468 | 0.16921 | 2.243 | 0.50377 | 0.10603 | 33.9801 | 0.8378 | 80.936 | 396.0226 | 0.01329 | 0 | 130.7044 | 1146.9556 | 0.60359 | #DIV/0!
Remark= | "15:27:11 LCF Lamp: ParIn -> 100 uml, with blue = 10 percent, actinic on"
Remark= | "15:28:16 Fs=440 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "15:28:16 RF#31 7103 um, Fmax=1196 Int=9 Mod=20 Filter=50"
Remark= | "15:28:17 Fm'=1196"
Remark= | "15:28:35 Flow: Fixed -> 500 umol/s"
10 | 15:28:17 | 2710.5 | 0 | 5.5526 | 0.17006 | 341.7932 | 31 | 0 | 0 | 0 | 0 | 1196.7737 | 440.104 | #DIV/0! | 1 | 0.63226 | -1 | 0.87 | 0.92 | 7.1263 | 0.87356 | 0.074299 | 0.63226 | #DIV/0! | -1 | 100.9565 | 0.5 | 27.88 | 0.84554 | 0.50473 | 22.5463 | 2 | 4.6449 | 1 | 9.2897 | 22.4076 | 22.5463 | 23.0161 | 400.2 | 397.8402 | 21.5755 | 21.9069 | 81.0468 | 82.2917 | 499.1087 | 100.9565 | 1.6913 | 102.1819 | 0.46816 | -0.039009 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4955 | 0.00084554 | 295.6963 | 295.5576 | 16.153 | -0.090761 | 2.7432 | 26.8464 | 4.9395 | 22.4769 | 2.7317 | 0.16701 | 2.2385 | 0.49319 | 0.10465 | 34.9251 | 0.85912 | 81.4802 | 397.0333 | 0.011395 | 0 | 88.1918 | 1196.7737 | 0.63226 | #DIV/0!
Remark= | "15:28:38 LCF Lamp: ParIn -> 50 uml, with blue = 10 percent, actinic on"
Remark= | "15:29:39 Fs=415 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "15:29:39 RF#32 7087 um, Fmax=1236 Int=9 Mod=20 Filter=50"
Remark= | "15:29:40 Fm'=1236"
Remark= | "15:29:58 Flow: Fixed -> 500 umol/s"
11 | 15:29:40 | 2793.5 | 0 | 1.9097 | 0.16984 | 377.9415 | 32 | 0 | 0 | 0 | 0 | 1236.6359 | 415.5313 | #DIV/0! | 1 | 0.66398 | -1 | 0.87 | 0.92 | 6.6824 | 0.87334 | 0.06815 | 0.66398 | #DIV/0! | -1 | 48.8869 | 0.5 | 14.1743 | 0.81661 | 0.48814 | 22.4167 | 2 | 4.6449 | 1 | 9.2897 | 22.3805 | 22.4167 | 23.0097 | 400.1461 | 399.2501 | 21.5398 | 21.8599 | 81.0416 | 82.246 | 499.0402 | 48.8869 | 1.5165 | 102.1763 | 0.49556 | -0.042088 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4952 | 0.00081661 | 295.5667 | 295.5305 | 7.8219 | -0.11443 | 2.7217 | 26.6373 | 4.7774 | 22.3986 | 2.7187 | 0.16679 | 2.2336 | 0.48514 | 0.10451 | 38.6167 | 0.94663 | 81.9493 | 398.9725 | 0.0039225 | 0 | 42.6949 | 1236.6359 | 0.66398 | #DIV/0!
Remark= | "15:30:00 LCF Lamp: ParIn -> 0 uml, with blue = 10 percent, actinic on"
Remark= | "15:31:06 Fs=371 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "15:31:06 RF#33 7088 um, Fmax=1312 Int=9 Mod=20 Filter=50"
Remark= | "15:31:07 Fm'=1312"
Remark= | "15:31:25 Flow: Fixed -> 500 umol/s"
12 | 15:31:07 | 2880.5 | 0 | -1.0073 | 0.17256 | 406.6575 | 33 | 0 | 0 | 0 | 0 | 1312.007 | 371.8977 | #DIV/0! | 1 | 0.71654 | -1 | 0.87 | 0.92 | 0 | 0.87 | 0.12299 | 0.71654 | #DIV/0! | -1 | -0.068583 | 0.5 | -0.021377 | 0.80608 | 0.47447 | 22.3086 | 2 | 4.6449 | 1 | 9.2897 | 22.3533 | 22.3086 | 23.0177 | 399.9577 | 400.2321 | 21.5005 | 21.8165 | 81.0368 | 82.228 | 498.9859 | -0.068583 | 1.6194 | 102.1878 | 0.49817 | -0.041323 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4949 | 0.00080608 | 295.4586 | 295.5033 | -0.010973 | -0.14033 | 2.7039 | 26.4597 | 4.6432 | 22.3309 | 2.7075 | 0.16941 | 2.2294 | 0.47815 | 0.10616 | 41.5554 | 1.0161 | 82.3458 | 400.3785 | -0.0020718 | 0 | -0.059667 | 1312.007 | 0.71654 | #DIV/0!
Remark= | "15:31:28 LCF Lamp: ParIn -> 0 uml, with blue = 10 percent, actinic on"
Remark= | "15:31:28 CO2 Mixer: CO2R -> 400 uml"
Remark= | "15:31:28 Coolers: Tblock -> 23.00 C"
Remark= | "15:31:28 Flow: Fixed -> 500 umol/s"
Remark= | "15:52:10 Flow: Fixed -> 500 umol/s"
13 | 15:51:51 | 4125.5 | 0 | -1.9755 | 0.080561 | 436.5241 | 33 | 0 | 0 | 0 | 0 | 1312.007 | 371.8977 | #DIV/0! | 1 | 0.71654 | -1 | 0.87 | 0.92 | 0 | 0.87 | -9.9072 | 0.71654 | #DIV/0! | -1 | -0.068583 | 0.5 | -0.021377 | 0.46539 | 0.58118 | 22.742 | 2 | 4.6449 | 1 | 9.2897 | 22.5058 | 22.742 | 23.0223 | 400.1797 | 400.8961 | 21.2879 | 21.4703 | 79.5243 | 80.2056 | 499.451 | 0.11318 | 0.79067 | 102.2251 | 0.52963 | -0.046843 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4973 | 0.00046539 | 295.892 | 295.6558 | 0.018109 | -0.09259 | 2.776 | 27.1556 | 5.6853 | 22.6239 | 2.7562 | 0.079868 | 2.1948 | 0.56136 | 0.049979 | 44.6237 | 1.0889 | 78.7267 | 401.1832 | -0.0038767 | 0 | 0.098467 | 1312.007 | 0.71654 | #DIV/0!