## 2020_02_10_1500_1_basil_13
OPEN 6.3.4
Mon Feb 10 2020 14:40:21
Unit= | PSC-0223
LCF= | LCF-2124
LCFCals= | -1.92 | -0.3 | -2940
LightSource= | 6400-40 Fluorometer | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LCF2124.xml
Remark= | sq
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | FCnt | DCnt | Fo | Fm | Fop | Fmp | Fs | Fv/Fm | FvpFmp | PhiPS2 | Adark | RedAbs | BlueAbs | %Blue | LeafAbs | PhiCO2 | qP | qN | NPQ | ParIn@Fs | PS2/1 | ETR | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Fv | PARabs | Fv' | qP_Fo | qN_Fo
in | in | in | in | out | out | out | in | in | in | in | in | in | in | out | out | out | in | in | in | in | out | out | out | out | out | in | in | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
1 | 14:43:00 | 214 | 0 | 4.789 | 0.068146 | 275.0977 | 33 | 0 | 384.8875 | 1592.8177 | 0 | 0 | 0 | 0.75836 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 9.4096 | 0.8747 | 0.012977 | #DIV/0! | 1 | #DIV/0! | 0.031865 | 0.5 | #DIV/0! | 1.2177 | 1.7513 | 23.1215 | 2 | 4.6449 | 1 | 9.2897 | 22.5466 | 23.1215 | 23.0182 | 400.037 | 397.9251 | 10.4904 | 10.9727 | 37.9592 | 39.7043 | 499.4196 | 510 | 0.25229 | 99.2641 | 1.4832 | -0.024726 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4971 | 0.0012177 | 296.2715 | 295.6966 | 81.6 | 0.085926 | 2.8405 | 28.6158 | 17.6431 | 22.834 | 2.7915 | 0.06765 | 1.0892 | 1.7023 | 0.042325 | 27.3073 | 0.69133 | 37.5577 | 397.2292 | 0.0045279 | 1207.9303 | 446.0994 | 0 | 0 | 1.3186
2 | 15:12:10 | 1965.5 | 0 | 12.844 | 0.12954 | 224.1451 | 34 | 0 | 343.9777 | 1802.4801 | 0 | 533.6387 | 436.9618 | 0.80916 | 1 | 0.18117 | -1 | 0.87 | 0.92 | 10.0329 | 0.87502 | 0.01217 | 0.18117 | 0.70394 | 2.3777 | 1301.3992 | 0.5 | 103.1507 | 2.4543 | 1.8671 | 24.2131 | 2 | 4.6449 | 1 | 9.2897 | 22.8445 | 24.2131 | 23.0145 | 399.6928 | 394.1582 | 10.7745 | 11.7465 | 38.3015 | 41.7567 | 499.0926 | 1300 | 1.3235 | 99.2964 | 1.4622 | -0.01957 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4955 | 0.0024543 | 297.3631 | 295.9945 | 208 | 0.33735 | 3.0335 | 30.5503 | 18.8038 | 23.5288 | 2.9112 | 0.12776 | 1.1664 | 1.7449 | 0.08001 | 22.2568 | 0.56867 | 37.9847 | 392.2917 | 0.012437 | 1458.5024 | 1137.5214 | 533.6387 | 0.50974 | 0.86996
3 | 15:13:41 | 2056.5 | 0 | 12.7637 | 0.12811 | 223.8972 | 35 | 0 | 343.9777 | 1802.4801 | 0 | 549.5435 | 433.2137 | 0.80916 | 1 | 0.21168 | -1 | 0.87 | 0.92 | 9.7627 | 0.87488 | 0.014302 | 0.21168 | 0.69512 | 2.28 | 1100.0812 | 0.5 | 101.8668 | 2.3913 | 1.8396 | 24.0496 | 2 | 4.6449 | 1 | 9.2897 | 22.8308 | 24.0496 | 23.0099 | 400.0239 | 394.5301 | 10.7778 | 11.7251 | 38.3458 | 41.7158 | 499.0006 | 1100 | 1.408 | 99.2982 | 1.5091 | -0.01689 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.495 | 0.0023913 | 297.1996 | 295.9808 | 176 | 0.22731 | 3.0039 | 30.2513 | 18.5263 | 23.4402 | 2.8957 | 0.12637 | 1.1643 | 1.7315 | 0.079135 | 22.2326 | 0.5675 | 38.2968 | 392.6752 | 0.012448 | 1458.5024 | 962.3695 | 549.5435 | 0.5659 | 0.85906
4 | 15:15:06 | 2141.5 | 0 | 12.2725 | 0.12644 | 228.529 | 36 | 0 | 343.9777 | 1802.4801 | 0 | 581.0497 | 433.0527 | 0.80916 | 1 | 0.25471 | -1 | 0.87 | 0.92 | 9.7935 | 0.8749 | 0.016856 | 0.25471 | 0.67764 | 2.1021 | 898.6666 | 0.5 | 100.1302 | 2.2884 | 1.7843 | 23.7093 | 2 | 4.6449 | 1 | 9.2897 | 22.7797 | 23.7093 | 23.0092 | 400.0528 | 394.7725 | 10.7609 | 11.6673 | 38.4107 | 41.646 | 499.0558 | 900 | 1.3826 | 99.3144 | 1.4364 | -0.019737 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4953 | 0.0022884 | 296.8593 | 295.9297 | 144 | 0.13059 | 2.9431 | 29.6339 | 17.9666 | 23.2445 | 2.8617 | 0.12474 | 1.1587 | 1.703 | 0.078112 | 22.6962 | 0.57889 | 38.9243 | 392.989 | 0.012156 | 1458.5024 | 787.4071 | 581.0497 | 0.62427 | 0.83746
5 | 15:16:36 | 2231.5 | 0 | 11.3757 | 0.1226 | 235.8727 | 37 | 0 | 343.9777 | 1802.4801 | 0 | 637.0141 | 438.6584 | 0.80916 | 1 | 0.31138 | -1 | 0.87 | 0.92 | 9.7848 | 0.87489 | 0.020208 | 0.31138 | 0.64659 | 1.8296 | 699.4358 | 0.5 | 95.2726 | 2.1882 | 1.7591 | 23.5254 | 2 | 4.6449 | 1 | 9.2897 | 22.7355 | 23.5254 | 23.0121 | 400.0273 | 395.1218 | 10.7285 | 11.5953 | 38.3955 | 41.4975 | 499.0427 | 700 | 1.4108 | 99.3092 | 1.4639 | -0.019204 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4952 | 0.0021882 | 296.6754 | 295.8855 | 112 | 0.026602 | 2.9106 | 29.3089 | 17.7136 | 23.1305 | 2.8421 | 0.121 | 1.1515 | 1.6905 | 0.075769 | 23.4243 | 0.59696 | 39.1041 | 393.4686 | 0.011306 | 1458.5024 | 612.4247 | 637.0141 | 0.6769 | 0.79908
6 | 15:18:07 | 2322 | 0 | 10.9594 | 0.12023 | 239.1228 | 38 | 0 | 343.9777 | 1802.4801 | 0 | 711.5484 | 448.7916 | 0.80916 | 1 | 0.36927 | -1 | 0.87 | 0.92 | 9.6392 | 0.87482 | 0.024856 | 0.36927 | 0.60524 | 1.5332 | 551.4696 | 0.5 | 89.0758 | 2.1164 | 1.7346 | 23.3406 | 2 | 4.6449 | 1 | 9.2897 | 22.7154 | 23.3406 | 23.0107 | 400.3503 | 395.6223 | 10.6801 | 11.5186 | 38.2641 | 41.268 | 499.0125 | 550 | 1.4996 | 99.2961 | 1.4681 | -0.021027 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4951 | 0.0021164 | 296.4906 | 295.8654 | 88 | -0.049332 | 2.8784 | 28.9879 | 17.4693 | 23.028 | 2.8245 | 0.11869 | 1.1437 | 1.6808 | 0.07432 | 23.744 | 0.60442 | 39.2759 | 394.0296 | 0.010924 | 1458.5024 | 481.1508 | 711.5484 | 0.71485 | 0.74798
7 | 15:19:32 | 2407 | 0 | 9.8548 | 0.11545 | 248.4444 | 39 | 0 | 343.9777 | 1802.4801 | 0 | 830.1608 | 464.5502 | 0.80916 | 1 | 0.44041 | -1 | 0.87 | 0.92 | 9.4169 | 0.87471 | 0.031024 | 0.44041 | 0.53943 | 1.1712 | 400.5531 | 0.5 | 77.1525 | 2.0124 | 1.7168 | 23.1847 | 2 | 4.6449 | 1 | 9.2897 | 22.6749 | 23.1847 | 23.0153 | 399.8172 | 395.5481 | 10.6303 | 11.4277 | 38.1735 | 41.0369 | 498.9707 | 400 | 1.5349 | 99.2812 | 1.4637 | -0.019309 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4949 | 0.0020124 | 296.3347 | 295.8249 | 64 | -0.12181 | 2.8514 | 28.7204 | 17.2927 | 22.9298 | 2.8078 | 0.11403 | 1.1346 | 1.6732 | 0.071397 | 24.6658 | 0.6281 | 39.3102 | 394.1159 | 0.0098295 | 1458.5024 | 349.8834 | 830.1608 | 0.752 | 0.66666
8 | 15:21:10 | 2504.5 | 0 | 8.1854 | 0.10886 | 265.7303 | 40 | 0 | 343.9777 | 1802.4801 | 0 | 970.9831 | 471.5272 | 0.80916 | 1 | 0.51438 | -1 | 0.87 | 0.92 | 8.8689 | 0.87443 | 0.042018 | 0.51438 | 0.46131 | 0.85635 | 251.1688 | 0.5 | 56.487 | 1.8737 | 1.6944 | 22.9834 | 2 | 4.6449 | 1 | 9.2897 | 22.6381 | 22.9834 | 23.0123 | 400.0332 | 396.4541 | 10.5648 | 11.3075 | 38.0191 | 40.6915 | 498.9193 | 250 | 1.37 | 99.2705 | 1.4117 | -0.019282 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4946 | 0.0018737 | 296.1334 | 295.7881 | 40 | -0.186 | 2.8169 | 28.3758 | 17.0684 | 22.8107 | 2.7876 | 0.1076 | 1.1225 | 1.6651 | 0.067362 | 26.3792 | 0.67027 | 39.342 | 395.2646 | 0.0081472 | 1458.5024 | 218.6086 | 970.9831 | 0.79657 | 0.5701
9 | 15:22:38 | 2592 | 0 | 4.6091 | 0.10074 | 314.1352 | 41 | 0 | 343.9777 | 1802.4801 | 0 | 1049.7014 | 463.0029 | 0.80916 | 1 | 0.55892 | -1 | 0.87 | 0.92 | 8.1039 | 0.87405 | 0.042782 | 0.55892 | 0.41763 | 0.71714 | 149.6076 | 0.5 | 36.5435 | 1.7103 | 1.6701 | 22.7641 | 2 | 4.6449 | 1 | 9.2897 | 22.602 | 22.7641 | 23.0127 | 399.9002 | 397.7801 | 10.5007 | 11.1785 | 37.8669 | 40.3113 | 498.9923 | 150 | 1.4433 | 99.2593 | 1.4203 | -0.021673 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.495 | 0.0017103 | 295.9141 | 295.752 | 24 | -0.21301 | 2.7797 | 28.0046 | 16.826 | 22.6831 | 2.7661 | 0.099657 | 1.1096 | 1.6565 | 0.062382 | 31.1808 | 0.78972 | 39.3736 | 397.1103 | 0.00457 | 1458.5024 | 131.1078 | 1049.7014 | 0.83134 | 0.51613
10 | 15:24:07 | 2681 | 0 | 3.8502 | 0.089547 | 319.2092 | 42 | 0 | 343.9777 | 1802.4801 | 0 | 1107.5834 | 458.3304 | 0.80916 | 1 | 0.58619 | -1 | 0.87 | 0.92 | 7.1263 | 0.87356 | 0.055522 | 0.58619 | 0.38552 | 0.6274 | 101.058 | 0.5 | 25.8745 | 1.5263 | 1.6746 | 22.7088 | 2 | 4.6449 | 1 | 9.2897 | 22.5744 | 22.7088 | 23.0123 | 400.2238 | 398.4368 | 10.4358 | 11.0409 | 37.691 | 39.8762 | 498.9563 | 100 | 1.4728 | 99.2457 | 1.399 | -0.018714 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4948 | 0.0015263 | 295.8588 | 295.7244 | 16 | -0.21131 | 2.7704 | 27.9146 | 16.8738 | 22.6416 | 2.7591 | 0.088692 | 1.0958 | 1.6634 | 0.055509 | 31.6801 | 0.80115 | 38.9401 | 397.8773 | 0.0037681 | 1458.5024 | 87.3563 | 1107.5834 | 0.85025 | 0.47645
11 | 15:25:39 | 2772 | 0 | 1.4781 | 0.074572 | 356.708 | 43 | 0 | 343.9777 | 1802.4801 | 0 | 1165.9092 | 442.5333 | 0.80916 | 1 | 0.62044 | -1 | 0.87 | 0.92 | 6.6824 | 0.87334 | 0.056749 | 0.62044 | 0.35316 | 0.54599 | 48.8892 | 0.5 | 13.2454 | 1.2969 | 1.7059 | 22.8098 | 2 | 4.6449 | 1 | 9.2897 | 22.5838 | 22.8098 | 23.0116 | 400.0286 | 399.2286 | 10.3837 | 10.8978 | 37.4805 | 39.3364 | 498.9669 | 50 | 1.4108 | 99.2437 | 1.4169 | -0.018098 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4948 | 0.0012969 | 295.9598 | 295.7338 | 8 | -0.20693 | 2.7874 | 28.0867 | 17.1889 | 22.6968 | 2.7684 | 0.073979 | 1.0815 | 1.6868 | 0.04629 | 35.401 | 0.89349 | 38.0811 | 399.0138 | 0.0014107 | 1458.5024 | 43.6671 | 1165.9092 | 0.88009 | 0.43646
12 | 15:27:07 | 2860 | 0 | -1.3366 | 0.059764 | 424.7517 | 44 | 0 | 343.9777 | 1802.4801 | 0 | 1246.957 | 375.1982 | 0.80916 | 1 | 0.69911 | -1 | 0.87 | 0.92 | 0 | 0.87 | #DIV/0! | 0.69911 | 0.3082 | 0.4455 | 0.14863 | 0.5 | 0.045199 | 1.0536 | 1.7266 | 22.8562 | 2 | 4.6449 | 1 | 9.2897 | 22.6281 | 22.8562 | 23.0209 | 400.1062 | 400.4728 | 10.3506 | 10.7683 | 37.2603 | 38.764 | 499.0484 | 0 | 1.6223 | 99.2421 | 1.4573 | -0.017459 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4952 | 0.0010536 | 296.0062 | 295.7781 | 0 | -0.19611 | 2.7953 | 28.1661 | 17.3978 | 22.7421 | 2.776 | 0.059382 | 1.0687 | 1.7073 | 0.037148 | 42.1533 | 1.0606 | 37.4078 | 400.6671 | -0.0012479 | 1458.5024 | 0 | 1246.957 | 0.96543 | 0.38089
13 | 15:59:46 | 4820.5 | 0 | -1.5422 | 0.015018 | 550.8813 | 45 | 0 | 343.9777 | 1802.4801 | 0 | 0 | 0 | 0.80916 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | #DIV/0! | #DIV/0! | 1 | #DIV/0! | 0.14863 | 0.5 | #DIV/0! | 0.27755 | 1.8019 | 22.9263 | 2 | 4.6449 | 1 | 9.2897 | 22.5794 | 22.9263 | 23.0216 | 399.8549 | 400.4274 | 10.0193 | 10.1292 | 36.1754 | 36.5723 | 499.9059 | 0 | 0.31008 | 99.2448 | 1.4409 | -0.017697 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4995 | 0.00027755 | 296.0763 | 295.7294 | 0 | -0.064474 | 2.8072 | 28.2854 | 18.1561 | 22.7528 | 2.7778 | 0.014993 | 1.0053 | 1.7725 | 0.009373 | 54.6721 | 1.3757 | 34.6594 | 400.6515 | -0.0013341 | 1458.5024 | 0 | 0 | 0 | 1.2358