## input
OPEN 6.3.4
Thr Feb 6 2020 17:52:14
Unit= | PSC-4213
LCF= | LCF-2205
LCFCals= | -2.06 | -0.32 | -2933
LightSource= | 6400-40 Fluorometer | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LCF2205.xml
Remark= | sino
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | FCnt | DCnt | Fo | Fm | Fo' | Fm' | Fs | Fv/Fm | Fv'/Fm' | PhiPS2 | Adark | RedAbs | BlueAbs | %Blue | LeafAbs | PhiCO2 | qP | qN | NPQ | ParIn@Fs | PS2/1 | ETR | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Fv | PARabs | Fv' | qP_Fo | qN_Fo
in | in | in | in | out | out | out | in | in | in | in | in | in | in | out | out | out | in | in | in | in | out | out | out | out | out | in | in | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "17:53:49 LCF Lamp: ParIn -> 400 uml, with blue = 10 percent, actinic on"
Remark= | "17:55:14 Flow: Fixed -> 500 umol/s"
1 | 17:54:54 | 258 | 0 | 8.6211 | 0.1201 | 270.8973 | 33 | 0 | 0 | 0 | 0 | 1596.0485 | 440.6021 | #DIV/0! | 1 | 0.72394 | -1 | 0.87 | 0.92 | 10.8358 | 0.87542 | 0.02757 | 0.72394 | #DIV/0! | -1 | 0.18636 | 0.5 | 0.059053 | 2.0246 | 1.7193 | 22.9869 | 2 | 4.6449 | 1 | 9.2897 | 22.9737 | 22.9869 | 23.0261 | 399.8859 | 396.1148 | 9.8978 | 10.6994 | 36.0879 | 39.0104 | 499.7473 | 398.627 | 0.74462 | 102.6444 | 1.5388 | -0.0020092 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4987 | 0.0020246 | 296.1369 | 296.1237 | 63.7803 | -0.10263 | 2.8175 | 27.449 | 16.7496 | 22.9803 | 2.8164 | 0.11857 | 1.0982 | 1.7181 | 0.074241 | 27.8061 | 0.68389 | 38.5867 | 394.8619 | 0.0084247 | 0 | 348.9652 | 1596.0485 | 0.72394 | #DIV/0!
Remark= | "17:55:35 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "18:16:59 Launched AutoProg /User/Configs/AutoProgs/LightCurve2"
Remark= | "18:17:02 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "18:17:02 CO2 Mixer: CO2R -> 400 uml"
Remark= | "18:17:02 Coolers: Tblock -> 23.00 C"
Remark= | "18:17:02 Flow: Fixed -> 500 umol/s"
Remark= | "18:17:03 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "18:18:04 Fs=518 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "18:18:04 RF#34 12117 um, Fmax=714 Int=9 Mod=20 Filter=50"
Remark= | "18:18:05 Fm'=714"
Remark= | "18:18:26 Flow: Fixed -> 500 umol/s"
2 | 18:18:05 | 1650.5 | 0 | 14.3454 | 0.14473 | 224.7662 | 34 | 0 | 0 | 0 | 0 | 714.8627 | 518.7224 | #DIV/0! | 1 | 0.27437 | -1 | 0.87 | 0.92 | 9.9992 | 0.875 | 0.013506 | 0.27437 | #DIV/0! | -1 | 1298.5409 | 0.5 | 155.8754 | 2.4252 | 1.7131 | 23.0025 | 2 | 4.6449 | 1 | 9.2897 | 22.9993 | 23.0025 | 23.0219 | 400.0028 | 393.8793 | 9.8266 | 10.7867 | 35.7671 | 39.2618 | 499.7347 | 1298.5409 | 0.62686 | 102.6283 | 1.5943 | 0.0020905 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4987 | 0.0024252 | 296.1525 | 296.1493 | 207.7665 | 0.40322 | 2.8202 | 27.4793 | 16.6925 | 23.0009 | 2.8199 | 0.14251 | 1.107 | 1.7129 | 0.089263 | 23.0674 | 0.57065 | 39.0192 | 391.7946 | 0.014287 | 0 | 1136.2228 | 714.8627 | 0.27437 | #DIV/0!
Remark= | "18:18:26 LCF Lamp: ParIn -> 1100 uml, with blue = 10 percent, actinic on"
Remark= | "18:19:34 Fs=516 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "18:19:34 RF#35 12047 um, Fmax=751 Int=9 Mod=20 Filter=50"
Remark= | "18:19:35 Fm'=751"
Remark= | "18:19:56 Flow: Fixed -> 500 umol/s"
3 | 18:19:35 | 1740.5 | 0 | 13.9956 | 0.14134 | 225.0967 | 35 | 0 | 0 | 0 | 0 | 751.6487 | 516.5296 | #DIV/0! | 1 | 0.3128 | -1 | 0.87 | 0.92 | 10.2666 | 0.87513 | 0.01558 | 0.3128 | #DIV/0! | -1 | 1099.835 | 0.5 | 150.5375 | 2.3766 | 1.7184 | 23.001 | 2 | 4.6449 | 1 | 9.2897 | 22.9891 | 23.001 | 23.0265 | 400.0107 | 394.0345 | 9.7918 | 10.7327 | 35.6614 | 39.0884 | 499.7161 | 1099.835 | 0.75878 | 102.6261 | 1.6191 | 0.0011025 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4986 | 0.0023766 | 296.151 | 296.1391 | 175.9736 | 0.28421 | 2.8199 | 27.4773 | 16.7446 | 22.9951 | 2.8189 | 0.13922 | 1.1015 | 1.7174 | 0.087199 | 23.1008 | 0.57126 | 38.8044 | 392.0007 | 0.013854 | 0 | 962.5022 | 751.6487 | 0.3128 | #DIV/0!
Remark= | "18:19:56 LCF Lamp: ParIn -> 900 uml, with blue = 10 percent, actinic on"
Remark= | "18:21:57 Fs=522 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "18:21:57 RF#36 11958 um, Fmax=814 Int=9 Mod=20 Filter=50"
Remark= | "18:21:58 Fm'=814"
Remark= | "18:22:19 Flow: Fixed -> 500 umol/s"
4 | 18:21:58 | 1883.5 | 0 | 13.4708 | 0.13762 | 227.1184 | 36 | 0 | 0 | 0 | 0 | 814.0311 | 522.0771 | #DIV/0! | 1 | 0.35865 | -1 | 0.87 | 0.92 | 9.9946 | 0.875 | 0.018324 | 0.35865 | #DIV/0! | -1 | 902.5333 | 0.5 | 141.6163 | 2.3241 | 1.7253 | 22.987 | 2 | 4.6449 | 1 | 9.2897 | 22.9516 | 22.987 | 23.0261 | 399.9806 | 394.2221 | 9.7222 | 10.6426 | 35.4883 | 38.8478 | 499.6798 | 902.5333 | 0.87108 | 102.6253 | 1.6183 | 0.003354 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4984 | 0.0023241 | 296.137 | 296.1016 | 144.4053 | 0.16611 | 2.8175 | 27.4543 | 16.8118 | 22.9693 | 2.8145 | 0.13561 | 1.0922 | 1.7223 | 0.084934 | 23.3081 | 0.57612 | 38.4868 | 392.2645 | 0.013217 | 0 | 789.7142 | 814.0311 | 0.35865 | #DIV/0!
Remark= | "18:22:19 LCF Lamp: ParIn -> 700 uml, with blue = 10 percent, actinic on"
Remark= | "18:23:30 Fs=536 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "18:23:30 RF#37 11892 um, Fmax=917 Int=9 Mod=20 Filter=50"
Remark= | "18:23:31 Fm'=917"
Remark= | "18:23:52 Flow: Fixed -> 500 umol/s"
5 | 18:23:31 | 1976.5 | 0 | 12.8973 | 0.13277 | 228.5632 | 37 | 0 | 0 | 0 | 0 | 917.8704 | 536.0115 | #DIV/0! | 1 | 0.41603 | -1 | 0.87 | 0.92 | 10.4058 | 0.8752 | 0.022647 | 0.41603 | #DIV/0! | -1 | 701.1533 | 0.5 | 127.6478 | 2.2534 | 1.7331 | 22.99 | 2 | 4.6449 | 1 | 9.2897 | 22.9322 | 22.99 | 23.0271 | 399.9706 | 394.4538 | 9.68 | 10.5722 | 35.3752 | 38.6357 | 499.7872 | 701.1533 | 0.75553 | 102.6236 | 1.6076 | 0.0013869 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4989 | 0.0022534 | 296.14 | 296.0822 | 112.1845 | 0.048666 | 2.818 | 27.4598 | 16.8875 | 22.9611 | 2.8131 | 0.1309 | 1.085 | 1.7281 | 0.081977 | 23.456 | 0.57944 | 38.192 | 392.5795 | 0.012547 | 0 | 613.6514 | 917.8704 | 0.41603 | #DIV/0!
Remark= | "18:23:52 LCF Lamp: ParIn -> 550 uml, with blue = 10 percent, actinic on"
Remark= | "18:24:56 Fs=556 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "18:24:56 RF#38 11810 um, Fmax=1048 Int=9 Mod=20 Filter=50"
Remark= | "18:24:57 Fm'=1048"
Remark= | "18:25:18 Flow: Fixed -> 500 umol/s"
6 | 18:24:57 | 2062.5 | 0 | 12.5422 | 0.13072 | 230.7318 | 38 | 0 | 0 | 0 | 0 | 1048.1429 | 556.6677 | #DIV/0! | 1 | 0.4689 | -1 | 0.87 | 0.92 | 10.058 | 0.87503 | 0.02817 | 0.4689 | #DIV/0! | -1 | 549.3855 | 0.5 | 112.707 | 2.2258 | 1.7384 | 23.0004 | 2 | 4.6449 | 1 | 9.2897 | 22.9495 | 23.0004 | 23.0244 | 400.0932 | 394.7223 | 9.6558 | 10.5371 | 35.2506 | 38.4683 | 499.7582 | 549.3855 | 0.80021 | 102.6261 | 1.5426 | 0.0017707 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4988 | 0.0022258 | 296.1504 | 296.0995 | 87.9017 | -0.043317 | 2.8198 | 27.4763 | 16.9391 | 22.9749 | 2.8154 | 0.1289 | 1.0814 | 1.7341 | 0.080726 | 23.6791 | 0.58454 | 38.0275 | 392.8997 | 0.012139 | 0 | 480.7282 | 1048.1429 | 0.4689 | #DIV/0!
Remark= | "18:25:18 LCF Lamp: ParIn -> 400 uml, with blue = 10 percent, actinic on"
Remark= | "18:26:27 Fs=578 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "18:26:27 RF#39 11745 um, Fmax=1231 Int=9 Mod=20 Filter=50"
Remark= | "18:26:28 Fm'=1231"
Remark= | "18:26:49 Flow: Fixed -> 500 umol/s"
7 | 18:26:28 | 2153.5 | 0 | 10.9686 | 0.12829 | 247.8971 | 39 | 0 | 0 | 0 | 0 | 1231.571 | 578.5535 | #DIV/0! | 1 | 0.53023 | -1 | 0.87 | 0.92 | 10.8358 | 0.87542 | 0.034305 | 0.53023 | #DIV/0! | -1 | 398.5372 | 0.5 | 92.4953 | 2.186 | 1.7391 | 22.9943 | 2 | 4.6449 | 1 | 9.2897 | 22.9823 | 22.9943 | 23.0252 | 399.9148 | 395.1789 | 9.654 | 10.5197 | 35.1746 | 38.3289 | 499.6902 | 398.5372 | 0.85906 | 102.6272 | 1.598 | 0.000782 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4985 | 0.002186 | 296.1443 | 296.1323 | 63.766 | -0.13111 | 2.8188 | 27.466 | 16.9462 | 22.9883 | 2.8177 | 0.12654 | 1.0796 | 1.7381 | 0.079246 | 25.441 | 0.6273 | 37.9632 | 393.5849 | 0.01058 | 0 | 348.8866 | 1231.571 | 0.53023 | #DIV/0!
Remark= | "18:26:49 LCF Lamp: ParIn -> 250 uml, with blue = 10 percent, actinic on"
Remark= | "18:27:51 Fs=571 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "18:27:51 RF#40 11642 um, Fmax=1380 Int=9 Mod=20 Filter=50"
Remark= | "18:27:52 Fm'=1380"
Remark= | "18:28:13 Flow: Fixed -> 500 umol/s"
8 | 18:27:52 | 2237.5 | 0 | 8.5162 | 0.12605 | 277.5957 | 40 | 0 | 0 | 0 | 0 | 1380.7092 | 571.7456 | #DIV/0! | 1 | 0.5859 | -1 | 0.87 | 0.92 | 10.1335 | 0.87507 | 0.043475 | 0.5859 | #DIV/0! | -1 | 250.1377 | 0.5 | 64.1235 | 2.1511 | 1.7414 | 23.0143 | 2 | 4.6449 | 1 | 9.2897 | 23.0228 | 23.0143 | 23.0284 | 400.0083 | 396.2591 | 9.679 | 10.5307 | 35.1799 | 38.2758 | 499.7599 | 250.1377 | 0.85473 | 102.629 | 1.6143 | 0.0036265 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4988 | 0.0021511 | 296.1643 | 296.1728 | 40.022 | -0.21903 | 2.8222 | 27.4987 | 16.968 | 23.0185 | 2.8229 | 0.12436 | 1.0808 | 1.7421 | 0.077875 | 28.4894 | 0.70054 | 37.9414 | 395.0215 | 0.0081797 | 0 | 218.8872 | 1380.7092 | 0.5859 | #DIV/0!
Remark= | "18:28:13 LCF Lamp: ParIn -> 150 uml, with blue = 10 percent, actinic on"
Remark= | "18:30:14 Fs=539 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "18:30:14 RF#41 11568 um, Fmax=1469 Int=9 Mod=20 Filter=50"
Remark= | "18:30:15 Fm'=1469"
Remark= | "18:30:36 Flow: Fixed -> 500 umol/s"
9 | 18:30:15 | 2380.5 | 0 | 5.6889 | 0.12017 | 311.134 | 41 | 0 | 0 | 0 | 0 | 1469.6202 | 539.8512 | #DIV/0! | 1 | 0.63266 | -1 | 0.87 | 0.92 | 8.7349 | 0.87437 | 0.05004 | 0.63266 | #DIV/0! | -1 | 152.879 | 0.5 | 42.2845 | 2.0418 | 1.7327 | 22.9984 | 2 | 4.6449 | 1 | 9.2897 | 23.0952 | 22.9984 | 23.0238 | 400.0594 | 397.4578 | 9.7809 | 10.5895 | 35.3938 | 38.3197 | 499.7129 | 152.879 | 0.5778 | 102.6256 | 1.671 | 0.0024788 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4986 | 0.0020418 | 296.1484 | 296.2452 | 24.4606 | -0.25807 | 2.8195 | 27.4732 | 16.8837 | 23.0468 | 2.8277 | 0.11863 | 1.0868 | 1.741 | 0.074282 | 31.9303 | 0.78281 | 38.1525 | 396.631 | 0.0054723 | 0 | 133.6724 | 1469.6202 | 0.63266 | #DIV/0!
Remark= | "18:30:36 LCF Lamp: ParIn -> 100 uml, with blue = 10 percent, actinic on"
Remark= | "18:32:37 Fs=520 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "18:32:37 RF#42 11553 um, Fmax=1537 Int=9 Mod=20 Filter=50"
Remark= | "18:32:38 Fm'=1537"
Remark= | "18:32:58 Flow: Fixed -> 500 umol/s"
10 | 18:32:38 | 2523 | 0 | 3.5353 | 0.10905 | 335.7409 | 42 | 0 | 0 | 0 | 0 | 1537.4408 | 520.1429 | #DIV/0! | 1 | 0.66168 | -1 | 0.87 | 0.92 | 7.8195 | 0.87391 | 0.053368 | 0.66168 | #DIV/0! | -1 | 97.2434 | 0.5 | 28.1155 | 1.8526 | 1.7303 | 23.0029 | 2 | 4.6449 | 1 | 9.2897 | 23.088 | 23.0029 | 23.0224 | 399.9183 | 398.2082 | 9.8867 | 10.6202 | 35.7926 | 38.4481 | 499.7463 | 97.2434 | 0.78493 | 102.6271 | 1.6952 | 0.0059735 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4987 | 0.0018526 | 296.1529 | 296.238 | 15.5589 | -0.26081 | 2.8202 | 27.4802 | 16.8601 | 23.0455 | 2.8275 | 0.10778 | 1.0899 | 1.7376 | 0.067478 | 34.4561 | 0.84313 | 38.1808 | 397.6944 | 0.0033941 | 0 | 84.982 | 1537.4408 | 0.66168 | #DIV/0!
Remark= | "18:32:59 LCF Lamp: ParIn -> 50 uml, with blue = 10 percent, actinic on"
Remark= | "18:35:00 Fs=501 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "18:35:00 RF#43 11561 um, Fmax=1606 Int=9 Mod=20 Filter=50"
Remark= | "18:35:01 Fm'=1606"
Remark= | "18:35:21 Flow: Fixed -> 500 umol/s"
11 | 18:35:01 | 2665.5 | 0 | 1.7544 | 0.093083 | 358.0202 | 43 | 0 | 0 | 0 | 0 | 1606.9956 | 501.5378 | #DIV/0! | 1 | 0.6879 | -1 | 0.87 | 0.92 | 7.349 | 0.87367 | 0.067356 | 0.6879 | #DIV/0! | -1 | 46.8064 | 0.5 | 14.0654 | 1.5914 | 1.7385 | 23.0062 | 2 | 4.6449 | 1 | 9.2897 | 23.0206 | 23.0062 | 23.0191 | 399.8326 | 398.8765 | 9.9155 | 10.5457 | 36.0441 | 38.3348 | 499.7702 | 46.8064 | 0.64104 | 102.6284 | 1.6937 | 0.0069177 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4989 | 0.0015914 | 296.1562 | 296.1706 | 7.489 | -0.25018 | 2.8208 | 27.4853 | 16.9396 | 23.0134 | 2.822 | 0.09216 | 1.0823 | 1.7397 | 0.057682 | 36.7431 | 0.89757 | 37.797 | 398.6216 | 0.0016635 | 0 | 40.8936 | 1606.9956 | 0.6879 | #DIV/0!
Remark= | "18:35:21 LCF Lamp: ParIn -> 0 uml, with blue = 10 percent, actinic on"
Remark= | "18:36:22 Fs=453 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "18:36:22 RF#44 11552 um, Fmax=1664 Int=9 Mod=20 Filter=50"
Remark= | "18:36:23 Fm'=1664"
Remark= | "18:36:42 Flow: Fixed -> 500 umol/s"
12 | 18:36:23 | 2747 | 0 | -0.71635 | 0.083771 | 402.6501 | 44 | 0 | 0 | 0 | 0 | 1664.0359 | 453.1697 | #DIV/0! | 1 | 0.72767 | -1 | 0.87 | 0.92 | 0 | 0.87 | 7.0134 | 0.72767 | #DIV/0! | -1 | 0.046487 | 0.5 | 0.014715 | 1.4404 | 1.7467 | 23.0095 | 2 | 4.6449 | 1 | 9.2897 | 22.9822 | 23.0095 | 23.0246 | 399.9319 | 399.988 | 9.9002 | 10.4706 | 36.073 | 38.1514 | 499.7329 | 0.046487 | 0.96047 | 102.6309 | 1.5975 | 0.0065122 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4987 | 0.0014404 | 296.1595 | 296.1322 | 0.007438 | -0.25533 | 2.8213 | 27.4902 | 17.0196 | 22.9959 | 2.819 | 0.083022 | 1.0746 | 1.7444 | 0.051956 | 41.3243 | 1.0067 | 37.4546 | 400.0921 | -0.00067061 | 0 | 0.040444 | 1664.0359 | 0.72767 | #DIV/0!
Remark= | "18:36:43 LCF Lamp: ParIn -> 0 uml, with blue = 10 percent, actinic on"
Remark= | "18:36:43 CO2 Mixer: CO2R -> 400 uml"
Remark= | "18:36:43 Coolers: Tblock -> 23.00 C"
Remark= | "18:36:43 Flow: Fixed -> 500 umol/s"
Remark= | "19:01:37 Flow: Fixed -> 500 umol/s"
13 | 19:01:18 | 4241 | 0 | -1.584 | 0.029976 | 472.7549 | 44 | 0 | 0 | 0 | 0 | 1664.0359 | 453.1697 | #DIV/0! | 1 | 0.72767 | -1 | 0.87 | 0.92 | 0 | 0.87 | -3.4871 | 0.72767 | #DIV/0! | -1 | 0.046487 | 0.5 | 0.014715 | 0.53789 | 1.8127 | 23.0016 | 2 | 4.6449 | 1 | 9.2897 | 22.8772 | 23.0016 | 23.0254 | 399.9967 | 400.5444 | 9.6031 | 9.8163 | 35.2073 | 35.9888 | 499.7525 | 0.19251 | 0.47752 | 102.6119 | 1.4481 | 0.0064734 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4988 | 0.00053789 | 296.1516 | 296.0272 | 0.030801 | -0.10035 | 2.82 | 27.4822 | 17.6659 | 22.9394 | 2.8094 | 0.02988 | 1.0073 | 1.8021 | 0.018684 | 48.5103 | 1.1803 | 34.7077 | 400.7746 | -0.0013718 | 0 | 0.16748 | 1664.0359 | 0.72767 | #DIV/0!