## input
OPEN 6.3.4
Fri Feb 7 2020 17:15:18
Unit= | PSC-4213
LCF= | LCF-2205
LCFCals= | -2.06 | -0.32 | -2933
LightSource= | 6400-40 Fluorometer | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LCF2205.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | FCnt | DCnt | Fo | Fm | Fo' | Fm' | Fs | Fv/Fm | Fv'/Fm' | PhiPS2 | Adark | RedAbs | BlueAbs | %Blue | LeafAbs | PhiCO2 | qP | qN | NPQ | ParIn@Fs | PS2/1 | ETR | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Fv | PARabs | Fv' | qP_Fo | qN_Fo
in | in | in | in | out | out | out | in | in | in | in | in | in | in | out | out | out | in | in | in | in | out | out | out | out | out | in | in | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "17:17:44 LCF Lamp: ParIn -> 400 uml, with blue = 10 percent, actinic on"
Remark= | "17:21:08 Flow: Fixed -> 300 umol/s"
1 | 17:20:48 | 402 | 0 | 5.5839 | 0.057762 | 232.183 | 33 | 0 | 0 | 0 | 0 | 1694.8904 | 482.043 | #DIV/0! | 1 | 0.71559 | -1 | 0.87 | 0.92 | 10.8358 | 0.87542 | 0.018904 | 0.71559 | #DIV/0! | -1 | 0.052983 | 0.5 | 0.016595 | 0.94273 | 1.6309 | 22.96 | 2 | 4.6449 | 1 | 9.2897 | 22.994 | 22.96 | 23.03 | 399.8988 | 395.9253 | 11.0467 | 11.6681 | 39.7019 | 41.9355 | 299.8442 | 397.8442 | 1.6538 | 101.3048 | 1.0149 | 0.0078778 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.4992 | 0.00094273 | 296.11 | 296.144 | 63.6551 | 0.089868 | 2.8129 | 27.7668 | 16.0987 | 22.977 | 2.8158 | 0.057405 | 1.182 | 1.6338 | 0.03591 | 23.5213 | 0.58643 | 41.2212 | 395.1138 | 0.0058256 | 0 | 348.28 | 1694.8904 | 0.71559 | #DIV/0!
Remark= | "17:21:27 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "17:47:42 Launched AutoProg /User/Configs/AutoProgs/LightCurve2"
Remark= | "17:47:48 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "17:47:48 CO2 Mixer: CO2R -> 400 uml"
Remark= | "17:47:48 Coolers: Tblock -> 23.00 C"
Remark= | "17:47:48 Flow: Fixed -> 300 umol/s"
Remark= | "17:47:48 LCF Lamp: ParIn -> 1300 uml, with blue = 10 percent, actinic on"
Remark= | "17:48:58 Fs=548 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "17:48:58 RF#34 12054 um, Fmax=734 Int=9 Mod=20 Filter=50"
Remark= | "17:48:59 Fm'=734"
Remark= | "17:49:20 Flow: Fixed -> 300 umol/s"
2 | 17:48:59 | 2093 | 0 | 10.3975 | 0.1054 | 225.6189 | 34 | 0 | 0 | 0 | 0 | 734.6233 | 548.8605 | #DIV/0! | 1 | 0.25287 | -1 | 0.87 | 0.92 | 9.9449 | 0.87497 | 0.010005 | 0.25287 | #DIV/0! | -1 | 1301.9486 | 0.5 | 144.0297 | 1.611 | 1.5339 | 23.0382 | 2 | 4.6449 | 1 | 9.2897 | 23.193 | 23.0382 | 23.0214 | 399.9751 | 392.6154 | 11.6969 | 12.7581 | 41.5316 | 45.2997 | 299.7401 | 1301.9486 | 1.8173 | 101.294 | 1.8476 | 0.021368 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.4987 | 0.001611 | 296.1882 | 296.343 | 208.3118 | 0.55613 | 2.8262 | 27.9014 | 15.1433 | 23.1156 | 2.8395 | 0.10422 | 1.2923 | 1.5472 | 0.065244 | 22.8538 | 0.57466 | 45.221 | 391.1044 | 0.012022 | 0 | 1139.1691 | 734.6233 | 0.25287 | #DIV/0!
Remark= | "17:49:20 LCF Lamp: ParIn -> 1100 uml, with blue = 10 percent, actinic on"
Remark= | "17:51:21 Fs=548 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "17:51:21 RF#35 11997 um, Fmax=775 Int=9 Mod=20 Filter=50"
Remark= | "17:51:22 Fm'=775"
Remark= | "17:51:43 Flow: Fixed -> 300 umol/s"
3 | 17:51:22 | 2236 | 0 | 10.5265 | 0.10702 | 226.0025 | 35 | 0 | 0 | 0 | 0 | 775.7392 | 548.7097 | #DIV/0! | 1 | 0.29266 | -1 | 0.87 | 0.92 | 10.2666 | 0.87513 | 0.012003 | 0.29266 | #DIV/0! | -1 | 1097.2865 | 0.5 | 140.5176 | 1.6391 | 1.5373 | 23.1045 | 2 | 4.6449 | 1 | 9.2897 | 23.1634 | 23.1045 | 23.0227 | 400.0395 | 392.5869 | 11.7568 | 12.8364 | 41.821 | 45.6612 | 299.7629 | 1097.2865 | 1.8054 | 101.2983 | 1.7938 | 0.019445 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.4988 | 0.0016391 | 296.2545 | 296.3134 | 175.5658 | 0.41585 | 2.8376 | 28.0124 | 15.176 | 23.1339 | 2.8427 | 0.1058 | 1.3003 | 1.5424 | 0.066233 | 22.8937 | 0.57568 | 45.3243 | 391.0572 | 0.0122 | 0 | 960.272 | 775.7392 | 0.29266 | #DIV/0!
Remark= | "17:51:43 LCF Lamp: ParIn -> 900 uml, with blue = 10 percent, actinic on"
Remark= | "17:52:49 Fs=554 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "17:52:49 RF#36 11901 um, Fmax=838 Int=9 Mod=20 Filter=50"
Remark= | "17:52:50 Fm'=838"
Remark= | "17:53:11 Flow: Fixed -> 300 umol/s"
4 | 17:52:50 | 2324 | 0 | 10.4103 | 0.10869 | 229.8337 | 36 | 0 | 0 | 0 | 0 | 838.0573 | 554.7877 | #DIV/0! | 1 | 0.33801 | -1 | 0.87 | 0.92 | 9.9946 | 0.875 | 0.014489 | 0.33801 | #DIV/0! | -1 | 900.0455 | 0.5 | 133.0967 | 1.6566 | 1.5303 | 23.0732 | 2 | 4.6449 | 1 | 9.2897 | 23.1413 | 23.0732 | 23.0215 | 399.6546 | 392.2749 | 11.7601 | 12.8513 | 41.8927 | 45.7797 | 299.744 | 900.0455 | 1.8261 | 101.3085 | 1.8777 | 0.023134 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.4987 | 0.0016566 | 296.2232 | 296.2913 | 144.0073 | 0.28691 | 2.8322 | 27.9566 | 15.1053 | 23.1073 | 2.8381 | 0.10744 | 1.3019 | 1.5361 | 0.067259 | 23.2841 | 0.5859 | 45.4811 | 390.7621 | 0.012117 | 0 | 787.5374 | 838.0573 | 0.33801 | #DIV/0!
Remark= | "17:53:11 LCF Lamp: ParIn -> 700 uml, with blue = 10 percent, actinic on"
Remark= | "17:54:12 Fs=573 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "17:54:12 RF#37 11845 um, Fmax=955 Int=9 Mod=20 Filter=50"
Remark= | "17:54:13 Fm'=955"
Remark= | "17:54:34 Flow: Fixed -> 300 umol/s"
5 | 17:54:13 | 2407 | 0 | 10.5179 | 0.10817 | 227.878 | 37 | 0 | 0 | 0 | 0 | 955.9569 | 573.5621 | #DIV/0! | 1 | 0.40001 | -1 | 0.87 | 0.92 | 10.4058 | 0.8752 | 0.018817 | 0.40001 | #DIV/0! | -1 | 699.3895 | 0.5 | 122.4254 | 1.6572 | 1.5379 | 23.0955 | 2 | 4.6449 | 1 | 9.2897 | 23.1087 | 23.0955 | 23.0227 | 400.1346 | 392.6838 | 11.7245 | 12.8159 | 41.8427 | 45.7376 | 299.7998 | 699.3895 | 1.8511 | 101.295 | 1.7806 | 0.02071 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.499 | 0.0016572 | 296.2455 | 296.2587 | 111.9023 | 0.1559 | 2.8361 | 27.998 | 15.1822 | 23.1021 | 2.8372 | 0.10693 | 1.2982 | 1.539 | 0.06694 | 23.0829 | 0.58031 | 45.2817 | 391.1553 | 0.012176 | 0 | 612.1077 | 955.9569 | 0.40001 | #DIV/0!
Remark= | "17:54:34 LCF Lamp: ParIn -> 550 uml, with blue = 10 percent, actinic on"
Remark= | "17:55:35 Fs=598 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "17:55:35 RF#38 11774 um, Fmax=1101 Int=9 Mod=20 Filter=50"
Remark= | "17:55:36 Fm'=1101"
Remark= | "17:55:57 Flow: Fixed -> 300 umol/s"
6 | 17:55:36 | 2490 | 0 | 10.1723 | 0.10715 | 231.3708 | 38 | 0 | 0 | 0 | 0 | 1101.9662 | 598.3787 | #DIV/0! | 1 | 0.45699 | -1 | 0.87 | 0.92 | 10.058 | 0.87503 | 0.023286 | 0.45699 | #DIV/0! | -1 | 548.316 | 0.5 | 109.6302 | 1.6676 | 1.5619 | 23.2088 | 2 | 4.6449 | 1 | 9.2897 | 23.0835 | 23.2088 | 23.0228 | 399.8373 | 392.6136 | 11.6739 | 12.7723 | 41.7219 | 45.6476 | 299.7638 | 548.316 | 1.6974 | 101.2863 | 1.8164 | 0.017032 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.4988 | 0.0016676 | 296.3588 | 296.2335 | 87.7306 | 0.051142 | 2.8556 | 28.1929 | 15.4206 | 23.1461 | 2.8448 | 0.10593 | 1.2937 | 1.5511 | 0.066313 | 23.4347 | 0.58931 | 44.7961 | 391.1353 | 0.01165 | 0 | 479.7924 | 1101.9662 | 0.45699 | #DIV/0!
Remark= | "17:55:57 LCF Lamp: ParIn -> 400 uml, with blue = 10 percent, actinic on"
Remark= | "17:57:01 Fs=621 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "17:57:01 RF#39 11723 um, Fmax=1309 Int=9 Mod=20 Filter=50"
Remark= | "17:57:02 Fm'=1309"
Remark= | "17:57:23 Flow: Fixed -> 300 umol/s"
7 | 17:57:02 | 2576 | 0 | 9.4054 | 0.10846 | 244.9814 | 39 | 0 | 0 | 0 | 0 | 1309.469 | 621.8437 | #DIV/0! | 1 | 0.52512 | -1 | 0.87 | 0.92 | 10.8358 | 0.87542 | 0.029865 | 0.52512 | #DIV/0! | -1 | 397.9966 | 0.5 | 91.479 | 1.6803 | 1.5551 | 23.1409 | 2 | 4.6449 | 1 | 9.2897 | 23.0775 | 23.1409 | 23.0236 | 399.8258 | 393.1087 | 11.6174 | 12.7244 | 41.5334 | 45.4912 | 299.7098 | 397.9966 | 1.6768 | 101.2815 | 1.7437 | 0.018938 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.4985 | 0.0016803 | 296.2909 | 296.2275 | 63.6794 | -0.044547 | 2.8439 | 28.0788 | 15.3544 | 23.1092 | 2.8384 | 0.1072 | 1.2888 | 1.5497 | 0.067114 | 24.8121 | 0.62319 | 44.8222 | 391.7419 | 0.010761 | 0 | 348.4133 | 1309.469 | 0.52512 | #DIV/0!
Remark= | "17:57:23 LCF Lamp: ParIn -> 250 uml, with blue = 10 percent, actinic on"
Remark= | "17:58:24 Fs=607 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "17:58:24 RF#40 11624 um, Fmax=1484 Int=9 Mod=20 Filter=50"
Remark= | "17:58:25 Fm'=1484"
Remark= | "17:58:46 Flow: Fixed -> 300 umol/s"
8 | 17:58:25 | 2659 | 0 | 7.7567 | 0.10966 | 271.7413 | 40 | 0 | 0 | 0 | 0 | 1484.7092 | 607.7618 | #DIV/0! | 1 | 0.59065 | -1 | 0.87 | 0.92 | 10.1335 | 0.87507 | 0.040085 | 0.59065 | #DIV/0! | -1 | 249.6421 | 0.5 | 64.5151 | 1.7002 | 1.5564 | 23.1358 | 2 | 4.6449 | 1 | 9.2897 | 23.1048 | 23.1358 | 23.0265 | 400.0279 | 394.4054 | 11.5829 | 12.7028 | 41.3421 | 45.3393 | 299.7711 | 249.6421 | 0.70537 | 101.2827 | 1.6885 | 0.019593 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.4989 | 0.0017002 | 296.2858 | 296.2548 | 39.9427 | -0.14156 | 2.843 | 28.0698 | 15.3671 | 23.1203 | 2.8403 | 0.10838 | 1.2866 | 1.5537 | 0.067852 | 27.5227 | 0.68899 | 44.7669 | 393.2782 | 0.0088295 | 0 | 218.4535 | 1484.7092 | 0.59065 | #DIV/0!
Remark= | "17:58:46 LCF Lamp: ParIn -> 150 uml, with blue = 10 percent, actinic on"
Remark= | "18:00:47 Fs=570 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "18:00:47 RF#41 11560 um, Fmax=1579 Int=9 Mod=20 Filter=50"
Remark= | "18:00:48 Fm'=1579"
Remark= | "18:01:09 Flow: Fixed -> 300 umol/s"
9 | 18:00:48 | 2802 | 0 | 5.3885 | 0.11215 | 309.4599 | 41 | 0 | 0 | 0 | 0 | 1579.6748 | 570.5876 | #DIV/0! | 1 | 0.63879 | -1 | 0.87 | 0.92 | 8.7349 | 0.87437 | 0.047849 | 0.63879 | #DIV/0! | -1 | 152.6978 | 0.5 | 42.644 | 1.7286 | 1.5477 | 23.104 | 2 | 4.6449 | 1 | 9.2897 | 23.1523 | 23.104 | 23.0246 | 399.9688 | 395.9171 | 11.5962 | 12.7348 | 41.2703 | 45.3226 | 299.7694 | 152.6978 | 0.50586 | 101.2815 | 1.8215 | 0.01778 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.4988 | 0.0017286 | 296.254 | 296.3023 | 24.4316 | -0.20508 | 2.8375 | 28.0161 | 15.2814 | 23.1281 | 2.8417 | 0.11081 | 1.2898 | 1.5519 | 0.069378 | 31.3426 | 0.78163 | 44.9848 | 395.134 | 0.0061347 | 0 | 133.514 | 1579.6748 | 0.63879 | #DIV/0!
Remark= | "18:01:09 LCF Lamp: ParIn -> 100 uml, with blue = 10 percent, actinic on"
Remark= | "18:03:10 Fs=548 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "18:03:10 RF#42 11560 um, Fmax=1644 Int=9 Mod=20 Filter=50"
Remark= | "18:03:11 Fm'=1644"
Remark= | "18:03:32 Flow: Fixed -> 300 umol/s"
10 | 18:03:11 | 2945 | 0 | 3.5118 | 0.11008 | 336.5161 | 42 | 0 | 0 | 0 | 0 | 1644.6975 | 548.7563 | #DIV/0! | 1 | 0.66635 | -1 | 0.87 | 0.92 | 7.8195 | 0.87391 | 0.053044 | 0.66635 | #DIV/0! | -1 | 97.33 | 0.5 | 28.339 | 1.695 | 1.5458 | 23.0873 | 2 | 4.6449 | 1 | 9.2897 | 23.1128 | 23.0873 | 23.0226 | 399.9971 | 397.2052 | 11.6099 | 12.7263 | 41.4166 | 45.3991 | 299.7962 | 97.33 | 0.48296 | 101.2783 | 1.7748 | 0.020075 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.499 | 0.001695 | 296.2373 | 296.2628 | 15.5728 | -0.23561 | 2.8347 | 27.9888 | 15.2626 | 23.1001 | 2.8368 | 0.10879 | 1.2889 | 1.548 | 0.068111 | 34.0818 | 0.84721 | 44.9878 | 396.6949 | 0.0039826 | 0 | 85.0576 | 1644.6975 | 0.66635 | #DIV/0!
Remark= | "18:03:32 LCF Lamp: ParIn -> 50 uml, with blue = 10 percent, actinic on"
Remark= | "18:04:33 Fs=525 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "18:04:33 RF#43 11534 um, Fmax=1677 Int=9 Mod=20 Filter=50"
Remark= | "18:04:34 Fm'=1677"
Remark= | "18:04:55 Flow: Fixed -> 300 umol/s"
11 | 18:04:34 | 3028 | 0 | 1.5916 | 0.10818 | 365.1726 | 43 | 0 | 0 | 0 | 0 | 1677.9021 | 525.8577 | #DIV/0! | 1 | 0.6866 | -1 | 0.87 | 0.92 | 6.5927 | 0.8733 | 0.057227 | 0.6866 | #DIV/0! | -1 | 51.8571 | 0.5 | 15.5468 | 1.6587 | 1.5391 | 23.0357 | 2 | 4.6449 | 1 | 9.2897 | 23.0945 | 23.0357 | 23.0222 | 399.9095 | 398.4068 | 11.6117 | 12.7043 | 41.4705 | 45.3726 | 299.7708 | 51.8571 | 0.85906 | 101.2819 | 1.7563 | 0.020422 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.4989 | 0.0016587 | 296.1857 | 296.2445 | 8.2971 | -0.25683 | 2.8258 | 27.9005 | 15.1962 | 23.0651 | 2.8308 | 0.10694 | 1.2867 | 1.5441 | 0.066946 | 36.9854 | 0.91658 | 45.0455 | 398.1755 | 0.0018006 | 0 | 45.2866 | 1677.9021 | 0.6866 | #DIV/0!
Remark= | "18:04:55 LCF Lamp: ParIn -> 0 uml, with blue = 10 percent, actinic on"
Remark= | "18:06:09 Fs=470 Msr=3 Mod=0.25 Filter=5 Gain=10"
Remark= | "18:06:09 RF#44 11522 um, Fmax=1741 Int=9 Mod=20 Filter=50"
Remark= | "18:06:10 Fm'=1741"
Remark= | "18:06:31 Flow: Fixed -> 300 umol/s"
12 | 18:06:10 | 3125 | 0 | -1.2097 | 0.10347 | 409.208 | 44 | 0 | 0 | 0 | 0 | 1741.9031 | 470.2679 | #DIV/0! | 1 | 0.73003 | -1 | 0.87 | 0.92 | 0 | 0.87 | -1.047 | 0.73003 | #DIV/0! | -1 | 0.23019 | 0.5 | 0.073099 | 1.5932 | 1.545 | 23.0392 | 2 | 4.6449 | 1 | 9.2897 | 23.0868 | 23.0392 | 23.0245 | 400.0102 | 400.3917 | 11.6022 | 12.6517 | 41.4573 | 45.2074 | 299.771 | 0.23019 | 0.60942 | 101.2855 | 1.7165 | 0.018137 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.4989 | 0.0015932 | 296.1892 | 296.2368 | 0.03683 | -0.27883 | 2.8264 | 27.9055 | 15.2538 | 23.063 | 2.8305 | 0.10233 | 1.2814 | 1.5491 | 0.064056 | 41.4469 | 1.022 | 44.8208 | 400.5675 | -0.0013535 | 0 | 0.20026 | 1741.9031 | 0.73003 | #DIV/0!
Remark= | "18:06:31 LCF Lamp: ParIn -> 0 uml, with blue = 10 percent, actinic on"
Remark= | "18:06:31 CO2 Mixer: CO2R -> 400 uml"
Remark= | "18:06:31 Coolers: Tblock -> 23.00 C"
Remark= | "18:06:31 Flow: Fixed -> 300 umol/s"
Remark= | "18:36:37 Flow: Fixed -> 300 umol/s"
13 | 18:36:18 | 4931 | 0 | -2.8048 | 0.032488 | 528.0796 | 44 | 0 | 0 | 0 | 0 | 1741.9031 | 470.2679 | #DIV/0! | 1 | 0.73003 | -1 | 0.87 | 0.92 | 0 | 0.87 | 121.0042 | 0.73003 | #DIV/0! | -1 | 0.23019 | 0.5 | 0.073099 | 0.53359 | 1.6361 | 23.0406 | 2 | 4.6449 | 1 | 9.2897 | 23.1164 | 23.0406 | 23.0217 | 400.059 | 401.787 | 11.4044 | 11.7562 | 40.6733 | 41.9279 | 299.814 | -0.017144 | 0.61376 | 101.2745 | 1.7591 | 0.021746 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.4991 | 0.00053359 | 296.1906 | 296.2664 | -0.0027431 | -0.090763 | 2.8267 | 27.9109 | 16.1547 | 23.0785 | 2.8331 | 0.032375 | 1.1906 | 1.6425 | 0.020245 | 53.481 | 1.3143 | 41.1551 | 402.1946 | -0.0028701 | 0 | -0.014915 | 1741.9031 | 0.73003 | #DIV/0!