## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 6 cm² | 0.578 | 0.52297 | 0.0037403 | -0.06198 | -0.0056086 | 1 | 6 | 96.9
Const | CustomBLC
2
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.49 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.39 | 0.18 | 0.23 | 0.26 | 0.21 | 0.19 | 0.25
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 2.7503 76.361 375.441 627.426 871.536 1066.28 1275.23 1444.03 | 0.321223 100.768 401.041 601.022 800.139 1000.46 1200.19 1400.97 | 0
Sys | Sys | Sys | Sys | Sys | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Leak | Leak | Leak | Leak | Leak | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrStats | FlrStats | FlrStats | FlrStats | FlrStats | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | TIME | E | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Leak | LeakPct | CorrFact | CorrFactPct | Fan | DarkAdaptedID | Qmax_d | Fo | Fm | Fv | Fv/Fm | Adark | LightAdaptedID | Qmax | Fs | Fmp | PhiPS2 | PS2/1 | Qabs_fs | Afs | ETR | Fv'/Fm' | PhiCO2 | NPQ | DarkPulseID | Fo' | Fv' | qP | qN | qP_Fo | qN_Fo | qL | 1-qL | Qin | Qabs | alpha | convert | S | K | Geometry | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | F_avg | dF/dt | dF_dc/dt | F_dc_avg | period | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | F:MN | F:SLP | F:SD | F:OK | ΔH2O:MN | ΔH2O:SLP | ΔH2O:SD | ΔH2O:OK | Stable | Total | State | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s | mol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol s⁻¹ | % |  | % | µmol s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | µmol µmol⁻¹ | [10 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  |  | min⁻¹ | min⁻¹ |  | s | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  |  | min⁻¹ |  |  | mmol mol⁻¹ | mmol mol⁻¹ min⁻¹ | mmol mol⁻¹ |  |  |  |  | % | % | µmol/mol | mmol/mol | mmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | %
2 | 1599593575 | 448 | 20200908 14:32:55 | 14:32:55 | 1599593575 | 0.0025112 | 17.6831 | 377.648 | 316.4722 | 32.3713 | 38.6289 | 0.52595 | 2.9668 | 0.47911 | 0.3033 | 209.7634 | 23.4132 | 23.0593 | 2.8299 | 82.6472 | 2.3072 | 2.7916 | 0.52268 | -110.7453 | -35.9554 | -2.5109 | 60.5517 | 2 | 0 | 1 | 0 | 54768.6722 | MPF-1650-20200908-14_20_40 | 10473.6 | 657.0485 | 2915.37 | 2258.3215 | 0.77463 | -1.5948 | MPF-1653-20200908-14_32_32 | 10478.2 | 770.358 | 1048.71 | 0.26542 | 0.5 | 1093.3557 | 17.6831 | 145.101 | 0.4947 | 0.017632 | 1.78 | DARK-1654-20200908-14_32_33 | 529.91 | 518.8 | 0.53653 | 0.78252 | 0.7107 | 0.82657 | 0.36907 | 0.63093 | 1300.18 | 1093.3557 | 0.84093 | 0.19185 | 6 | 0.5 | 0: Broadleaf | 1599593575 | 377.648 | 400.005 | 22.5557 | 19.6103 | 376.7 | 22.6097 | 500.018 | 102.188 | 0.10005 | 22.8345 | 23.0593 | 999.9 | 0 | 0 | 9995 | 0 | 0.0015289 | 1300.18 | 0.969 | 0.030998 | 0 | 768.748 | 4.9998 | 9749.75 | 12117.3 | 38.625 | 41 | 39.687 | 40.5 | 39.812 | 1255.03 | 40.15 | 0 | 447.3 | 0 | 770.358 | -13.6005 | -151.9423 | 9765.928 | 15 | 1599593515.5 | 14:31:55 | 1599593507 | 1599593515.5 | 33 | -0.014 | 0.001 | 0.948 | -0.054 | 400 | 20 | 0.07 | 0.05 | -22.4141 | 0.11726 | 0.041156 | 1 | 771.1502 | -13.3124 | 1.3562 | 0 | 2.9733 | -0.10504 | 0.011927 | 0 | 1 | 3 | 1/3 | 100 | 100 | 0.948 | -0.054 | 0.9479 | 0 | 0 | 0 | -0.054005 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.1 | 1 | 2 | 498.023 | 485.8 | 20.236 | 28.5216 | 30.0004 | 28.5031 | 28.4716 | 21.2279 | -30 | -30 | 20.2328 | 400 | 15.2027 | 102.103 | 101.924
3 | 1599593695.6 | 568.6 | 20200908 14:34:55 | 14:34:55 | 1599593695.6 | 0.0022925 | 17.0342 | 378.531 | 312.437 | 31.9595 | 38.7203 | 0.4634 | 2.9687 | 0.42664 | 0.26971 | 177.7729 | 23.3975 | 23.0182 | 2.8228 | 81.3518 | 2.2869 | 2.8111 | 0.53591 | -101.0971 | -10.9633 | -0.76541 | 64.9471 | 1 | 0 | 1 | 0 | 54804.6486 | MPF-1650-20200908-14_20_40 | 10473.6 | 657.0485 | 2915.37 | 2258.3215 | 0.77463 | -1.5948 | MPF-1655-20200908-14_34_32 | 10478.2 | 747.2947 | 1080.16 | 0.30816 | 0.5 | 925.182 | 17.0342 | 142.5534 | 0.50487 | 0.020135 | 1.699 | DARK-1656-20200908-14_34_34 | 534.82 | 545.34 | 0.61038 | 0.77092 | 0.78671 | 0.81264 | 0.43683 | 0.56317 | 1100 | 925.182 | 0.84107 | 0.19215 | 6 | 0.5 | 0: Broadleaf | 1599593695.6 | 378.531 | 400.013 | 22.357 | 19.6676 | 377.535 | 22.4158 | 500.007 | 102.191 | 0.10003 | 22.9497 | 23.0182 | 999.9 | 0 | 0 | 10005.6 | 0 | 0.0015289 | 1100 | 0.96402 | 0.035981 | 0 | 746.711 | 4.9998 | 8013.15 | 10231.9 | 38.875 | 41.437 | 40.125 | 40.875 | 40.125 | 1055.6 | 39.4 | 0 | 119.9 | 0 | 747.2947 | -5.0222 | -45.6954 | 8018.6472 | 15 | 1599593627.5 | 14:33:47 | 1599593624.5 | 1599593627.5 | 34 | 0.048 | -0.005 | 0.996 | -0.059 | 400 | 20 | 0.13 | 0.02 | -21.5151 | 0.38071 | 0.043131 | 1 | 747.5712 | -5.0616 | 0.52395 | 0 | 2.7143 | -0.12827 | 0.012713 | 0 | 1 | 3 | 1/3 | 100 | 100 | 0.996 | -0.0588 | 0.996 | 0 | 0 | 0 | -0.05874 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.2 | 1.1 | 2 | 498.349 | 485.767 | 20.2372 | 28.5587 | 30.0004 | 28.5577 | 28.5294 | 21.2268 | -30 | -30 | 20.2291 | 400 | 15.2027 | 102.091 | 101.923
4 | 1599593816.1 | 689.1 | 20200908 14:36:56 | 14:36:56 | 1599593816.1 | 0.0021886 | 16.5838 | 379.138 | 310.7698 | 31.7892 | 38.7827 | 0.43384 | 2.9677 | 0.40144 | 0.25361 | 145.8667 | 23.366 | 23.0198 | 2.8231 | 80.456 | 2.2793 | 2.833 | 0.54378 | -96.5176 | 9.2637 | 0.64739 | 59.2602 | 1 | 0 | 1 | 0 | 54752.086 | MPF-1650-20200908-14_20_40 | 10473.6 | 657.0485 | 2915.37 | 2258.3215 | 0.77463 | -1.5948 | MPF-1657-20200908-14_36_33 | 10480.1 | 745.2637 | 1178.86 | 0.36781 | 0.5 | 757.257 | 16.5838 | 139.2633 | 0.53649 | 0.024006 | 1.473 | DARK-1658-20200908-14_36_34 | 546.41 | 632.45 | 0.68558 | 0.73303 | 0.83094 | 0.76894 | 0.50265 | 0.49735 | 900.09 | 757.257 | 0.84131 | 0.19263 | 6 | 0.5 | 0: Broadleaf | 1599593816.1 | 379.138 | 400.035 | 22.2826 | 19.7147 | 378.197 | 22.3389 | 499.982 | 102.192 | 0.099724 | 23.0777 | 23.0198 | 999.9 | 0 | 0 | 10000 | 0 | 0.0015289 | 900.09 | 0.956 | 0.044001 | 0 | 745.967 | 4.9998 | 6540.03 | 8347.39 | 38.937 | 41.687 | 40.312 | 41.187 | 40.25 | 855.71 | 39.38 | 0 | 119.9 | 0 | 745.2637 | 4.2616 | 22.3985 | 6536.4912 | 15 | 1599593751.1 | 14:35:51 | 1599593748.1 | 1599593751.1 | 35 | -0.055 | 0.002 | 0.942 | -0.056 | 400 | 20 | 0.08 | 0.03 | -20.7926 | -0.055969 | 0.046695 | 1 | 745.1043 | 3.387 | 0.37554 | 0 | 2.6009 | -0.38284 | 0.042704 | 0 | 1 | 3 | 1/3 | 100 | 100 | 0.941 | -0.0563 | 0.9415 | 0 | 0 | 0 | -0.056285 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.1 | 1.1 | 2 | 498.786 | 485.715 | 20.4491 | 28.5924 | 29.9999 | 28.6054 | 28.5793 | 21.2257 | -30 | -30 | 20.4516 | 400 | 15.2027 | 102.087 | 101.917
5 | 1599593936.6 | 809.6 | 20200908 14:38:56 | 14:38:56 | 1599593936.6 | 0.002119 | 15.7724 | 380.116 | 312.4954 | 31.9658 | 38.8828 | 0.4165 | 2.9682 | 0.38654 | 0.2441 | 113.9306 | 23.3264 | 23.0241 | 2.8238 | 79.7514 | 2.2771 | 2.8552 | 0.54677 | -93.4463 | 29.2355 | 2.0442 | 51.7639 | 1 | 0 | 1 | 0 | 54741.345 | MPF-1650-20200908-14_20_40 | 10473.6 | 657.0485 | 2915.37 | 2258.3215 | 0.77463 | -1.5948 | MPF-1659-20200908-14_38_33 | 10483.6 | 768.085 | 1396.97 | 0.45018 | 0.5 | 589.1038 | 15.7724 | 132.6007 | 0.59175 | 0.029481 | 1.0869 | DARK-1660-20200908-14_38_35 | 570.31 | 826.66 | 0.76075 | 0.64749 | 0.84993 | 0.67236 | 0.56487 | 0.43513 | 699.899 | 589.1038 | 0.8417 | 0.1934 | 6 | 0.5 | 0: Broadleaf | 1599593936.6 | 380.116 | 400.009 | 22.2605 | 19.7744 | 379.106 | 22.3171 | 500.011 | 102.192 | 0.099937 | 23.2068 | 23.0241 | 999.9 | 0 | 0 | 10002.5 | 0 | 0.0015289 | 699.899 | 0.94299 | 0.05701 | 0 | 768.964 | 4.9998 | 5232.56 | 6459.64 | 38.812 | 41.875 | 40.375 | 41.375 | 40.312 | 655.28 | 39.62 | 0 | 119.9 | 0 | 768.085 | 9.4099 | 70.4792 | 5225.814 | 15 | 1599593875.1 | 14:37:55 | 1599593875.1 | 1599593871.6 | 36 | 0.068 | 0 | 1.009 | -0.057 | 400 | 20 | 0.13 | 0.03 | -19.7797 | 0.15781 | 0.044908 | 1 | 767.3818 | 11.3366 | 1.1632 | 0 | 2.5549 | -0.73288 | 0.077125 | 0 | 1 | 3 | 1/3 | 100 | 100 | 1.01 | -0.0566 | 1.0093 | 0 | 0 | 0 | -0.056605 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1 | 1.1 | 2 | 499.052 | 485.809 | 20.7282 | 28.6291 | 29.9996 | 28.6494 | 28.6247 | 21.2271 | -30 | -30 | 20.7344 | 400 | 15.2027 | 102.079 | 101.909
6 | 1599594057.1 | 930.1 | 20200908 14:40:57 | 14:40:57 | 1599594057.1 | 0.0020597 | 14.6831 | 381.414 | 316.528 | 32.3784 | 39.0157 | 0.4043 | 2.965 | 0.37598 | 0.23737 | 89.9891 | 23.2844 | 23.0139 | 2.8221 | 79.3063 | 2.2757 | 2.8695 | 0.54642 | -90.8339 | 44.0218 | 3.0825 | 46.2595 | 1 | 0 | 1 | 0 | 54630.9966 | MPF-1650-20200908-14_20_40 | 10473.6 | 657.0485 | 2915.37 | 2258.3215 | 0.77463 | -1.5948 | MPF-1661-20200908-14_40_34 | 10487.4 | 799.5471 | 1679.89 | 0.52405 | 0.5 | 463.0503 | 14.6831 | 121.3303 | 0.64332 | 0.035154 | 0.73545 | DARK-1662-20200908-14_40_35 | 599.19 | 1080.7 | 0.8146 | 0.53341 | 0.86068 | 0.54708 | 0.61047 | 0.38953 | 549.83 | 463.0503 | 0.84217 | 0.19434 | 6 | 0.5 | 0: Broadleaf | 1599594057.1 | 381.414 | 399.975 | 22.2468 | 19.8303 | 380.441 | 22.303 | 500.038 | 102.192 | 0.10027 | 23.2893 | 23.0139 | 999.9 | 0 | 0 | 9984.38 | 0 | 0.0016245 | 549.83 | 0.927 | 0.073004 | 0 | 801.017 | 4.9998 | 4266.28 | 5044.55 | 38.625 | 42 | 40.375 | 41.437 | 40.187 | 505.06 | 39.77 | 0 | 119.9 | 0 | 799.5471 | 12.6889 | 65.1492 | 4258.8596 | 15 | 1599593991.1 | 14:39:51 | 1599593989.6 | 1599593991.1 | 37 | -0.036 | 0 | 0.973 | -0.056 | 400 | 20 | 0.11 | 0.03 | -18.57 | 0.11064 | 0.021603 | 1 | 798.9082 | 12.7932 | 1.2361 | 0 | 2.53 | -0.50424 | 0.054113 | 0 | 1 | 3 | 1/3 | 100 | 100 | 0.973 | -0.0562 | 0.9729 | 0 | 0 | 0 | -0.05623 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.1 | 1.1 | 2 | 499.153 | 485.647 | 20.9323 | 28.6535 | 29.9999 | 28.6812 | 28.6547 | 21.2289 | -30 | -30 | 20.9541 | 400 | 15.2027 | 102.075 | 101.908
7 | 1599594177.6 | 1050.6 | 20200908 14:42:57 | 14:42:57 | 1599594177.6 | 0.001994 | 12.5278 | 384.066 | 326.1238 | 33.3592 | 39.2861 | 0.38813 | 2.9668 | 0.36197 | 0.22843 | 66.0602 | 23.2471 | 23.0133 | 2.822 | 78.7883 | 2.2725 | 2.8843 | 0.54947 | -87.9358 | 57.8365 | 4.0491 | 40.0099 | 1 | 0 | 1 | 0 | 54669.8789 | MPF-1650-20200908-14_20_40 | 10473.6 | 657.0485 | 2915.37 | 2258.3215 | 0.77463 | -1.5948 | MPF-1663-20200908-14_42_34 | 10491.4 | 815.345 | 2011.55 | 0.59467 | 0.5 | 337.1624 | 12.5278 | 100.2499 | 0.68396 | 0.041887 | 0.44932 | DARK-1664-20200908-14_42_36 | 635.73 | 1375.82 | 0.86945 | 0.39647 | 0.88313 | 0.40022 | 0.67792 | 0.32208 | 399.972 | 337.1624 | 0.84296 | 0.19593 | 6 | 0.5 | 0: Broadleaf | 1599594177.6 | 384.066 | 400.018 | 22.2165 | 19.8769 | 383.088 | 22.2683 | 500.011 | 102.19 | 0.10002 | 23.3749 | 23.0133 | 999.9 | 0 | 0 | 9995 | 0 | 0.0015289 | 399.972 | 0.89993 | 0.10007 | 0 | 816.751 | 4.9998 | 3145.31 | 3632.4 | 38.375 | 41.937 | 40.25 | 41.437 | 40.062 | 355.45 | 39.53 | 0 | 119.9 | 0 | 815.345 | 10.6699 | 42.2062 | 3140.8788 | 15 | 1599594117.1 | 14:41:57 | 1599594106.6 | 1599594117.1 | 38 | 0.005 | 0.004 | 0.978 | -0.052 | 400 | 20 | 0.12 | 0.05 | -15.9418 | 0.0078941 | 0.024004 | 1 | 814.7639 | 9.895 | 1.0174 | 0 | 2.4449 | -0.46502 | 0.050044 | 0 | 1 | 3 | 1/3 | 100 | 100 | 0.978 | -0.0518 | 0.9783 | 0 | 0 | 0 | -0.051729 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.2 | 1 | 2 | 499.402 | 485.354 | 21.1414 | 28.6609 | 29.9999 | 28.6959 | 28.6722 | 21.2295 | -30 | -30 | 21.1739 | 400 | 15.2027 | 102.067 | 101.906
8 | 1599594298.1 | 1171.1 | 20200908 14:44:58 | 14:44:58 | 1599594298.1 | 0.0019416 | 8.7843 | 388.588 | 345.4388 | 35.3346 | 39.7483 | 0.37311 | 2.9688 | 0.34888 | 0.22009 | 41.2627 | 23.2047 | 23.0287 | 2.8246 | 78.2643 | 2.2695 | 2.8998 | 0.55509 | -85.624 | 69.6225 | 4.8735 | 30.1348 | 1 | 0 | 1 | 0 | 54711.7053 | MPF-1650-20200908-14_20_40 | 10473.6 | 657.0485 | 2915.37 | 2258.3215 | 0.77463 | -1.5948 | MPF-1665-20200908-14_44_35 | 10480.1 | 786.589 | 2232.44 | 0.64766 | 0.5 | 210.6532 | 8.7843 | 68.2153 | 0.71011 | 0.049271 | 0.30591 | DARK-1666-20200908-14_44_36 | 647.17 | 1585.27 | 0.91205 | 0.30109 | 0.91777 | 0.30241 | 0.7504 | 0.2496 | 249.903 | 210.6532 | 0.84294 | 0.19588 | 6 | 0.5 | 0: Broadleaf | 1599594298.1 | 388.588 | 400.035 | 22.1875 | 19.9092 | 387.595 | 22.2399 | 499.98 | 102.189 | 0.099971 | 23.4637 | 23.0287 | 999.9 | 0 | 0 | 10006.2 | 0 | 0.0016245 | 249.903 | 0.90001 | 0.099995 | 0 | 786.409 | 4.9998 | 1885.7 | 2252.32 | 38 | 41.812 | 40.062 | 41.312 | 39.812 | 220.41 | 24.49 | 0 | 119.9 | 0 | 786.589 | 1.7695 | 1.1854 | 1886.1316 | 15 | 1599594232.6 | 14:43:52 | 1599594227.1 | 1599594232.6 | 39 | 0.015 | -0.001 | 0.993 | -0.052 | 400 | 20 | 0.2 | 0.07 | -11.4593 | -0.16552 | 0.028163 | 1 | 786.5239 | 1.5639 | 0.25949 | 0 | 2.3784 | -0.3532 | 0.039331 | 0 | 1 | 3 | 1/3 | 100 | 100 | 0.993 | -0.0524 | 0.9932 | 0 | 0 | 0 | -0.052376 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.2 | 1.1 | 2 | 499.243 | 485.349 | 21.3821 | 28.656 | 30.0002 | 28.7008 | 28.6792 | 21.2276 | -30 | -30 | 21.3872 | 400 | 15.2027 | 102.071 | 101.907
9 | 1599594390.6 | 1263.6 | 20200908 14:46:30 | 14:46:30 | 1599594390.6 | 0.0019529 | 5.3361 | 392.648 | 365.9741 | 37.4344 | 40.1628 | 0.38703 | 2.9665 | 0.361 | 0.22782 | 24.7506 | 23.0831 | 22.9642 | 2.8136 | 78.5234 | 2.274 | 2.896 | 0.53958 | -86.1248 | 76.3672 | 5.3473 | 20.3403 | 1 | 0 | 1 | 0 | 54649.398 | MPF-1650-20200908-14_20_40 | 10473.6 | 657.0485 | 2915.37 | 2258.3215 | 0.77463 | -1.5948 | MPF-1667-20200908-14_46_07 | 10472.3 | 750.0278 | 2326.97 | 0.67768 | 0.5 | 126.4012 | 5.3361 | 42.8298 | 0.72171 | 0.054832 | 0.25286 | DARK-1668-20200908-14_46_09 | 647.58 | 1679.39 | 0.939 | 0.25946 | 0.94432 | 0.26055 | 0.81074 | 0.18926 | 149.959 | 126.4012 | 0.8429 | 0.19581 | 6 | 0.5 | 0: Broadleaf | 1599594390.6 | 392.648 | 399.972 | 22.2319 | 19.9403 | 391.651 | 22.2856 | 499.963 | 102.187 | 0.099934 | 23.4417 | 22.9642 | 999.9 | 0 | 0 | 9993.75 | 0 | 0.0015863 | 149.959 | 0.89986 | 0.10014 | 0 | 750.121 | 4.9998 | 1069.98 | 1333.11 | 37.812 | 41.75 | 39.875 | 41.25 | 39.625 | 130.44 | 14.52 | 0 | 92.3 | 0 | 750.0278 | -0.24931 | -1.2177 | 1070.6048 | 15 | 1599594349.6 | 14:45:49 | 1599594349.6 | 1599594349.6 | 40 | 0.004 | -0.001 | 0.997 | -0.054 | 400 | 20 | 0.23 | 0.05 | -7.2466 | -0.14559 | 0.050971 | 1 | 749.9452 | 0.97875 | 0.23972 | 1 | 2.294 | -0.00022683 | 0.0012161 | 1 | 3 | 3 | 3/3 | 100 | 100 | 0.997 | -0.0537 | 0.997 | 0 | 0 | 0 | -0.053635 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 0.7 | 0.7 | 2 | 499.325 | 485.336 | 21.6147 | 28.6584 | 30.0001 | 28.7032 | 28.6816 | 21.232 | -30 | -30 | 21.6227 | 400 | 15.2027 | 102.076 | 101.917
10 | 1599594480.6 | 1353.6 | 20200908 14:48:00 | 14:48:00 | 1599594480.6 | 0.0018768 | 3.3691 | 395.053 | 375.9725 | 38.4579 | 40.4096 | 0.36305 | 2.9703 | 0.34008 | 0.21449 | 16.4704 | 23.1012 | 22.9897 | 2.818 | 78.0792 | 2.2675 | 2.9041 | 0.55046 | -82.7649 | 79.8115 | 5.5834 | 19.1004 | 1 | 0 | 1 | 0 | 54753.3356 | MPF-1650-20200908-14_20_40 | 10473.6 | 657.0485 | 2915.37 | 2258.3215 | 0.77463 | -1.5948 | MPF-1669-20200908-14_47_37 | 10468.6 | 722.6742 | 2407.27 | 0.6998 | 0.5 | 84.1548 | 3.3691 | 29.4456 | 0.73037 | 0.058985 | 0.21107 | DARK-1670-20200908-14_47_39 | 649.08 | 1758.19 | 0.95814 | 0.2242 | 0.9625 | 0.22499 | 0.86057 | 0.13943 | 99.8446 | 84.1548 | 0.84286 | 0.19572 | 6 | 0.5 | 0: Broadleaf | 1599594480.6 | 395.053 | 399.985 | 22.1676 | 19.9657 | 394.052 | 22.2195 | 500.064 | 102.189 | 0.10014 | 23.4881 | 22.9897 | 999.9 | 0 | 0 | 10015 | 0 | 0.0016245 | 99.8446 | 0.8997 | 0.1003 | 0 | 722.562 | 4.9998 | 678.51 | 872.198 | 37.562 | 41.625 | 39.687 | 41.125 | 39.437 | 85.33 | 9.51 | 0 | 89.3 | 0 | 722.6742 | -0.88438 | -1.9345 | 679.8535 | 15 | 1599594443.1 | 14:47:23 | 1599594439.1 | 1599594443.1 | 41 | 0.004 | 0.002 | 1.001 | -0.052 | 400 | 20 | 0.43 | 0.04 | -4.9193 | 0.071007 | 0.039778 | 1 | 722.6189 | 0.51383 | 0.20187 | 1 | 2.2115 | -0.0099847 | 0.0030719 | 1 | 3 | 3 | 3/3 | 100 | 100 | 1.001 | -0.0519 | 1.0007 | 0 | 0 | 0 | -0.051885 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 0.7 | 0.6 | 2 | 499.362 | 485.065 | 21.6566 | 28.6584 | 30.0001 | 28.7057 | 28.6841 | 21.2306 | -30 | -30 | 21.6576 | 400 | 15.2027 | 102.077 | 101.913
11 | 1599594564.6 | 1437.6 | 20200908 14:49:24 | 14:49:24 | 1599594564.6 | 0.0018118 | 1.2911 | 397.639 | 387.8563 | 39.6746 | 40.6753 | 0.34561 | 2.9677 | 0.32471 | 0.20472 | 8.2404 | 23.0753 | 22.9852 | 2.8172 | 77.8151 | 2.2606 | 2.9051 | 0.55658 | -79.8986 | 81.3737 | 5.6977 | 15.4133 | 1 | 0 | 1 | 0 | 54675.2468 | MPF-1650-20200908-14_20_40 | 10473.6 | 657.0485 | 2915.37 | 2258.3215 | 0.77463 | -1.5948 | MPF-1671-20200908-14_49_01 | 10464.4 | 685.5508 | 2433.4 | 0.71827 | 0.5 | 42.1783 | 1.2911 | 15.1478 | 0.72767 | 0.068422 | 0.19806 | DARK-1672-20200908-14_49_03 | 662.69 | 1770.71 | 0.98709 | 0.21395 | 0.98395 | 0.21342 | 0.95417 | 0.045827 | 50.0522 | 42.1783 | 0.84269 | 0.19537 | 6 | 0.5 | 0: Broadleaf | 1599594564.6 | 397.639 | 400.053 | 22.0996 | 19.9734 | 396.65 | 22.151 | 499.968 | 102.192 | 0.099982 | 23.4938 | 22.9852 | 999.9 | 0 | 0 | 10000 | 0 | 0.0016245 | 50.0522 | 0.9005 | 0.099498 | 0 | 686.058 | 4.9998 | 310.236 | 414.388 | 37.312 | 41.5 | 39.5 | 41 | 39.25 | 40.57 | 4.48 | 0 | 83.7 | 0 | 685.5508 | 1.4776 | -0.41703 | 309.958 | 15 | 1599594537.1 | 14:48:57 | 1599594531.1 | 1599594537.1 | 42 | -0.011 | 0 | 0.989 | -0.051 | 400 | 20 | 0.4 | 0.07 | -2.3258 | -0.26144 | 0.057206 | 1 | 685.5608 | -0.76222 | 0.29775 | 1 | 2.1327 | -0.067551 | 0.0076097 | 1 | 3 | 3 | 3/3 | 100 | 100 | 0.989 | -0.0514 | 0.98945 | 0 | 0 | 0 | -0.051415 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 0.6 | 0.5 | 2 | 498.765 | 484.996 | 21.6546 | 28.6609 | 30.0002 | 28.7081 | 28.6841 | 21.2294 | -30 | -30 | 21.6597 | 400 | 15.2027 | 102.074 | 101.915
12 | 1599594656.6 | 1529.6 | 20200908 14:50:56 | 14:50:56 | 1599594656.6 | 0.0017352 | -1.0581 | 400.413 | 402.2808 | 41.1497 | 40.9586 | 0.32597 | 2.9698 | 0.30732 | 0.19366 | 0.0019948 | 23.0454 | 22.9769 | 2.8158 | 77.5449 | 2.2525 | 2.9048 | 0.56326 | -76.5239 | 82.4715 | 5.7703 | 11.7199 | 1 | 0 | 1 | 0 | 54737.4369 | MPF-1673-20200908-14_50_33 | 10464.5 | 628.1024 | 2530.45 | 1902.3476 | 0.75178 | -1.0581 | - | - | 0 | 0 | #DIV/0! | 0.5 | 0.020999 | -1.0581 | #DIV/0! | #DIV/0! | -2.2206e-13 | #DIV/0! | - | 0 | 0 | #DIV/0! | 1 | 0 | 1.3302 | #DIV/0! | #DIV/0! | 0.049998 | 0.020999 | 0.41999 | 0.094997 | 6 | 0.5 | 0: Broadleaf | 1599594656.6 | 400.413 | 399.977 | 22.0207 | 19.9843 | 399.414 | 22.0721 | 500.007 | 102.191 | 0.099938 | 23.492 | 22.9769 | 999.9 | 0 | 0 | 10011.9 | 0 | 0.0015672 | 0.049998 | 0 | 0 | 0 | 626.93 | 0.049998 | -0.85 | -0.38 | 37 | 41.312 | 39.312 | 40.75 | 38.875 | 0 | 0 | 0 | 91 | 0 | 628.1024 | -7.6715 | -7.9485 | -3.7428 | 15 | 1599594616.6 | 14:50:16 | 1599594613.1 | 1599594616.6 | 43 | 0.01 | 0 | 0.999 | -0.051 | 400 | 20 | 0.59 | 0.04 | 0.29807 | 0.2409 | 0.045925 | 1 | 627.8934 | 0.3229 | 1.948 | 1 | 2.0448 | -0.034072 | 0.0037147 | 1 | 3 | 3 | 3/3 | 100 | 100 | 0.999 | -0.0514 | 0.99905 | 0 | 0 | 0 | -0.051357 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 0.7 | 0.7 | 2 | 499.176 | 485.151 | 21.8128 | 28.6609 | 30.0001 | 28.7057 | 28.6841 | 21.2341 | -30 | -30 | 21.8233 | 400 | 15.2027 | 102.073 | 101.916
13 | 1599597089.6 | 3962.6 | 20200908 15:31:29 | 15:31:29 | 1599597089.6 | 0.0010677 | -1.0754 | 400.775 | 407.1668 | 41.6422 | 40.9885 | 0.16549 | 2.9658 | 0.16052 | 0.10076 | 0.0019948 | 23.0832 | 23.0015 | 2.82 | 74.8327 | 2.1563 | 2.8815 | 0.66369 | -47.0849 | 57.0663 | 3.9959 | 13.9793 | 2 | 0 | 1 | 0 | 54644.153 | MPF-1674-20200908-15_31_06 | 10476.4 | 652.8216 | 2984.44 | 2331.6184 | 0.78126 | -1.0754 | - | - | 0 | 0 | #DIV/0! | 0.5 | 0.020999 | -1.0754 | #DIV/0! | #DIV/0! | -3.1723e-14 | #DIV/0! | - | 0 | 0 | #DIV/0! | 1 | 0 | 1.28 | #DIV/0! | #DIV/0! | 0.049998 | 0.020999 | 0.41999 | 0.094997 | 6 | 0.5 | 0: Broadleaf | 1599597089.6 | 400.775 | 399.998 | 21.0836 | 19.8293 | 399.678 | 21.1349 | 499.964 | 102.173 | 0.10004 | 23.3584 | 23.0015 | 999.9 | 0 | 0 | 9991.25 | 0 | 0.0016245 | 0.049998 | 0 | 0 | 0 | 650.98 | 0.049998 | -12.67 | -2.87 | 34.687 | 39.312 | 37 | 38.937 | 36.75 | 0 | 0 | 0 | 2432.4 | 0 | 652.8216 | -0.24231 | -2.9854 | -13.8772 | 15 | 1599597109.6 | 15:31:49 | 1599597109.6 | 1599594616.6 | 44 | 0.098 | 0 | 1.097 | -0.051 | 400 | 20 | 0.97 | 0.04 | 0.73146 | -0.18007 | 0.047862 | 1 | 653.1349 | -3.925 | 1.9747 | 0 | 1.2559 | -0.02516 | 0.0028123 | 1 | 2 | 3 | 2/3 | 100 | 100 | 1.097 | -0.0513 | 0.99905 | 0 | 0 | 0 | -0.051357 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 41.3 | 41.2 | 2 | 498.133 | 483.887 | 21.7371 | 28.6022 | 30.0001 | 28.6518 | 28.6328 | 21.2368 | -30 | -30 | 21.7353 | 400 | 15.2027 | 102.064 | 101.927

## Remarks
File opened | 2020-09-08 14:24:24
Console s/n | 68C-811876
Console ver | Bluestem v.1.4.05
Scripts ver | 2020.04 1.4.05, May 2020
Head s/n | 68H-711866
Head ver | 1.4.2
Head cal | {"h2oaspan2": "0", "h2obspan1": "1.07787", "co2bspanconc1": "993", "chamberpressurezero": "2.6539", "flowmeterzero": "0.986842", "co2bspan2": "-0.0290863", "h2oaspan2b": "0.102472", "h2oaspanconc2": "0", "co2aspan2a": "0.195868", "tazero": "0.0398865", "h2oaspanconc1": "19.41", "co2aspan1": "0.960839", "h2obspan2a": "0.0949969", "flowazero": "0.27548", "oxygen": "21", "ssa_ref": "39980.7", "h2oazero": "1.03102", "h2obspan2b": "0.102394", "co2azero": "0.914258", "ssb_ref": "35601.5", "tbzero": "0.120966", "co2aspan2b": "0.187145", "co2bspan2b": "0.185713", "h2oaspan2a": "0.0954223", "h2oaspan1": "1.07388", "h2obspan2": "0", "co2bspanconc2": "298.9", "co2bzero": "0.94549", "co2bspan2a": "0.194368", "h2obzero": "1.03183", "co2aspanconc1": "993", "flowbzero": "0.30576", "h2obspanconc1": "19.41", "co2aspan2": "-0.0274214", "co2bspan1": "0.961123", "h2obspanconc2": "0", "co2aspanconc2": "298.9"}
Chamber type | 6800-01A
Chamber s/n | MPF-831667
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-831667
Flr. Version | 1.4.2
14:24:24 | Stability Definition: F (FlrLS): Slp<1 Per=20 ΔCO2 (Meas2): Slp<0.5 Per=20 ΔH2O (Meas2): Slp<0.1 Per=20