## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 6 cm² | 0.578 | 0.52297 | 0.0037403 | -0.06198 | -0.0056086 | 1 | 6 | 96.9
Const | CustomBLC
2
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.49 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.39 | 0.18 | 0.23 | 0.26 | 0.21 | 0.19 | 0.25
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 2.7503 76.361 375.441 627.426 871.536 1066.28 1275.23 1444.03 | 0.321223 100.768 401.041 601.022 800.139 1000.46 1200.19 1400.97 | 0
Sys | Sys | Sys | Sys | Sys | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Leak | Leak | Leak | Leak | Leak | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrStats | FlrStats | FlrStats | FlrStats | FlrStats | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | TIME | E | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Leak | LeakPct | CorrFact | CorrFactPct | Fan | DarkAdaptedID | Qmax_d | Fo | Fm | Fv | Fv/Fm | Adark | LightAdaptedID | Qmax | Fs | Fmp | PhiPS2 | PS2/1 | Qabs_fs | Afs | ETR | Fv'/Fm' | PhiCO2 | NPQ | DarkPulseID | Fo' | Fv' | qP | qN | qP_Fo | qN_Fo | qL | 1-qL | Qin | Qabs | alpha | convert | S | K | Geometry | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | F_avg | dF/dt | dF_dc/dt | F_dc_avg | period | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | F:MN | F:SLP | F:SD | F:OK | ΔH2O:MN | ΔH2O:SLP | ΔH2O:SD | ΔH2O:OK | Stable | Total | State | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s | mol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol s⁻¹ | % |  | % | µmol s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | µmol µmol⁻¹ | [10 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  |  | min⁻¹ | min⁻¹ |  | s | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  |  | min⁻¹ |  |  | mmol mol⁻¹ | mmol mol⁻¹ min⁻¹ | mmol mol⁻¹ |  |  |  |  | % | % | µmol/mol | mmol/mol | mmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | %
2 | 1599833110.6 | 1354.6 | 20200911 09:05:10 | 09:05:10 | 1599833110.6 | 0.0042773 | 22.2966 | 371.278 | 272.1002 | 27.6601 | 37.7419 | 0.40676 | 2.9577 | 0.37804 | 0.23869 | 209.724 | 24.0417 | 22.9986 | 2.8195 | 56.8692 | 1.6949 | 2.9803 | 1.1246 | -188.6311 | 146.633 | 10.3249 | 178.0509 | 79 | 16 | 1 | 0 | 54285.3782 | MPF-1814-20200911-08_35_59 | 10225.5 | 707.1624 | 3345.31 | 2638.1476 | 0.78861 | -0.90552 | MPF-1817-20200911-09_04_46 | 10220.2 | 879.5338 | 1324.56 | 0.33598 | 0.5 | 1093.146 | 22.2966 | 183.6378 | 0.53554 | 0.021225 | 1.5256 | DARK-1818-20200911-09_04_48 | 615.21 | 709.35 | 0.62737 | 0.74017 | 0.72081 | 0.76597 | 0.43883 | 0.56117 | 1299.93 | 1093.146 | 0.84093 | 0.19185 | 6 | 0.5 | 0: Broadleaf | 1599833110.6 | 371.278 | 399.94 | 16.6729 | 11.6256 | 370.561 | 16.7752 | 499.994 | 101.554 | 0.099965 | 23.9182 | 22.9986 | 999.9 | 0 | 0 | 10005.6 | 0 | 0.0015289 | 1299.93 | 0.96899 | 0.031012 | 0 | 879.245 | 4.9998 | 11317.4 | 12114.9 | 38.75 | 40.75 | 39.875 | 39.937 | 40 | 1254.77 | 40.16 | 0 | 1353.9 | 0 | 879.5338 | -2.172 | -31.8 | 11322.04 | 15 | 1599833046.1 | 09:04:06 | 1599833042.1 | 1599833046.1 | 17 | 0.228 | -0.002 | 0.717 | -0.102 | 400 | 12 | 0.04 | 0.02 | -28.6156 | -0.35784 | 0.047028 | 1 | 879.7111 | -2.7266 | 0.37796 | 0 | 5.0385 | 0.06848 | 0.0067423 | 1 | 2 | 3 | 2/3 | 100 | 100 | 0.717 | -0.1023 | 0.7173 | 0 | 0 | 0 | -0.10227 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.1 | 1.1 | 2 | 401.085 | 504.575 | 22.4345 | 23.1245 | 30.0002 | 23.1003 | 23.0673 | 21.0103 | 100 | 12.3346 | 22.4377 | 400 | 1.0473 | 103.016 | 102.55
3 | 1599833231.1 | 1475.1 | 20200911 09:07:11 | 09:07:11 | 1599833231.1 | 0.0043203 | 21.9092 | 371.68 | 275.4777 | 28.0029 | 37.782 | 0.41327 | 2.9582 | 0.38366 | 0.24227 | 177.7618 | 23.8941 | 23.0046 | 2.8205 | 56.911 | 1.7013 | 2.9894 | 1.1192 | -190.527 | 153.788 | 10.8299 | 151.8527 | 79 | 16 | 1 | 0 | 54291.6871 | MPF-1814-20200911-08_35_59 | 10225.5 | 707.1624 | 3345.31 | 2638.1476 | 0.78861 | -0.90552 | MPF-1819-20200911-09_06_46 | 10222.4 | 895.9024 | 1457.62 | 0.38537 | 0.5 | 925.1157 | 21.9092 | 178.2542 | 0.5671 | 0.024661 | 1.295 | DARK-1820-20200911-09_06_48 | 631 | 826.62 | 0.67954 | 0.69546 | 0.7485 | 0.71554 | 0.47861 | 0.52139 | 1099.92 | 925.1157 | 0.84108 | 0.19215 | 6 | 0.5 | 0: Broadleaf | 1599833231.1 | 371.68 | 399.895 | 16.7364 | 11.6393 | 370.948 | 16.8347 | 500.053 | 101.552 | 0.099986 | 23.9689 | 23.0046 | 999.9 | 0 | 0 | 10008.8 | 0 | 0.0015289 | 1099.92 | 0.96398 | 0.036016 | 0 | 896.63 | 4.9998 | 9753.81 | 10231.1 | 38.5 | 40.687 | 39.75 | 39.875 | 39.875 | 1055.49 | 39.43 | 0 | 119.9 | 0 | 895.9024 | 8.8198 | 100.0885 | 9743.7044 | 15 | 1599833175.6 | 09:06:15 | 1599833162.1 | 1599833175.6 | 18 | 0.015 | 0.004 | 0.732 | -0.098 | 400 | 12 | 0.04 | 0.02 | -28.2141 | 0.066249 | 0.03945 | 1 | 895.3662 | 9.2052 | 0.95003 | 0 | 5.0914 | 0.048428 | 0.0047769 | 1 | 2 | 3 | 2/3 | 100 | 100 | 0.732 | -0.0983 | 0.73195 | 0 | 0 | 0 | -0.09829 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.1 | 0.9 | 2 | 400.985 | 504.77 | 22.5662 | 23.1381 | 30.0002 | 23.1173 | 23.0827 | 21.0663 | 100 | 5.4841 | 22.6042 | 400 | 0 | 103.006 | 102.55
4 | 1599833351.6 | 1595.6 | 20200911 09:09:11 | 09:09:11 | 1599833351.6 | 0.0043165 | 21.298 | 372.544 | 278.8249 | 28.344 | 37.871 | 0.41325 | 2.9564 | 0.38363 | 0.24225 | 145.8593 | 23.7306 | 23.0019 | 2.82 | 56.8477 | 1.7017 | 2.9934 | 1.1184 | -190.3596 | 157.6934 | 11.1129 | 124.306 | 79 | 16 | 1 | 0 | 54233.6374 | MPF-1814-20200911-08_35_59 | 10225.5 | 707.1624 | 3345.31 | 2638.1476 | 0.78861 | -0.90552 | MPF-1821-20200911-09_08_47 | 10226.2 | 929.8654 | 1690.67 | 0.45 | 0.5 | 757.2153 | 21.298 | 170.3741 | 0.61193 | 0.029323 | 0.97869 | DARK-1822-20200911-09_08_49 | 656.1 | 1034.57 | 0.73538 | 0.61529 | 0.77356 | 0.6272 | 0.51888 | 0.48112 | 900.04 | 757.2153 | 0.84131 | 0.19263 | 6 | 0.5 | 0: Broadleaf | 1599833351.6 | 372.544 | 400.03 | 16.7398 | 11.6469 | 371.851 | 16.8368 | 500.024 | 101.555 | 0.10004 | 23.9913 | 23.0019 | 999.9 | 0 | 0 | 9998.12 | 0 | 0.0015289 | 900.04 | 0.95599 | 0.044009 | 0 | 931.636 | 4.9998 | 8263.89 | 8346.91 | 38.125 | 40.625 | 39.562 | 39.812 | 39.625 | 855.65 | 39.39 | 0 | 119.9 | 0 | 929.8654 | 11.9092 | 104.5254 | 8250.6252 | 15 | 1599833295.6 | 09:08:15 | 1599833293.1 | 1599833295.6 | 19 | -0.038 | 0.001 | 0.694 | -0.097 | 400 | 12 | 0.13 | 0.02 | -27.4967 | -0.20327 | 0.044662 | 1 | 929.1009 | 12.361 | 1.2668 | 0 | 5.0913 | 0.015367 | 0.0019331 | 1 | 2 | 3 | 2/3 | 100 | 100 | 0.693 | -0.097 | 0.69386 | 0 | 0 | 0 | -0.096975 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1 | 0.9 | 2 | 401.119 | 504.556 | 22.7381 | 23.1742 | 30.0002 | 23.1488 | 23.1137 | 21.093 | 100 | 0 | 22.7585 | 400 | 0 | 102.999 | 102.549
5 | 1599833472.1 | 1716.1 | 20200911 09:11:12 | 09:11:12 | 1599833472.1 | 0.004465 | 19.9126 | 374.213 | 291.1784 | 29.6001 | 38.0411 | 0.44147 | 2.9549 | 0.40783 | 0.2577 | 113.9253 | 23.4959 | 22.9773 | 2.8158 | 57.75 | 1.7278 | 2.9918 | 1.0881 | -196.908 | 160.1031 | 11.2862 | 88.4067 | 79 | 16 | 1 | 0 | 54193.5606 | MPF-1814-20200911-08_35_59 | 10225.5 | 707.1624 | 3345.31 | 2638.1476 | 0.78861 | -0.90552 | MPF-1823-20200911-09_10_47 | 10231.2 | 964.9971 | 2033.23 | 0.52539 | 0.5 | 589.076 | 19.9126 | 154.7465 | 0.66297 | 0.03534 | 0.64532 | DARK-1824-20200911-09_10_49 | 685.25 | 1347.98 | 0.79247 | 0.49325 | 0.80556 | 0.49735 | 0.56274 | 0.43726 | 699.866 | 589.076 | 0.8417 | 0.1934 | 6 | 0.5 | 0: Broadleaf | 1599833472.1 | 374.213 | 400.103 | 16.9961 | 11.7312 | 373.5 | 17.0833 | 500.197 | 101.556 | 0.10021 | 23.9823 | 22.9773 | 999.9 | 0 | 0 | 9990 | 0 | 0.0015289 | 699.866 | 0.94298 | 0.057018 | 0 | 966.555 | 4.9998 | 6641.46 | 6459.32 | 37.687 | 40.437 | 39.25 | 39.687 | 39.25 | 655.25 | 39.62 | 0 | 119.9 | 0 | 964.9971 | 14.8991 | 99.2931 | 6630.864 | 15 | 1599833432.6 | 09:10:32 | 1599833432.6 | 1599833428.1 | 20 | 0.019 | 0.01 | 0.713 | -0.087 | 400 | 13 | 0.07 | 0.02 | -25.907 | -0.252 | 0.14316 | 1 | 964.0547 | 15.8067 | 1.6022 | 0 | 5.0855 | 1.3785 | 0.13341 | 0 | 1 | 3 | 1/3 | 100 | 100 | 0.713 | -0.0872 | 0.71262 | 0 | 0 | 0 | -0.087185 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 0.7 | 0.7 | 2 | 401.172 | 501.97 | 22.9187 | 23.2233 | 30.0001 | 23.1897 | 23.1523 | 20.9948 | 100 | 9.36 | 22.9415 | 400 | 9.2748 | 102.986 | 102.544
6 | 1599833592.6 | 1836.6 | 20200911 09:13:12 | 09:13:12 | 1599833592.6 | 0.0042576 | 18.3119 | 376.073 | 292.9041 | 29.7742 | 38.2285 | 0.40421 | 2.9615 | 0.37587 | 0.2373 | 90.0312 | 23.4776 | 22.9944 | 2.8188 | 56.3568 | 1.6929 | 3.0039 | 1.1259 | -187.7616 | 168.4243 | 11.8517 | 82.5455 | 78 | 16 | 1 | 0 | 54374.2083 | MPF-1814-20200911-08_35_59 | 10225.5 | 707.1624 | 3345.31 | 2638.1476 | 0.78861 | -0.90552 | MPF-1825-20200911-09_12_48 | 10235.9 | 972.3678 | 2346.17 | 0.58555 | 0.5 | 463.269 | 18.3119 | 135.6338 | 0.69547 | 0.041482 | 0.42586 | DARK-1826-20200911-09_12_50 | 714.49 | 1631.68 | 0.84196 | 0.37978 | 0.83819 | 0.37873 | 0.61866 | 0.38134 | 550.09 | 463.269 | 0.84217 | 0.19434 | 6 | 0.5 | 0: Broadleaf | 1599833592.6 | 376.073 | 399.966 | 16.6537 | 11.6302 | 375.338 | 16.7516 | 500.057 | 101.552 | 0.099703 | 24.0493 | 22.9944 | 999.9 | 0 | 0 | 10027.5 | 0 | 0.0015289 | 550.09 | 0.92703 | 0.072974 | 0 | 973.712 | 4.9998 | 5233.97 | 5047 | 37.125 | 40.187 | 38.875 | 39.375 | 38.875 | 505.31 | 39.78 | 0 | 120 | 0 | 972.3678 | 13.2044 | 66.215 | 5224.3073 | 15 | 1599833536.6 | 09:12:16 | 1599833526.6 | 1599833536.6 | 21 | 0.023 | -0.011 | 0.736 | -0.098 | 400 | 12 | 0.11 | 0.02 | -23.8481 | -0.18945 | 0.032116 | 1 | 971.7946 | 13.163 | 1.271 | 0 | 5.022 | -0.019672 | 0.0023193 | 1 | 2 | 3 | 2/3 | 100 | 100 | 0.735 | -0.0979 | 0.7356 | 0 | 0 | 0 | -0.097905 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.1 | 0.9 | 2 | 401.467 | 503.52 | 23.1405 | 23.2375 | 29.9999 | 23.2111 | 23.1756 | 21.0489 | 100 | 7.3478 | 23.1547 | 400 | 5.8471 | 102.984 | 102.547
7 | 1599833713.1 | 1957.1 | 20200911 09:15:13 | 09:15:13 | 1599833713.1 | 0.0041974 | 15.0479 | 379.926 | 309.0865 | 31.4199 | 38.621 | 0.39617 | 2.9569 | 0.36886 | 0.23284 | 66.0907 | 23.3567 | 22.9938 | 2.8187 | 56.1642 | 1.6876 | 3.0047 | 1.1311 | -185.1045 | 168.9918 | 11.9103 | 61.8884 | 78 | 16 | 1 | 0 | 54237.6953 | MPF-1814-20200911-08_35_59 | 10225.5 | 707.1624 | 3345.31 | 2638.1476 | 0.78861 | -0.90552 | MPF-1827-20200911-09_14_48 | 10239.5 | 939.4109 | 2599.68 | 0.63864 | 0.5 | 337.3311 | 15.0479 | 107.7172 | 0.71841 | 0.047293 | 0.28682 | DARK-1828-20200911-09_14_50 | 732.04 | 1867.64 | 0.88897 | 0.28532 | 0.87728 | 0.28263 | 0.69273 | 0.30727 | 400.174 | 337.3311 | 0.84296 | 0.19592 | 6 | 0.5 | 0: Broadleaf | 1599833713.1 | 379.926 | 399.897 | 16.601 | 11.6478 | 379.158 | 16.6982 | 500.004 | 101.554 | 0.10004 | 24.0539 | 22.9938 | 999.9 | 0 | 0 | 10001.2 | 0 | 0.0015289 | 400.174 | 0.90005 | 0.099949 | 0 | 940.211 | 4.9998 | 3646.77 | 3634.37 | 36.562 | 39.875 | 38.437 | 39.125 | 38.437 | 355.68 | 39.5 | 0 | 119.9 | 0 | 939.4109 | 4.507 | 15.1392 | 3642.8776 | 15 | 1599833653.1 | 09:14:13 | 1599833644.1 | 1599833653.1 | 22 | 0.032 | 0.001 | 0.768 | -0.097 | 400 | 12 | 0.07 | 0.01 | -19.9992 | -0.37424 | 0.049887 | 1 | 939.1192 | 4.6416 | 0.516 | 0 | 4.9548 | -0.0092894 | 0.0020083 | 1 | 2 | 3 | 2/3 | 100 | 100 | 0.768 | -0.0972 | 0.7676 | 0 | 0 | 0 | -0.097215 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.1 | 1 | 2 | 401.568 | 503.594 | 23.3058 | 23.2453 | 30 | 23.2247 | 23.1929 | 21.079 | 100 | 2.994 | 23.3122 | 400 | 2.4909 | 102.98 | 102.544
8 | 1599833833.6 | 2077.6 | 20200911 09:17:13 | 09:17:13 | 1599833833.6 | 0.0041054 | 10.214 | 385.837 | 333.8733 | 33.9399 | 39.2223 | 0.382 | 2.9578 | 0.35655 | 0.22499 | 41.2765 | 23.2498 | 23.0205 | 2.8232 | 55.8198 | 1.6787 | 3.0073 | 1.1446 | -181.0492 | 167.0818 | 11.7746 | 39.0837 | 78 | 16 | 1 | 0 | 54261.6038 | MPF-1814-20200911-08_35_59 | 10225.5 | 707.1624 | 3345.31 | 2638.1476 | 0.78861 | -0.90552 | MPF-1829-20200911-09_16_49 | 10227.7 | 878.7621 | 2718.14 | 0.6767 | 0.5 | 210.7232 | 10.214 | 71.2987 | 0.72787 | 0.052768 | 0.23073 | DARK-1830-20200911-09_16_51 | 739.68 | 1978.46 | 0.9297 | 0.2407 | 0.91467 | 0.23773 | 0.78256 | 0.21744 | 249.986 | 210.7232 | 0.84294 | 0.19588 | 6 | 0.5 | 0: Broadleaf | 1599833833.6 | 385.837 | 399.995 | 16.5133 | 11.668 | 385.063 | 16.607 | 499.985 | 101.555 | 0.10009 | 24.0683 | 23.0205 | 999.9 | 0 | 0 | 10006.2 | 0 | 0.0015289 | 249.986 | 0.9 | 0.099999 | 0 | 877.979 | 4.9998 | 2111.61 | 2253.08 | 36 | 39.562 | 38 | 38.875 | 37.937 | 220.49 | 24.5 | 0 | 119.9 | 0 | 878.7621 | -6.8345 | -16.0192 | 2113.6352 | 15 | 1599833779.1 | 09:16:19 | 1599833770.1 | 1599833779.1 | 23 | 0.006 | 0.004 | 0.774 | -0.094 | 400 | 12 | 0.21 | 0.02 | -14.1284 | -0.45384 | 0.056295 | 1 | 879.1246 | -6.3308 | 0.6704 | 0 | 4.8551 | -0.037699 | 0.0042601 | 1 | 2 | 3 | 2/3 | 100 | 100 | 0.774 | -0.0937 | 0.774 | 0 | 0 | 0 | -0.093667 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.1 | 0.9 | 2 | 401.349 | 503.558 | 23.414 | 23.2611 | 30.0001 | 23.2442 | 23.2111 | 21.0929 | 100 | 0 | 23.4253 | 400 | 1.6542 | 102.978 | 102.543
9 | 1599833954.1 | 2198.1 | 20200911 09:19:14 | 09:19:14 | 1599833954.1 | 0.003997 | 5.8085 | 391.108 | 359.2481 | 36.5187 | 39.7574 | 0.38997 | 2.9516 | 0.36344 | 0.22938 | 24.7668 | 23.1161 | 22.9921 | 2.8184 | 57.5925 | 1.7254 | 2.9959 | 1.093 | -176.2676 | 161.194 | 11.3782 | 21.0715 | 79 | 16 | 1 | 0 | 54090.2015 | MPF-1814-20200911-08_35_59 | 10225.5 | 707.1624 | 3345.31 | 2638.1476 | 0.78861 | -0.90552 | MPF-1831-20200911-09_18_49 | 10219.7 | 830.0814 | 2796.13 | 0.70313 | 0.5 | 126.4891 | 5.8085 | 44.4693 | 0.73713 | 0.05308 | 0.19641 | DARK-1832-20200911-09_18_51 | 735.03 | 2061.1 | 0.95388 | 0.21039 | 0.94116 | 0.20817 | 0.84466 | 0.15534 | 150.064 | 126.4891 | 0.8429 | 0.1958 | 6 | 0.5 | 0: Broadleaf | 1599833954.1 | 391.108 | 399.954 | 16.9735 | 12.2586 | 390.322 | 17.0553 | 500.009 | 101.553 | 0.10017 | 24.0051 | 22.9921 | 999.9 | 0 | 0 | 9971.25 | 0 | 0.0015289 | 150.064 | 0.89997 | 0.10003 | 0 | 829.169 | 4.9998 | 1182.05 | 1334.11 | 35.437 | 39.25 | 37.562 | 38.562 | 37.5 | 130.55 | 14.51 | 0 | 119.9 | 0 | 830.0814 | -5.8585 | -9.4762 | 1182.7172 | 15 | 1599833927.1 | 09:18:47 | 1599833921.1 | 1599833927.1 | 24 | 0.012 | 0.012 | 0.785 | -0.082 | 400 | 13 | 0.37 | 0.02 | -9.1842 | 1.5337 | 0.18841 | 0 | 830.4241 | -5.5535 | 0.60557 | 0 | 4.4522 | 1.5479 | 0.14935 | 0 | 0 | 3 | 0/3 | 100 | 100 | 0.786 | -0.0818 | 0.78545 | 0 | 0 | 0 | -0.081835 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 0.6 | 0.5 | 2 | 401.219 | 501.236 | 23.3879 | 23.2985 | 30.0001 | 23.2773 | 23.2415 | 20.9849 | 69.4354 | 11.2714 | 23.3957 | 400 | 10.3039 | 102.97 | 102.537
10 | 1599834074.6 | 2318.6 | 20200911 09:21:14 | 09:21:14 | 1599834074.6 | 0.0036802 | 3.673 | 393.831 | 367.5588 | 37.3619 | 40.0325 | 0.3251 | 2.9581 | 0.30647 | 0.19313 | 16.4951 | 23.1547 | 23.0126 | 2.8219 | 54.3296 | 1.628 | 2.9965 | 1.1939 | -162.2948 | 158.8248 | 11.1875 | 24.2127 | 78 | 16 | 1 | 0 | 54282.8447 | MPF-1814-20200911-08_35_59 | 10225.5 | 707.1624 | 3345.31 | 2638.1476 | 0.78861 | -0.90552 | MPF-1833-20200911-09_20_50 | 10216.1 | 798.612 | 2841.13 | 0.71891 | 0.5 | 84.2825 | 3.673 | 30.2958 | 0.7418 | 0.054323 | 0.17746 | DARK-1834-20200911-09_20_52 | 733.59 | 2107.54 | 0.96915 | 0.19305 | 0.95715 | 0.19111 | 0.89024 | 0.10976 | 99.9963 | 84.2825 | 0.84286 | 0.19571 | 6 | 0.5 | 0: Broadleaf | 1599834074.6 | 393.831 | 399.977 | 16.0158 | 11.6709 | 393.009 | 16.1124 | 500.064 | 101.549 | 0.099875 | 24.0085 | 23.0126 | 999.9 | 0 | 0 | 10008.8 | 0 | 0.0015289 | 99.9963 | 0.8998 | 0.1002 | 0 | 798.416 | 4.9998 | 744.984 | 873.615 | 35 | 38.937 | 37.187 | 38.312 | 37.125 | 85.48 | 9.52 | 0 | 119.9 | 0 | 798.612 | -0.14646 | -0.71438 | 745.3106 | 15 | 1599834027.6 | 09:20:27 | 1599834013.1 | 1599834027.6 | 25 | 0.036 | -0.015 | 0.822 | -0.097 | 400 | 12 | 0.47 | 0.02 | -6.18 | 0.06416 | 0.029367 | 1 | 798.6178 | 0.12859 | 0.20973 | 1 | 4.3761 | -0.17144 | 0.016515 | 0 | 2 | 3 | 2/3 | 100 | 100 | 0.822 | -0.0966 | 0.8219 | 0 | 0 | 0 | -0.096615 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1 | 0.8 | 2 | 401.463 | 502.007 | 23.4546 | 23.3393 | 30.0001 | 23.3106 | 23.2766 | 21.0012 | 100 | 11.6324 | 23.4601 | 400 | 9.9276 | 102.963 | 102.534
11 | 1599834195.1 | 2439.1 | 20200911 09:23:15 | 09:23:15 | 1599834195.1 | 0.00331 | 1.1501 | 397.102 | 382.5821 | 38.8883 | 40.3642 | 0.28104 | 2.9587 | 0.26701 | 0.16808 | 8.2255 | 23.1528 | 22.9992 | 2.8196 | 53.1118 | 1.5868 | 2.9877 | 1.2328 | -145.9722 | 153.1474 | 10.7819 | 26.1827 | 78 | 16 | 1 | 0 | 54310.0133 | MPF-1814-20200911-08_35_59 | 10225.5 | 707.1624 | 3345.31 | 2638.1476 | 0.78861 | -0.90552 | MPF-1835-20200911-09_22_50 | 10212.1 | 766.6532 | 2896 | 0.73527 | 0.5 | 42.0943 | 1.1501 | 15.4754 | 0.73896 | 0.048835 | 0.15515 | DARK-1836-20200911-09_22_53 | 755.96 | 2140.04 | 0.995 | 0.17352 | 0.97282 | 0.17031 | 0.98112 | 0.018875 | 49.9516 | 42.0943 | 0.8427 | 0.19541 | 6 | 0.5 | 0: Broadleaf | 1599834195.1 | 397.102 | 400.059 | 15.6109 | 11.7015 | 396.307 | 15.7043 | 500.08 | 101.547 | 0.099915 | 23.9593 | 22.9992 | 999.9 | 0 | 0 | 10012.5 | 0 | 0.0015289 | 49.9516 | 0.89994 | 0.10006 | 0 | 768.322 | 4.9998 | 337.822 | 413.404 | 34.562 | 38.625 | 36.75 | 38 | 36.75 | 40.45 | 4.5 | 0 | 119.9 | 0 | 766.6532 | 10.4687 | 3.5068 | 337.7673 | 15 | 1599834135.1 | 09:22:15 | 1599834123.1 | 1599834135.1 | 26 | -0.027 | 0.003 | 0.795 | -0.093 | 400 | 12 | 0.3 | 0.01 | -2.9153 | 0.039872 | 0.035041 | 1 | 766.021 | 10.2316 | 1.047 | 0 | 3.9544 | -0.23005 | 0.022271 | 0 | 1 | 3 | 1/3 | 100 | 100 | 0.795 | -0.0934 | 0.79505 | 0 | 0 | 0 | -0.09345 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.2 | 1 | 2 | 401.782 | 501.569 | 23.4518 | 23.3746 | 30.0002 | 23.3419 | 23.3077 | 20.9997 | 100 | 12.046 | 23.461 | 400 | 10.9115 | 102.951 | 102.535
12 | 1599834315.6 | 2559.6 | 20200911 09:25:15 | 09:25:15 | 1599834315.6 | 0.0025918 | -1.2695 | 400.421 | 402.1533 | 40.8773 | 40.7012 | 0.21938 | 2.9554 | 0.21072 | 0.13245 | 0.0019948 | 23.2485 | 23.0054 | 2.8206 | 53.6039 | 1.5976 | 2.9803 | 1.2231 | -114.2981 | 145.4709 | 10.2512 | 41.426 | 79 | 16 | 1 | 0 | 54219.4038 | MPF-1837-20200911-09_24_51 | 10210.8 | 700.7708 | 3180.37 | 2479.5992 | 0.77966 | -1.2695 | - | - | 0 | 0 | #DIV/0! | 0.5 | 0.020999 | -1.2695 | #DIV/0! | #DIV/0! | 1.0574e-13 | #DIV/0! | - | 0 | 0 | #DIV/0! | 1 | 0 | 1.2826 | #DIV/0! | #DIV/0! | 0.049998 | 0.020999 | 0.41999 | 0.094997 | 6 | 0.5 | 0: Broadleaf | 1599834315.6 | 400.421 | 400.143 | 15.717 | 12.6559 | 399.649 | 15.8088 | 500.028 | 101.546 | 0.10006 | 23.9184 | 23.0054 | 999.9 | 0 | 0 | 9993.75 | 0 | 0.0015289 | 0.049998 | 0 | 0 | 0 | 699.65 | 0.049998 | -15.08 | -3.86 | 34.125 | 38.312 | 36.375 | 37.562 | 36.187 | 0 | 0 | 0 | 119.9 | 0 | 700.7708 | -2.4615 | 3.8754 | -14.5168 | 15 | 1599834258.6 | 09:24:18 | 1599834241.6 | 1599834258.6 | 27 | -0.023 | 0.002 | 0.772 | -0.092 | 400 | 12 | 0.55 | 0.02 | 0.24177 | 0.55237 | 0.11738 | 0 | 701.1026 | -4.6454 | 2.0824 | 0 | 3.1493 | -0.63637 | 0.061894 | 0 | 0 | 3 | 0/3 | 100 | 100 | 0.772 | -0.0918 | 0.7722 | 0 | 0 | 0 | -0.091815 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.2 | 0.9 | 2 | 401.148 | 502.551 | 23.4396 | 23.4043 | 30 | 23.3752 | 23.3429 | 20.9604 | 50.1902 | 19.1572 | 23.4457 | 400 | 13.0925 | 102.942 | 102.528
13 | 1599835534 | 3778 | 20200911 09:45:34 | 09:45:34 | 1599835534 | 0.0016429 | -1.3477 | 400.822 | 408.7981 | 41.5547 | 40.7439 | 0.14001 | 2.9595 | 0.13643 | 0.085583 | 0.0019948 | 23.3824 | 23.0078 | 2.8211 | 54.8492 | 1.6237 | 2.9603 | 1.1973 | -72.4522 | 127.4333 | 8.9629 | 63.9459 | 77 | 15 | 1 | 0 | 54359.3662 | MPF-1838-20200911-09_45_09 | 10205.8 | 690.6815 | 3449.83 | 2759.1485 | 0.79979 | -1.3477 | - | - | 0 | 0 | #DIV/0! | 0.5 | 0.020999 | -1.3477 | #DIV/0! | #DIV/0! | -5.2871e-14 | #DIV/0! | - | 0 | 0 | #DIV/0! | 1 | 0 | 1.2503 | #DIV/0! | #DIV/0! | 0.049998 | 0.020999 | 0.41999 | 0.094997 | 6 | 0.5 | 0: Broadleaf | 1599835534 | 400.822 | 399.995 | 15.9735 | 14.0335 | 399.986 | 16.0653 | 499.999 | 101.551 | 0.099947 | 23.8065 | 23.0078 | 999.9 | 0 | 0 | 10016.2 | 0 | 0.0015289 | 0.049998 | 0 | 0 | 0 | 689.11 | 0.049998 | -13.2 | -2.78 | 35 | 39.812 | 37.5 | 39.437 | 37.062 | 0 | 0 | 0 | 1217.4 | 0 | 690.6815 | -6.145 | 0.054017 | -10.3308 | 15 | 1599835551 | 09:45:51 | 1599835551 | 1599834258.6 | 28 | 0.064 | 0.002 | 0.836 | -0.092 | 400 | 12 | 0.47 | 0.02 | 0.79437 | 0.15665 | 0.029361 | 1 | 690.6477 | -2.0123 | 2.0103 | 0 | 1.9356 | 0.030053 | 0.0030181 | 1 | 2 | 3 | 2/3 | 100 | 100 | 0.836 | -0.0918 | 0.7722 | 0 | 0 | 0 | -0.091815 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 21.5 | 21.3 | 2 | 402.505 | 502.207 | 23.1438 | 23.7656 | 30.0002 | 23.7428 | 23.7124 | 21.0049 | 61.6071 | 44.196 | 23.1438 | 400 | 13.9643 | 102.862 | 102.499

## Remarks
File opened | 2020-09-11 08:41:26
Console s/n | 68C-811876
Console ver | Bluestem v.1.4.05
Scripts ver | 2020.04 1.4.05, May 2020
Head s/n | 68H-711866
Head ver | 1.4.2
Head cal | {"co2aspan2": "-0.0274214", "h2obspan2a": "0.0949969", "h2obspan2b": "0.102394", "h2oaspan1": "1.07388", "oxygen": "21", "flowazero": "0.27548", "h2obspan2": "0", "co2bzero": "0.94549", "co2bspanconc2": "298.9", "flowmeterzero": "0.986842", "h2oaspan2a": "0.0954223", "co2bspan2a": "0.194368", "tazero": "0.0398865", "tbzero": "0.120966", "chamberpressurezero": "2.6539", "ssb_ref": "35601.5", "co2aspanconc1": "993", "ssa_ref": "39980.7", "h2oaspanconc2": "0", "flowbzero": "0.30576", "h2obspan1": "1.07787", "h2obzero": "1.03183", "co2bspan2": "-0.0290863", "h2oaspan2": "0", "co2aspan2b": "0.187145", "h2obspanconc1": "19.41", "co2bspan1": "0.961123", "co2bspanconc1": "993", "h2oazero": "1.03102", "h2oaspanconc1": "19.41", "h2oaspan2b": "0.102472", "co2azero": "0.914258", "h2obspanconc2": "0", "co2bspan2b": "0.185713", "co2aspanconc2": "298.9", "co2aspan2a": "0.195868", "co2aspan1": "0.960839"}
Chamber type | 6800-01A
Chamber s/n | MPF-831667
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-831667
Flr. Version | 1.4.2
08:41:26 | Stability Definition: ΔH2O (Meas2): Slp<0.1 Per=20 ΔCO2 (Meas2): Slp<0.5 Per=20 F (FlrLS): Slp<1 Per=20