## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 6 cm² | 0.578 | 0.52297 | 0.0037403 | -0.06198 | -0.0056086 | 1 | 6 | 96.9
Const | CustomBLC
2
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.49 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.39 | 0.18 | 0.23 | 0.26 | 0.21 | 0.19 | 0.25
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 2.7503 76.361 375.441 627.426 871.536 1066.28 1275.23 1444.03 | 0.321223 100.768 401.041 601.022 800.139 1000.46 1200.19 1400.97 | 0
Sys | Sys | Sys | Sys | Sys | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Leak | Leak | Leak | Leak | Leak | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrStats | FlrStats | FlrStats | FlrStats | FlrStats | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | TIME | E | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Leak | LeakPct | CorrFact | CorrFactPct | Fan | DarkAdaptedID | Qmax_d | Fo | Fm | Fv | Fv/Fm | Adark | LightAdaptedID | Qmax | Fs | Fmp | PhiPS2 | PS2/1 | Qabs_fs | Afs | ETR | Fv'/Fm' | PhiCO2 | NPQ | DarkPulseID | Fo' | Fv' | qP | qN | qP_Fo | qN_Fo | qL | 1-qL | Qin | Qabs | alpha | convert | S | K | Geometry | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | F_avg | dF/dt | dF_dc/dt | F_dc_avg | period | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | F:MN | F:SLP | F:SD | F:OK | ΔH2O:MN | ΔH2O:SLP | ΔH2O:SD | ΔH2O:OK | Stable | Total | State | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s | mol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol s⁻¹ | % |  | % | µmol s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | µmol µmol⁻¹ | [10 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  |  | min⁻¹ | min⁻¹ |  | s | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  |  | min⁻¹ |  |  | mmol mol⁻¹ | mmol mol⁻¹ min⁻¹ | mmol mol⁻¹ |  |  |  |  | % | % | µmol/mol | mmol/mol | mmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | %
2 | 1599860327.1 | 1809.1 | 20200911 16:38:47 | 16:38:47 | 1599860327.1 | 0.0039571 | 21.7499 | 372.184 | 249.7629 | 25.3414 | 37.7625 | 0.31555 | 2.9535 | 0.29795 | 0.18772 | 209.7389 | 25.6073 | 24.7599 | 3.1344 | 55.8832 | 1.8198 | 3.2565 | 1.3146 | -174.5063 | 102.0673 | 7.3157 | 144.6156 | 25 | 5 | 1 | 0 | 53890.783 | MPF-1886-20200911-13_52_44 | 10190.3 | 689.2424 | 3449.53 | 2760.2876 | 0.80019 | -1.0144 | MPF-1889-20200911-16_38_23 | 10186.4 | 794.0465 | 1165.76 | 0.31886 | 0.5 | 1093.2294 | 21.7499 | 174.2932 | 0.50338 | 0.020823 | 1.959 | DARK-1890-20200911-16_38_25 | 578.94 | 586.82 | 0.63344 | 0.79558 | 0.78006 | 0.82737 | 0.46184 | 0.53816 | 1300.03 | 1093.2294 | 0.84093 | 0.19185 | 6 | 0.5 | 0: Broadleaf | 1599860327.1 | 372.184 | 400.053 | 17.936 | 13.2724 | 370.973 | 18.0515 | 499.968 | 101.362 | 0.099891 | 25.4009 | 24.7599 | 999.9 | 0 | 0 | 10001.2 | 0 | 0.0017487 | 1300.03 | 0.96901 | 0.030993 | 0 | 794.272 | 4.9998 | 10406 | 12115.9 | 42.625 | 44.812 | 43.687 | 44.187 | 43.687 | 1254.89 | 40.14 | 0 | 1808.7 | 0 | 794.0465 | -0.48838 | -7.6692 | 10407.04 | 15 | 1599860300.6 | 16:38:20 | 1599860296.6 | 1599860300.6 | 58 | 0.279 | 0.003 | 1.211 | -0.115 | 400 | 13 | 0.04 | 0.02 | -27.8523 | -0.13202 | 0.051574 | 1 | 794.039 | -0.056703 | 0.19968 | 1 | 4.6604 | 0.051139 | 0.0065279 | 1 | 3 | 3 | 3/3 | 100 | 100 | 1.211 | -0.1155 | 1.2105 | 0 | 0 | 0 | -0.11543 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 0.5 | 0.4 | 2 | 469.143 | 473.359 | 22.6401 | 29.6719 | 30.0002 | 29.6838 | 29.6527 | 21.2811 | -30 | -30 | 22.64 | 400 | 10.1441 | 101.689 | 101.722
3 | 1599860447.6 | 1929.6 | 20200911 16:40:47 | 16:40:47 | 1599860447.6 | 0.003898 | 21.3058 | 372.651 | 251.73 | 25.5397 | 37.808 | 0.31297 | 2.955 | 0.29565 | 0.18626 | 177.7979 | 25.3763 | 24.6516 | 3.1142 | 55.7476 | 1.809 | 3.2451 | 1.3052 | -171.9023 | 109.9559 | 7.8706 | 123.7222 | 24 | 5 | 1 | 0 | 53944.2793 | MPF-1886-20200911-13_52_44 | 10190.3 | 689.2424 | 3449.53 | 2760.2876 | 0.80019 | -1.0144 | MPF-1891-20200911-16_40_24 | 10188.2 | 811.5026 | 1288.86 | 0.37037 | 0.5 | 925.3086 | 21.3058 | 171.3541 | 0.54417 | 0.024122 | 1.6764 | DARK-1892-20200911-16_40_26 | 587.5 | 701.36 | 0.68062 | 0.75494 | 0.7961 | 0.78277 | 0.49274 | 0.50726 | 1100.15 | 925.3086 | 0.84107 | 0.19215 | 6 | 0.5 | 0: Broadleaf | 1599860447.6 | 372.651 | 399.961 | 17.8306 | 13.2364 | 371.409 | 17.9448 | 500.001 | 101.357 | 0.099885 | 25.3418 | 24.6516 | 999.9 | 0 | 0 | 10010 | 0 | 0.0019112 | 1100.15 | 0.96401 | 0.035991 | 0 | 811.876 | 4.9998 | 8997.14 | 10233.3 | 42.5 | 44.875 | 43.75 | 44.25 | 43.687 | 1055.73 | 39.42 | 0 | 120.1 | 0 | 811.5026 | 4.7486 | 49.58 | 8990.0944 | 15 | 1599860391.6 | 16:39:51 | 1599860382.6 | 1599860391.6 | 59 | 0.032 | 0.001 | 1.242 | -0.114 | 400 | 13 | 0.08 | 0.02 | -27.3871 | 0.051869 | 0.036771 | 1 | 811.2397 | 5.134 | 0.53695 | 0 | 4.5974 | -0.0087628 | 0.0017514 | 1 | 2 | 3 | 2/3 | 100 | 100 | 1.242 | -0.1142 | 1.2423 | 0 | 0 | 0 | -0.11413 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.1 | 0.9 | 2 | 469.335 | 473.124 | 22.6402 | 29.6822 | 30.0001 | 29.6933 | 29.6629 | 21.2846 | -30 | -30 | 22.64 | 400 | 10.1441 | 101.687 | 101.72
4 | 1599860568.1 | 2050.1 | 20200911 16:42:48 | 16:42:48 | 1599860568.1 | 0.0038145 | 20.8203 | 373.293 | 253.1278 | 25.6803 | 37.8713 | 0.3076 | 2.9525 | 0.29084 | 0.18321 | 145.8438 | 25.135 | 24.5472 | 3.0948 | 55.6066 | 1.7964 | 3.2305 | 1.2985 | -168.218 | 114.4309 | 8.1904 | 100.2471 | 24 | 5 | 1 | 0 | 53884.227 | MPF-1886-20200911-13_52_44 | 10190.3 | 689.2424 | 3449.53 | 2760.2876 | 0.80019 | -1.0144 | MPF-1893-20200911-16_42_24 | 10191.8 | 848.7212 | 1491.37 | 0.43091 | 0.5 | 757.1391 | 20.8203 | 163.1301 | 0.58856 | 0.028838 | 1.313 | DARK-1894-20200911-16_42_26 | 613.61 | 877.76 | 0.73215 | 0.69048 | 0.80118 | 0.7094 | 0.52933 | 0.47067 | 899.95 | 757.1391 | 0.84131 | 0.19262 | 6 | 0.5 | 0: Broadleaf | 1599860568.1 | 373.293 | 399.983 | 17.7065 | 13.2107 | 372.053 | 17.8227 | 500.057 | 101.352 | 0.099833 | 25.2661 | 24.5472 | 999.9 | 0 | 0 | 9996.25 | 0 | 0.0016532 | 899.95 | 0.956 | 0.043996 | 0 | 849.765 | 4.9998 | 7682.41 | 8346.1 | 42.187 | 44.875 | 43.687 | 44.25 | 43.5 | 855.58 | 39.37 | 0 | 120.1 | 0 | 848.7212 | 7.5632 | 62.6431 | 7675.1632 | 15 | 1599860507.1 | 16:41:47 | 1599860499.6 | 1599860507.1 | 60 | -0.001 | -0.002 | 1.241 | -0.116 | 400 | 13 | 0.14 | 0.02 | -26.6986 | -0.020364 | 0.037591 | 1 | 848.2498 | 7.7303 | 0.76287 | 0 | 4.4965 | -0.017268 | 0.0022626 | 1 | 2 | 3 | 2/3 | 100 | 100 | 1.24 | -0.1162 | 1.2409 | 0 | 0 | 0 | -0.11612 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.1 | 1 | 2 | 469.41 | 473.099 | 22.6397 | 29.6923 | 30.0001 | 29.6991 | 29.668 | 21.2857 | -30 | -30 | 22.64 | 400 | 10.1441 | 101.682 | 101.726
5 | 1599860688.6 | 2170.6 | 20200911 16:44:48 | 16:44:48 | 1599860688.6 | 0.0037116 | 19.761 | 374.62 | 257.5863 | 26.1342 | 38.0083 | 0.29998 | 2.9522 | 0.28402 | 0.17887 | 113.9749 | 24.8843 | 24.4461 | 3.0762 | 55.4614 | 1.7821 | 3.2131 | 1.2941 | -163.68 | 116.1209 | 8.3043 | 74.7201 | 24 | 5 | 1 | 0 | 53890.8226 | MPF-1886-20200911-13_52_44 | 10190.3 | 689.2424 | 3449.53 | 2760.2876 | 0.80019 | -1.0144 | MPF-1895-20200911-16_44_25 | 10196.8 | 900.1112 | 1816.99 | 0.50461 | 0.5 | 589.3395 | 19.761 | 148.6945 | 0.64106 | 0.035252 | 0.89849 | DARK-1896-20200911-16_44_27 | 652.19 | 1164.8 | 0.78716 | 0.5836 | 0.81302 | 0.59144 | 0.57035 | 0.42965 | 700.18 | 589.3395 | 0.8417 | 0.19339 | 6 | 0.5 | 0: Broadleaf | 1599860688.6 | 374.62 | 400.002 | 17.5644 | 13.1887 | 373.382 | 17.6797 | 499.994 | 101.358 | 0.10016 | 25.1757 | 24.4461 | 999.9 | 0 | 0 | 9993.75 | 0 | 0.0017965 | 700.18 | 0.94303 | 0.056972 | 0 | 901.106 | 4.9998 | 6321.17 | 6462.3 | 41.812 | 44.812 | 43.437 | 44.187 | 43.25 | 655.57 | 39.61 | 0 | 120.1 | 0 | 900.1112 | 9.0368 | 62.4092 | 6312.04 | 15 | 1599860626.6 | 16:43:46 | 1599860626.6 | 1599860626.6 | 61 | -0.003 | 0.001 | 1.238 | -0.115 | 400 | 13 | 0.08 | 0.02 | -25.3707 | 0.0059381 | 0.025467 | 1 | 899.5414 | 10.1157 | 1.0244 | 0 | 4.3781 | -0.028578 | 0.0030436 | 1 | 2 | 3 | 2/3 | 100 | 100 | 1.238 | -0.1153 | 1.2375 | 0 | 0 | 0 | -0.11535 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1 | 1 | 2 | 469.358 | 473.014 | 22.64 | 29.6898 | 30.0001 | 29.6982 | 29.668 | 21.2897 | -30 | -30 | 22.64 | 400 | 10.1441 | 101.687 | 101.728
6 | 1599860809.1 | 2291.1 | 20200911 16:46:49 | 16:46:49 | 1599860809.1 | 0.0036081 | 18.2361 | 376.498 | 265.449 | 26.9311 | 38.1976 | 0.29256 | 2.9523 | 0.27735 | 0.17465 | 90.0475 | 24.6771 | 24.3375 | 3.0562 | 55.3248 | 1.7678 | 3.1953 | 1.2885 | -159.1183 | 118.4991 | 8.4653 | 57.8936 | 24 | 5 | 1 | 0 | 53912.6351 | MPF-1886-20200911-13_52_44 | 10190.3 | 689.2424 | 3449.53 | 2760.2876 | 0.80019 | -1.0144 | MPF-1897-20200911-16_46_25 | 10201.6 | 934.0137 | 2138.74 | 0.56329 | 0.5 | 463.3494 | 18.2361 | 130.4996 | 0.68018 | 0.041546 | 0.61288 | DARK-1898-20200911-16_46_27 | 684.02 | 1454.72 | 0.82815 | 0.47398 | 0.83113 | 0.47487 | 0.60649 | 0.39351 | 550.185 | 463.3494 | 0.84217 | 0.19434 | 6 | 0.5 | 0: Broadleaf | 1599860809.1 | 376.498 | 400.012 | 17.4242 | 13.1698 | 375.207 | 17.5413 | 499.989 | 101.355 | 0.099882 | 25.082 | 24.3375 | 999.9 | 0 | 0 | 9995 | 0 | 0.0015958 | 550.185 | 0.92699 | 0.073008 | 0 | 935.024 | 4.9998 | 5135.31 | 5047.83 | 41.437 | 44.625 | 43.187 | 44.062 | 42.937 | 505.38 | 39.8 | 0 | 120 | 0 | 934.0137 | 9.1789 | 45.4662 | 5128.7368 | 15 | 1599860745.1 | 16:45:45 | 1599860737.1 | 1599860745.1 | 62 | 0.053 | -0.002 | 1.291 | -0.117 | 400 | 13 | 0.13 | 0.02 | -23.5085 | -0.40314 | 0.045187 | 1 | 933.494 | 9.145 | 0.89713 | 0 | 4.2639 | -0.046793 | 0.004665 | 1 | 2 | 3 | 2/3 | 100 | 100 | 1.291 | -0.1171 | 1.2909 | 0 | 0 | 0 | -0.11709 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.2 | 1.1 | 2 | 469.419 | 472.777 | 22.6391 | 29.6873 | 30.0001 | 29.6965 | 29.668 | 21.2897 | -30 | -30 | 22.64 | 400 | 10.1441 | 101.69 | 101.73
7 | 1599860893.1 | 2375.1 | 20200911 16:48:13 | 16:48:13 | 1599860893.1 | 0.0035177 | 15.4745 | 379.866 | 282.3798 | 28.6486 | 38.5389 | 0.28561 | 2.9529 | 0.27111 | 0.17068 | 66.0606 | 24.4913 | 24.2508 | 3.0404 | 55.1538 | 1.7551 | 3.1822 | 1.2853 | -155.1291 | 121.4018 | 8.6643 | 40.9976 | 25 | 5 | 1 | 0 | 53940.6594 | MPF-1886-20200911-13_52_44 | 10190.3 | 689.2424 | 3449.53 | 2760.2876 | 0.80019 | -1.0144 | MPF-1899-20200911-16_47_49 | 10205.3 | 924.1765 | 2408 | 0.61621 | 0.5 | 337.1724 | 15.4745 | 103.8838 | 0.70488 | 0.048903 | 0.43253 | DARK-1900-20200911-16_47_51 | 710.66 | 1697.34 | 0.87421 | 0.38028 | 0.86331 | 0.37733 | 0.67223 | 0.32777 | 399.985 | 337.1724 | 0.84296 | 0.19593 | 6 | 0.5 | 0: Broadleaf | 1599860893.1 | 379.866 | 400.039 | 17.2996 | 13.1514 | 378.612 | 17.4144 | 499.997 | 101.354 | 0.10003 | 25.0134 | 24.2508 | 999.9 | 0 | 0 | 9998.12 | 0 | 0.0015289 | 399.985 | 0.9 | 0.099996 | 0 | 924.053 | 4.9998 | 3674.67 | 3632.58 | 41.062 | 44.5 | 43 | 43.875 | 42.625 | 355.49 | 39.5 | 0 | 83.5 | 0 | 924.1765 | -0.6039 | -6.4325 | 3675.3212 | 15 | 1599860866.6 | 16:47:46 | 1599860863.6 | 1599860866.6 | 63 | -0.036 | 0.002 | 1.255 | -0.115 | 400 | 13 | 0.11 | 0.02 | -20.1146 | -0.061216 | 0.027651 | 1 | 924.1965 | -0.075523 | 0.1987 | 1 | 4.1564 | -0.043828 | 0.0055154 | 1 | 3 | 3 | 3/3 | 100 | 100 | 1.254 | -0.1148 | 1.2546 | 0 | 0 | 0 | -0.11482 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 0.5 | 0.4 | 2 | 468.986 | 472.528 | 22.64 | 29.6898 | 30.0001 | 29.7016 | 29.6705 | 21.2899 | -30 | -30 | 22.64 | 400 | 10.1441 | 101.691 | 101.734
8 | 1599861013.6 | 2495.6 | 20200911 16:50:13 | 16:50:13 | 1599861013.6 | 0.00336 | 10.9019 | 385.371 | 311.2151 | 31.5743 | 39.0978 | 0.27184 | 2.9533 | 0.25866 | 0.16279 | 41.2773 | 24.2763 | 24.1484 | 3.0218 | 54.8755 | 1.7348 | 3.1613 | 1.287 | -148.1742 | 120.1308 | 8.5631 | 21.7971 | 25 | 5 | 1 | 0 | 53974.0378 | MPF-1886-20200911-13_52_44 | 10190.3 | 689.2424 | 3449.53 | 2760.2876 | 0.80019 | -1.0144 | MPF-1901-20200911-16_49_50 | 10193.9 | 861.7629 | 2561.66 | 0.66359 | 0.5 | 210.7327 | 10.9019 | 69.9203 | 0.721 | 0.056547 | 0.3466 | DARK-1902-20200911-16_49_52 | 714.71 | 1846.95 | 0.92038 | 0.32465 | 0.90786 | 0.32166 | 0.76333 | 0.23667 | 249.998 | 210.7327 | 0.84294 | 0.19588 | 6 | 0.5 | 0: Broadleaf | 1599861013.6 | 385.371 | 400.007 | 17.0991 | 13.1361 | 384.065 | 17.2138 | 500.001 | 101.355 | 0.10001 | 24.9029 | 24.1484 | 999.9 | 0 | 0 | 10000.6 | 0 | 0.0015289 | 249.998 | 0.90008 | 0.099918 | 0 | 861.146 | 4.9998 | 2134.7 | 2253.23 | 40.5 | 44.25 | 42.562 | 43.687 | 42.187 | 220.52 | 24.48 | 0 | 120.1 | 0 | 861.7629 | -6.4431 | -20.2638 | 2137.3852 | 15 | 1599860951.6 | 16:49:11 | 1599860946.1 | 1599860951.6 | 64 | 0.052 | 0 | 1.307 | -0.115 | 400 | 13 | 0.31 | 0.02 | -14.6251 | -0.2908 | 0.041559 | 1 | 862.1811 | -7.3538 | 0.74902 | 0 | 3.9751 | -0.058819 | 0.0057293 | 1 | 2 | 3 | 2/3 | 100 | 100 | 1.306 | -0.1147 | 1.3066 | 0 | 0 | 0 | -0.11466 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.1 | 1 | 2 | 469.108 | 472.461 | 22.6396 | 29.6847 | 30 | 29.6965 | 29.6666 | 21.2904 | -30 | -30 | 22.64 | 400 | 10.1441 | 101.688 | 101.737
9 | 1599861134.1 | 2616.1 | 20200911 16:52:14 | 16:52:14 | 1599861134.1 | 0.003163 | 6.7538 | 390.411 | 338.1904 | 34.3112 | 39.6092 | 0.25204 | 2.9527 | 0.24067 | 0.1514 | 24.7787 | 24.1467 | 24.0912 | 3.0114 | 54.3328 | 1.7091 | 3.1456 | 1.3023 | -139.4879 | 115.8858 | 8.2565 | 9.4331 | 25 | 5 | 1 | 0 | 53969.9441 | MPF-1886-20200911-13_52_44 | 10190.3 | 689.2424 | 3449.53 | 2760.2876 | 0.80019 | -1.0144 | MPF-1903-20200911-16_51_50 | 10186.1 | 808.9771 | 2633.23 | 0.69278 | 0.5 | 126.5574 | 6.7538 | 43.8383 | 0.72876 | 0.061381 | 0.31 | DARK-1904-20200911-16_51_52 | 714.25 | 1918.98 | 0.95064 | 0.29843 | 0.93841 | 0.29573 | 0.83932 | 0.16068 | 150.146 | 126.5574 | 0.8429 | 0.19579 | 6 | 0.5 | 0: Broadleaf | 1599861134.1 | 390.411 | 399.997 | 16.8456 | 13.1141 | 389.113 | 16.9561 | 500.02 | 101.355 | 0.10013 | 24.8192 | 24.0912 | 999.9 | 0 | 0 | 9996.88 | 0 | 0.0015863 | 150.146 | 0.90015 | 0.099851 | 0 | 808.21 | 4.9998 | 1198.57 | 1334.93 | 40 | 43.937 | 42.125 | 43.375 | 41.75 | 130.65 | 14.49 | 0 | 120 | 0 | 808.9771 | -7.7762 | -11.8338 | 1198.7956 | 15 | 1599861079.1 | 16:51:19 | 1599861066.6 | 1599861079.1 | 65 | -0.008 | 0.004 | 1.298 | -0.11 | 400 | 13 | 0.34 | 0.02 | -9.5359 | -0.21301 | 0.039577 | 1 | 809.4044 | -7.5461 | 0.74093 | 0 | 3.7555 | -0.11766 | 0.011468 | 0 | 1 | 3 | 1/3 | 100 | 100 | 1.298 | -0.1105 | 1.2981 | 0 | 0 | 0 | -0.11042 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.1 | 0.9 | 2 | 468.989 | 472.407 | 22.6398 | 29.6733 | 30 | 29.6888 | 29.6603 | 21.2921 | -30 | -30 | 22.64 | 400 | 10.1441 | 101.692 | 101.738
10 | 1599861254.6 | 2736.6 | 20200911 16:54:14 | 16:54:14 | 1599861254.6 | 0.0029116 | 4.3212 | 393.406 | 353.8879 | 35.9051 | 39.9146 | 0.22699 | 2.9516 | 0.21772 | 0.13688 | 16.4964 | 24.0986 | 24.0382 | 3.0019 | 53.4964 | 1.6763 | 3.1335 | 1.3255 | -128.4016 | 114.0471 | 8.1235 | 10.2654 | 25 | 5 | 1 | 0 | 53951.3011 | MPF-1886-20200911-13_52_44 | 10190.3 | 689.2424 | 3449.53 | 2760.2876 | 0.80019 | -1.0144 | MPF-1905-20200911-16_53_51 | 10182.5 | 776.8615 | 2683.07 | 0.71046 | 0.5 | 84.289 | 4.3212 | 29.9419 | 0.73101 | 0.063301 | 0.28567 | DARK-1906-20200911-16_53_53 | 721.71 | 1961.36 | 0.97188 | 0.28098 | 0.95605 | 0.27767 | 0.90288 | 0.097115 | 100.004 | 84.289 | 0.84286 | 0.19571 | 6 | 0.5 | 0: Broadleaf | 1599861254.6 | 393.406 | 399.966 | 16.5221 | 13.0859 | 392.127 | 16.6357 | 499.999 | 101.359 | 0.10003 | 24.7549 | 24.0382 | 999.9 | 0 | 0 | 9990.62 | 0 | 0.0017296 | 100.004 | 0.8998 | 0.1002 | 0 | 776.621 | 4.9998 | 762.446 | 873.686 | 39.5 | 43.625 | 41.75 | 43.125 | 41.375 | 85.48 | 9.52 | 0 | 120.1 | 0 | 776.8615 | -0.34046 | -1.4035 | 762.7223 | 15 | 1599861189.6 | 16:53:09 | 1599861184.6 | 1599861189.6 | 66 | -0.019 | -0.003 | 1.279 | -0.114 | 400 | 13 | 0.35 | 0.02 | -6.6274 | -0.127 | 0.033008 | 1 | 776.8875 | -0.16501 | 0.1879 | 1 | 3.4614 | -0.14547 | 0.014082 | 0 | 2 | 3 | 2/3 | 100 | 100 | 1.279 | -0.1136 | 1.2786 | 0 | 0 | 0 | -0.11353 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.2 | 1.1 | 2 | 468.896 | 472.272 | 22.6397 | 29.6694 | 30 | 29.6863 | 29.6585 | 21.2939 | -30 | -30 | 22.64 | 400 | 10.1441 | 101.694 | 101.737
11 | 1599861375.1 | 2857.1 | 20200911 16:56:15 | 16:56:15 | 1599861375.1 | 0.0026649 | 1.6956 | 396.705 | 374.491 | 37.9955 | 40.2493 | 0.20252 | 2.9522 | 0.19511 | 0.12259 | 8.261 | 24.0635 | 24.0188 | 2.9984 | 52.6331 | 1.6443 | 3.124 | 1.3541 | -117.5236 | 109.0868 | 7.766 | 7.5901 | 25 | 5 | 1 | 0 | 53976.7067 | MPF-1886-20200911-13_52_44 | 10190.3 | 689.2424 | 3449.53 | 2760.2876 | 0.80019 | -1.0144 | MPF-1907-20200911-16_55_51 | 10178.9 | 743.8495 | 2756.67 | 0.73016 | 0.5 | 42.2709 | 1.6956 | 15.4323 | 0.72741 | 0.064109 | 0.25134 | DARK-1908-20200911-16_55_54 | 751.45 | 2005.22 | 1.0038 | 0.2568 | 0.97359 | 0.25101 | 1.014 | -0.014047 | 50.1603 | 42.2709 | 0.84272 | 0.19543 | 6 | 0.5 | 0: Broadleaf | 1599861375.1 | 396.705 | 400.008 | 16.2063 | 13.0605 | 395.45 | 16.3183 | 500.047 | 101.359 | 0.10002 | 24.7042 | 24.0188 | 999.9 | 0 | 0 | 9993.75 | 0 | 0.0017201 | 50.1603 | 0.89939 | 0.10061 | 0 | 745.241 | 4.9998 | 359.455 | 415.266 | 39.125 | 43.312 | 41.375 | 42.875 | 41 | 40.62 | 4.54 | 0 | 120.1 | 0 | 743.8495 | 10.4788 | 1.9028 | 357.8946 | 15 | 1599861312.1 | 16:55:12 | 1599861309.1 | 1599861312.1 | 67 | -0.024 | 0.001 | 1.255 | -0.112 | 400 | 13 | 0.38 | 0.02 | -3.3377 | 0.18163 | 0.031772 | 1 | 743.2681 | 9.8663 | 0.97104 | 0 | 3.1722 | -0.14342 | 0.013823 | 0 | 1 | 3 | 1/3 | 100 | 100 | 1.255 | -0.112 | 1.2545 | 0 | 0 | 0 | -0.11204 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.1 | 1.1 | 2 | 468.428 | 472.31 | 22.6397 | 29.6719 | 30.0001 | 29.6888 | 29.6629 | 21.2941 | -30 | -30 | 22.64 | 400 | 10.1441 | 101.691 | 101.737
12 | 1599861496 | 2978 | 20200911 16:58:16 | 16:58:16 | 1599861496 | 0.0024549 | -1.2736 | 400.305 | 402.89 | 40.8769 | 40.6146 | 0.18332 | 2.9506 | 0.17722 | 0.11129 | 0.0019948 | 24.006 | 23.9703 | 2.9896 | 51.9248 | 1.6161 | 3.1123 | 1.3736 | -108.2623 | 106.7232 | 7.5974 | 6.0603 | 25 | 5 | 1 | 0 | 53942.7816 | MPF-1909-20200911-16_57_52 | 10179.2 | 681.4712 | 2968.86 | 2287.3888 | 0.77046 | -1.2736 | - | - | 0 | 0 | #DIV/0! | 0.5 | 0.020999 | -1.2736 | #DIV/0! | #DIV/0! | -1.0574e-14 | #DIV/0! | - | 0 | 0 | #DIV/0! | 1 | 0 | 1.2979 | #DIV/0! | #DIV/0! | 0.049998 | 0.020999 | 0.41999 | 0.094997 | 6 | 0.5 | 0: Broadleaf | 1599861496 | 400.305 | 399.956 | 15.9281 | 13.0294 | 399.049 | 16.0385 | 500.05 | 101.359 | 0.10019 | 24.6412 | 23.9703 | 999.9 | 0 | 0 | 9985 | 0 | 0.0016245 | 0.049998 | 0 | 0 | 0 | 684.08 | 0.049998 | 11.12 | 0.52 | 38.625 | 43 | 40.937 | 42.437 | 40.437 | 0 | 0 | 0 | 120 | 0 | 681.4712 | 1.7769 | -0.99231 | 11.6688 | 15 | 1599861432.6 | 16:57:12 | 1599861421.6 | 1599861432.6 | 68 | 0.001 | 0.002 | 1.255 | -0.11 | 400 | 13 | 0.26 | 0.03 | 0.1997 | 0.50801 | 0.055384 | 0 | 681.406 | -0.58412 | 1.8972 | 1 | 2.9203 | -0.11107 | 0.010812 | 0 | 1 | 3 | 1/3 | 100 | 100 | 1.256 | -0.1104 | 1.2555 | 0 | 0 | 0 | -0.11037 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 1.2 | 1.1 | 2 | 468.409 | 471.964 | 22.6396 | 29.677 | 30.0001 | 29.6939 | 29.668 | 21.2965 | -30 | -30 | 22.64 | 400 | 10.1441 | 101.69 | 101.741
13 | 1599862875.5 | 4357.5 | 20200911 17:21:15 | 17:21:15 | 1599862875.5 | 0.0015852 | -1.2695 | 400.745 | 410.2805 | 41.6254 | 40.658 | 0.10696 | 2.9534 | 0.10485 | 0.065718 | 0.0019948 | 24.027 | 23.9441 | 2.9849 | 48.2952 | 1.4848 | 3.0745 | 1.5001 | -69.9081 | 78.4665 | 5.5741 | 14.1345 | 26 | 5 | 1 | 0 | 54062.244 | MPF-1910-20200911-17_20_52 | 10184.4 | 668.6328 | 3168.53 | 2499.8972 | 0.78898 | -1.2695 | - | - | 0 | 0 | #DIV/0! | 0.5 | 0.020999 | -1.2695 | #DIV/0! | #DIV/0! | 2.1148e-13 | #DIV/0! | - | 0 | 0 | #DIV/0! | 1 | 0 | 1.2675 | #DIV/0! | #DIV/0! | 0.049998 | 0.020999 | 0.41999 | 0.094997 | 6 | 0.5 | 0: Broadleaf | 1599862875.5 | 400.745 | 399.984 | 14.6352 | 12.7609 | 399.376 | 14.7455 | 500.032 | 101.356 | 0.10004 | 24.4369 | 23.9441 | 999.9 | 0 | 0 | 10001.2 | 0 | 0.0015289 | 0.049998 | 0 | 0 | 0 | 665.99 | 0.049998 | -3.33 | -2.17 | 36.312 | 40.875 | 38.625 | 40.437 | 38.25 | 0 | 0 | 0 | 1378.8 | 0 | 668.6328 | -3.2592 | -16.9815 | -0.4804 | 15 | 1599862894 | 17:21:34 | 1599862894 | 1599861432.6 | 69 | 0.114 | 0.002 | 1.369 | -0.11 | 400 | 13 | 0.66 | 0.03 | 0.61576 | 0.10519 | 0.032607 | 1 | 668.69 | -0.40803 | 1.9261 | 1 | 1.8786 | -0.00069715 | 0.0022601 | 1 | 3 | 3 | 3/3 | 100 | 100 | 1.369 | -0.1103 | 1.2555 | 0 | 0 | 0 | -0.11037 | 0 | 0 | 0 | -1 | -1 | -1 | -1 | 24.2 | 24 | 2 | 467.664 | 471.265 | 22.6399 | 29.6336 | 30.0001 | 29.6607 | 29.6374 | 21.3063 | -30 | -30 | 22.64 | 400 | 10.1441 | 101.693 | 101.762

## Remarks
File opened | 2020-09-11 16:04:55
Console s/n | 68C-811876
Console ver | Bluestem v.1.4.05
Scripts ver | 2020.04 1.4.05, May 2020
Head s/n | 68H-711866
Head ver | 1.4.2
Head cal | {"co2aspan2": "-0.0274214", "h2obspan2a": "0.0949969", "h2obspan2b": "0.102394", "h2oaspan1": "1.07388", "oxygen": "21", "flowazero": "0.27548", "h2obspan2": "0", "co2bzero": "0.94549", "co2bspanconc2": "298.9", "flowmeterzero": "0.986842", "h2oaspan2a": "0.0954223", "co2bspan2a": "0.194368", "tazero": "0.0398865", "tbzero": "0.120966", "chamberpressurezero": "2.6539", "ssb_ref": "35601.5", "co2aspanconc1": "993", "ssa_ref": "39980.7", "h2oaspanconc2": "0", "flowbzero": "0.30576", "h2obspan1": "1.07787", "h2obzero": "1.03183", "co2bspan2": "-0.0290863", "h2oaspan2": "0", "co2aspan2b": "0.187145", "h2obspanconc1": "19.41", "co2bspan1": "0.961123", "co2bspanconc1": "993", "h2oazero": "1.03102", "h2oaspanconc1": "19.41", "h2oaspan2b": "0.102472", "co2azero": "0.914258", "h2obspanconc2": "0", "co2bspan2b": "0.185713", "co2aspanconc2": "298.9", "co2aspan2a": "0.195868", "co2aspan1": "0.960839"}
Chamber type | 6800-01A
Chamber s/n | MPF-831667
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-831667
Flr. Version | 1.4.2
16:04:55 | Stability Definition: ΔH2O (Meas2): Slp<0.1 Per=20 ΔCO2 (Meas2): Slp<0.5 Per=20 F (FlrLS): Slp<1 Per=20