## Metadata
Mass Spectrometer Files
File | File start time | File end time | Time file loaded | No of data points | No of channels | Channels | Samples
D:/Agilent/ICPMH/1/DATA/Anna S/20231122_PN_TEST1.b/001SMPL.d/001SMPL.csv | 2023-11-22 16:55:29.000 | 2023-11-22 17:25:51.208 | 2023-11-23 09:10:05.614 | 1917 | 20 | Li7,Na23,Mg24,P31,K39,Ca43,Cr52,Mn55,Fe56,Co59,Ni60,Cu63,Zn66,Rb85,Sr88,Ag107,Cd111,Ba138,Hg202,Pb208 | 001SMPL.d
Laser Log Files
File | File start time | File end time | Time file loaded | Samples | Offset (s) | Widths
C:/Users/admin/Desktop/MouseWithoutBorders/LaserLog_23-11-22_17-05-41.csv | 2023-11-22 17:05:41.337 | 2023-11-22 17:35:02.374 | 2023-11-23 09:10:22.803 | NIST610_01,NIST610_04,NIST612_01,NIST610_02,NIST612_02,PNAD_07_5,PNAD_07_10,NIST612_03,NIST612_04,NIST610_03 | -621.2381 | 5,10

## DRS Settings
Data Reduction Scheme Settings
3D Trace Elements
AffinityCorrection | FALSE
BeamSecondsChannel | Li7
BeamSecondsMethod | Laser log
BeamSecondsValue | 1000
BlockFindingMethod | Simple
ISCriteria
IndexChannel | Li7
Mask | FALSE
MaskChannel | Li7
MaskCutoff | 0.1
MaskMethod | Laser log
MaskTrim | 0
MasterExternal | G_NIST612
NClusters | -1
NormalizeExternals | TRUE
SplineType | LinearFit
UseIntStds | TRUE
UseIonizationEnergies | FALSE
Baseline Subtract
IndexChannel | TotalBeam
MaskChannel | TotalBeam
MaskCutoff | 0
MaskMethod | Cutoff
MaskResults | TRUE
MaskTrim | 0
VizualAge UComPbine
238U/235U | 137.818
BeamSecondsMaximum | 60
BeamSecondsMethod | Laser log
BeamSecondsSensitivity | 100000
CommonPbComposition | Reference material
CommonPbCompositionText
CommonPbMethod | ²⁰⁷Pb
DefaultFitType | Exponential
IndexChannel | U238
MaskChannel | U238
MaskCutoff | 1000
MaskMethod | Laser log
MaskResults | TRUE
MaskTrim | 0
PbPbReferenceMaterial | None
PbPbReferenceValue | 0
RMForPbPbErrorProp
ReferenceMaterial | Z_91500
UIsotopeCutoff | 2000000
UIsotopeMode | U238
UseAverage | FALSE
UseStaceyKramers | FALSE
l232 | 4.9475e-11
l235 | 9.8485e-10
l238 | 1.5512e-10

## PNAD_07_10 time series data
PNAD_07_10
Absolute Time | Elapsed Time | X | Y | Li7_ppm | Na23_ppm | Mg24_ppm | P31_ppm | K39_ppm | Ca43_ppm | Cr52_ppm | Mn55_ppm | Fe56_ppm | Co59_ppm | Ni60_ppm | Cu63_ppm | Zn66_ppm | Rb85_ppm | Sr88_ppm | Ag107_ppm | Cd111_ppm | Ba138_ppm | Pb208_ppm
2023-11-22 17:11:12.465 | 0 | 36131.2966 | 22839.8956 | 4.8795 | 3780.1539 | 12.1839 | 60.5281 | 779.0863 | 388000 | 0.6292 | 4.9813 | 4.7399 | 0.2368 | 0.23343 | 0.12599 | 139.8799 | 0.092652 | 948.6309 | -0.015654 | 0.20831 | 6.059 | 0.027178
2023-11-22 17:11:13.416 | 0.9509 | 36125.2787 | 22847.2497 | 1.1863 | 4110.5189 | 14.6704 | -4.9844 | 742.6073 | 388000 | 0.76457 | 4.657 | 8.6059 | 0.081387 | -0.17654 | 0.18002 | 126.2338 | 0.25096 | 957.7506 | 0.021316 | 0.66725 | 4.9509 | -0.23128
2023-11-22 17:11:14.367 | 1.9019 | 36119.2602 | 22854.6045 | -0.22628 | 3490.763 | 7.2934 | 8.7761 | 712.0471 | 388000 | 0.75126 | 5.1132 | -4.9129 | 0.036454 | 0.0081323 | -0.16468 | 90.9262 | -0.082333 | 882.2544 | -0.011256 | 0.15022 | 5.9572 | -0.12593
2023-11-22 17:11:15.318 | 2.853 | 36113.241 | 22861.9601 | -1.5159 | 3504.3827 | 12.0721 | 49.3845 | 798.0638 | 388000 | 0.39891 | 5.6955 | 2.2126 | 0.10658 | 0.0083639 | 0.027949 | 111.7246 | 0.068635 | 921.6751 | -0.01159 | -0.063141 | 4.7107 | -0.035971
2023-11-22 17:11:16.269 | 3.804 | 36107.2224 | 22869.3149 | -3.0076 | 4159.0478 | 11.6659 | 14.5463 | 796.823 | 388000 | 0.73576 | 4.5834 | 2.8081 | 0.1331 | 0.1859 | 0.10089 | 96.3172 | -0.09116 | 840.9238 | -0.012451 | 0.16657 | 2.4714 | 0.0016557
2023-11-22 17:11:17.220 | 4.755 | 36101.2039 | 22876.6698 | -0.74122 | 3799.891 | 13.2562 | 80.9068 | 809.6571 | 388000 | 0.45535 | 5.4492 | 9.284 | 0.19786 | 0.19485 | 0.031758 | 82.8644 | 0.42299 | 919.8365 | -0.01305 | -0.070801 | 3.7016 | 0.0017732
2023-11-22 17:11:18.171 | 5.706 | 36095.1853 | 22884.0246 | 0.20962 | 3526.3324 | 12.7248 | 0.10803 | 804.6223 | 388000 | 2.6771 | 6.4561 | 5.9296 | 0.076041 | 0.35586 | -0.1089 | 86.0072 | -0.089452 | 931.1194 | -0.012211 | 0.1637 | 4.9654 | -0.11682
2023-11-22 17:11:19.122 | 6.6571 | 36089.1662 | 22891.3802 | 0.70068 | 3941.2113 | 14.831 | 65.1796 | 793.6492 | 388000 | 1.5525 | 11.4665 | -2.1879 | 0.13831 | -0.17447 | 0.32555 | 102.2758 | 0.41907 | 965.5974 | 0.021072 | -0.31315 | 5.8692 | -0.039997
2023-11-22 17:11:20.073 | 7.6081 | 36083.1476 | 22898.735 | 4.0232 | 3697.1414 | 10.4758 | -13.2409 | 746.3899 | 388000 | 0.89642 | 12.0464 | 16.3377 | 0.15732 | 0.0082449 | 0.15903 | 116.9001 | 0.068063 | 832.3784 | -0.041747 | -0.061976 | 3.0448 | -0.072751
2023-11-22 17:11:21.024 | 8.5591 | 36077.1291 | 22906.0899 | 1.0106 | 3268.222 | 9.2104 | 68.6791 | 785.7297 | 388000 | 0.52261 | 10.2264 | 1.5778 | 0.10197 | 0.0079236 | -0.16124 | 70.2846 | 0.35873 | 771.4909 | 0.018037 | 0.3571 | 2.3021 | -0.12369
2023-11-22 17:11:21.975 | 9.5101 | 36071.1105 | 22913.4447 | 1.1353 | 3624.3669 | 11.3159 | 67.4796 | 812.0872 | 388000 | 1.6825 | 9.3303 | 1.9802 | 0.021951 | 0.0088809 | -0.11027 | 128.4283 | -0.091079 | 804.015 | -0.01243 | -0.30045 | 1.4088 | -0.078513
2023-11-22 17:11:22.926 | 10.4612 | 36065.0913 | 22920.8003 | 3.4792 | 3990.3438 | 10.1527 | 73.3227 | 750.7901 | 388000 | 0.16957 | 7.4393 | -8.7732 | 0.059815 | 0.36708 | 0.031453 | 86.55 | 0.24139 | 844.8795 | -0.04574 | 0.64386 | 2.1436 | 0.18533
2023-11-22 17:11:23.877 | 11.4122 | 36059.0728 | 22928.1551 | 1.7864 | 3075.6149 | 9.8359 | 41.9508 | 684.5135 | 388000 | 0.92194 | 3.0436 | -5.8529 | 0.11563 | 0.0076974 | -0.034274 | 74.1858 | 0.063849 | 787.7929 | -0.039211 | 0.34879 | 2.1438 | 0.071552
2023-11-22 17:11:24.828 | 12.3631 | 36053.0549 | 22935.5092 | -5.2364 | 3965.7366 | 20.0584 | 115.0141 | 812.1998 | 388000 | 1.2416 | 4.4644 | -4.8454 | 0.18449 | 0.39267 | 0.26363 | 104.2728 | -0.098864 | 1047.9572 | -0.013501 | -0.071815 | 3.3131 | -0.063256
2023-11-22 17:11:25.779 | 13.3142 | 36047.0357 | 22942.8648 | 0.65267 | 3963.1879 | 14.9155 | -4.4547 | 740.1213 | 388000 | -0.23907 | 3.3579 | 4.041 | 0.10987 | 0.0084675 | 0.16547 | 92.1669 | 0.22822 | 910.6614 | -0.011941 | -0.28754 | 3.4919 | 0.0019279
2023-11-22 17:11:26.730 | 14.2652 | 36041.0171 | 22950.2196 | 3.3453 | 3320.7344 | 9.4417 | -16.3888 | 720.0251 | 388000 | 0.25777 | 1.4276 | -0.051886 | 0.11436 | 0.0075757 | 0.14837 | 75.175 | 0.34585 | 1034.3457 | 0.045434 | 0.74689 | 2.6238 | -0.015505
2023-11-22 17:11:27.681 | 15.2163 | 36034.9979 | 22957.5752 | 0.67222 | 3566.2295 | 15.3147 | -42.469 | 843.7415 | 388000 | -0.02068 | 4.3541 | -5.3345 | 0.058206 | 0.35634 | -0.24678 | 98.8743 | -0.089776 | 1008.3109 | 0.052058 | 0.39568 | 3.1226 | -0.077086
2023-11-22 17:11:28.632 | 16.1672 | 36028.98 | 22964.9293 | -2.5343 | 3941.9288 | 12.978 | 38.7912 | 807.1903 | 388000 | 1.0572 | 5.6634 | -0.39585 | 0.096391 | 0.18581 | 0.7394 | 102.8299 | 0.23854 | 1100.0548 | 0.020242 | -0.065774 | 3.5328 | -0.038163
2023-11-22 17:11:29.583 | 17.1183 | 36022.9608 | 22972.2849 | -0.67188 | 3764.0001 | 16.6946 | -88.6593 | 800.7481 | 388000 | 1.3026 | 5.0414 | -4.7672 | 0.12939 | 0.18005 | 0.51097 | 61.9881 | -0.088614 | 1059.0865 | -0.012134 | -0.0636 | 2.5102 | -0.11503
2023-11-22 17:11:30.534 | 18.0693 | 36016.9423 | 22979.6397 | 2.7647 | 3520.6429 | 14.7327 | -13.212 | 850.9036 | 388000 | 1.3968 | 1.3999 | 7.1487 | 0.10642 | 0.33572 | 0.095219 | 61.1944 | 0.5261 | 1038.6413 | -0.011599 | -0.27752 | 2.7242 | 0.039313
2023-11-22 17:11:31.485 | 19.0204 | 36010.9231 | 22986.9953 | 4.1443 | 3776.0007 | 18.2669 | -15.1321 | 830.6848 | 388000 | 1.9261 | -0.5148 | -2.8764 | 0.062959 | 0.0093063 | -0.26587 | 58.6692 | -0.096996 | 1186.3157 | -0.048033 | -0.069285 | 2.3719 | -0.018993
2023-11-22 17:11:32.436 | 19.9713 | 36004.9052 | 22994.3493 | 3.5271 | 4290.8134 | 16.6122 | 10.0932 | 830.5315 | 388000 | 1.3416 | 2.8045 | 4.1648 | 0.17455 | 0.0089613 | 0.033129 | 116.1804 | -0.093551 | 1021.4507 | -0.012843 | -0.066666 | 2.6486 | 0.0023179
2023-11-22 17:11:33.387 | 20.9223 | 35998.8866 | 23001.7042 | -3.2976 | 3490.1071 | 15.8486 | 9.4472 | 757.5143 | 388000 | 1.1992 | 0.85899 | 6.5975 | 0.039096 | 0.34687 | -0.17187 | 52.9097 | -0.087507 | 1040.2745 | 0.081937 | -0.062212 | 1.8011 | 0.15629
2023-11-22 17:11:34.338 | 21.8734 | 35992.8674 | 23009.0598 | 3.2214 | 3854.3088 | 12.2152 | 31.4446 | 879.6327 | 388000 | 0.91641 | 2.6228 | 1.169 | 0.26379 | 0.58118 | 0.33993 | 101.428 | -0.098559 | 1191.4819 | 0.021712 | -0.32232 | 3.9312 | 0.024208
2023-11-22 17:11:35.289 | 22.8244 | 35986.8489 | 23016.4146 | 2.6252 | 4197.7004 | 15.8235 | -14.769 | 801.5947 | 388000 | 0.022743 | 0.93145 | 6.1355 | 0.13858 | -0.17441 | 0.033989 | 75.2522 | 0.58919 | 949.4822 | 0.020883 | -0.067141 | 2.4407 | 0.085973
2023-11-22 17:11:36.240 | 23.7754 | 35980.8303 | 23023.7694 | 1.5494 | 3677.7335 | 11.8318 | 88.3328 | 847.7044 | 388000 | 0.64714 | 2.6338 | 7.0873 | 0.164 | 0.17829 | -0.03632 | 53.1191 | 0.070497 | 881.9445 | -0.01212 | -0.2871 | 2.6 | -0.075035
2023-11-22 17:11:37.191 | 24.7264 | 35974.8118 | 23031.1242 | -0.21189 | 3570.3513 | 11.9294 | 104.9957 | 789.524 | 388000 | 0.083424 | 2.0073 | 3.1641 | 0.056158 | 0.1751 | -0.03555 | 66.4232 | 0.69157 | 848.9978 | 0.018964 | 0.38127 | 1.7761 | 0.059286
2023-11-22 17:11:38.142 | 25.6775 | 35968.7926 | 23038.4799 | -1.2473 | 4073.1471 | 15.2273 | 84.5986 | 860.4604 | 388000 | 0.80791 | 2.8255 | 5.5375 | 0.18642 | 0.009479 | 0.11338 | 36.809 | 0.26006 | 918.5615 | -0.013813 | 0.18552 | 2.9544 | -0.041237
2023-11-22 17:11:39.093 | 26.6285 | 35962.7741 | 23045.8347 | 0.24889 | 4115.6173 | 13.2653 | 106.661 | 722.4872 | 388000 | 1.5242 | 1.91 | 6.1611 | 0.12087 | 0.009098 | 0.18331 | 55.7519 | 0.076948 | 831.9157 | -0.013298 | 0.42427 | 0.98683 | 0.087119
2023-11-22 17:11:40.044 | 27.5795 | 35956.7555 | 23053.1895 | -2.5334 | 3180.2475 | 14.6857 | 43.9773 | 735.1199 | 388000 | 1.1578 | 2.1399 | -0.39939 | 0.097237 | 0.36447 | 0.17583 | 31.7417 | 0.073738 | 795.6438 | 0.020153 | 0.6424 | 1.893 | 0.002567
2023-11-22 17:11:40.995 | 28.5305 | 35950.737 | 23060.5443 | -2.1995 | 3599.4791 | 16.9995 | 20.9385 | 733.6127 | 388000 | 0.9732 | 1.9455 | 10.6772 | 0.20239 | 0.0092386 | -0.11525 | 47.5553 | 0.078329 | 875.0674 | -0.048564 | 0.18204 | 1.3824 | 0.0027658
2023-11-22 17:11:41.946 | 29.4815 | 35944.7184 | 23067.8992 | 3.0747 | 3768.4661 | 12.6317 | 49.8267 | 782.6377 | 388000 | 0.95781 | 2.6553 | 4.4222 | 0.099231 | -0.17255 | 0.034546 | 23.521 | 0.4134 | 745.065 | -0.013065 | -0.30569 | 1.2061 | -0.05924
2023-11-22 17:11:42.897 | 30.4326 | 35938.6992 | 23075.2548 | -2.441 | 3419.1002 | 7.8304 | 33.0914 | 801.1779 | 388000 | 1.3418 | 0.42563 | -2.5057 | 0.1119 | 0.35162 | 0.30725 | 26.439 | 0.3911 | 718.7407 | 0.14643 | -0.061751 | 2.1692 | -0.13413
2023-11-22 17:11:43.848 | 31.3836 | 35932.6807 | 23082.6096 | 4.3198 | 3167.5262 | 10.5393 | 105.1433 | 791.6995 | 388000 | 1.247 | 3.4638 | 7.4288 | 0.15038 | 0.0084932 | 0.31252 | 37.5223 | 0.39763 | 758.3618 | -0.044909 | -0.29378 | 1.3925 | -0.037055
2023-11-22 17:11:44.799 | 32.3346 | 35926.6621 | 23089.9644 | 2.897 | 4122.9603 | 15.5285 | 182.0903 | 846.3374 | 388000 | 1.1897 | 1.551 | 0.57726 | 0.068134 | 0.21142 | 0.28064 | 33.5183 | -0.10447 | 812.1028 | -0.051917 | -0.072239 | 2.1457 | 0.0031141
2023-11-22 17:11:45.750 | 33.2856 | 35920.6436 | 23097.3192 | 1.1698 | 3399.3502 | 11.3945 | 63.4502 | 755.2501 | 388000 | -0.0079767 | 2.4485 | -2.8126 | 0.060113 | -0.16916 | 0.24759 | 33.8922 | -0.092138 | 691.406 | -0.012903 | -0.063567 | 1.0637 | 0.063475
2023-11-22 17:11:46.702 | 34.2367 | 35914.6244 | 23104.6748 | 2.9892 | 3647.0847 | 8.3578 | 86.8981 | 816.1912 | 388000 | -0.14639 | 12.6714 | -1.3672 | 0.15183 | 0.18459 | 0.17494 | 31.4159 | 0.23702 | 787.5024 | 0.019779 | 0.6368 | 1.7565 | -0.037278
2023-11-22 17:11:47.653 | 35.1877 | 35908.6058 | 23112.0297 | 1.2324 | 4074.1068 | 7.4937 | 25.8865 | 820.0368 | 388000 | 1.0691 | 3.2244 | 2.1354 | 0.23963 | -0.1779 | 0.036425 | 56.1593 | 0.25166 | 764.5641 | 0.055571 | 0.18106 | 1.8651 | -0.10336
2023-11-22 17:11:48.604 | 36.1387 | 35902.5873 | 23119.3845 | -0.68689 | 3688.3562 | 8.2616 | 79.5121 | 763.8079 | 388000 | 1.7027 | 0.76465 | 0.77631 | 0.061329 | 0.55198 | 0.035415 | 34.5195 | 0.24374 | 730.9956 | 0.020286 | -0.064344 | 1.3245 | 0.064759
2023-11-22 17:11:49.555 | 37.0897 | 35896.5687 | 23126.7393 | 2.0205 | 3094.8723 | 6.8635 | 84.5601 | 768.7758 | 388000 | 1.8287 | 0.72322 | 1.7214 | 0.058026 | 0.0082622 | -0.034836 | 34.7297 | 0.070834 | 740.4459 | 0.050844 | 0.16609 | 1.5944 | -0.03615
2023-11-22 17:11:50.506 | 38.0407 | 35890.5502 | 23134.0942 | -2.7771 | 4024.7487 | 8.9406 | 53.9459 | 782.6733 | 388000 | 0.456 | 4.7419 | 0.87776 | 0.12807 | -0.18652 | 0.27363 | 32.5767 | -0.10165 | 858.3388 | -0.014379 | -0.32893 | 2.9986 | 0.0032652
2023-11-22 17:11:51.457 | 38.9917 | 35884.5316 | 23141.449 | 2.7284 | 4082.7516 | 10.3869 | 114.2457 | 778.3925 | 388000 | -0.012246 | 12.3119 | -4.2846 | 0.06424 | 0.0091101 | -0.18963 | 40.7133 | 0.078298 | 692.9235 | -0.048969 | -0.066871 | 2.5193 | 0.067829
2023-11-22 17:11:52.408 | 39.9428 | 35878.5125 | 23148.8046 | 1.1439 | 3591.4749 | 10.1135 | 47.5746 | 837.7825 | 388000 | 1.6549 | 20.237 | -3.9907 | 0.16727 | 0.0082988 | -0.17287 | 89.8115 | -0.089628 | 708.8281 | -0.012735 | -0.060881 | 2.5282 | -0.095325
2023-11-22 17:11:53.359 | 40.8938 | 35872.4939 | 23156.1594 | -0.22455 | 3789.3923 | 10.5748 | 63.6477 | 851.6092 | 388000 | 1.2311 | 18.3967 | 0.086802 | 0.1665 | 0.20202 | 0.26959 | 111.9873 | -0.10004 | 772.1663 | -0.014247 | 0.18755 | 1.9233 | -0.04054
2023-11-22 17:11:54.310 | 41.8448 | 35866.4754 | 23163.5142 | -0.74317 | 4531.8531 | 12.6808 | -53.6682 | 794.0554 | 388000 | 0.40481 | 21.977 | 3.062 | 0.21242 | -0.18838 | 0.11866 | 98.0481 | -0.1027 | 876.44 | -0.01466 | 0.45474 | 2.7643 | -0.041569
2023-11-22 17:11:55.261 | 42.7958 | 35860.4568 | 23170.8691 | 0.74197 | 3714.0304 | 8.0347 | 40.5509 | 786.173 | 388000 | -0.71571 | 12.0939 | -1.4476 | 0.10089 | 0.19232 | -0.18328 | 75.2805 | 0.075836 | 789.8425 | -0.047602 | 0.17883 | 3.4194 | -0.08029
2023-11-22 17:11:56.212 | 43.7469 | 35854.4376 | 23178.2247 | 2.0536 | 3594.3528 | 12.7162 | 109.4732 | 770.8941 | 388000 | 1.6327 | 6.4566 | 5.4237 | 0.040835 | 0.52855 | -0.10372 | 60.5561 | 0.071643 | 829.9191 | 0.019181 | -0.060638 | 3.0002 | -0.056098
2023-11-22 17:11:57.163 | 44.6978 | 35848.4197 | 23185.5787 | 2.7831 | 3947.9864 | 14.4836 | 47.8649 | 728.8188 | 388000 | 0.66831 | 11.3573 | -2.9055 | 0.12619 | 0.77989 | -0.19212 | 53.1782 | 0.07958 | 817.2268 | -0.014388 | -0.32248 | 2.0506 | -0.084209
2023-11-22 17:11:58.114 | 45.6489 | 35842.4005 | 23192.9343 | 0.75256 | 3811.0914 | 13.5887 | -4.6408 | 633.6652 | 388000 | 0.53948 | 4.9685 | 3.1705 | 0.082563 | -0.1765 | 0.037602 | 33.0673 | 0.076529 | 781.0108 | -0.013876 | -0.31005 | 4.5631 | 0.087735
2023-11-22 17:11:59.065 | 46.5999 | 35836.382 | 23200.2892 | -2.1772 | 3456.1935 | 13.5121 | 21.1298 | 736.5211 | 388000 | 0.27152 | 5.725 | 1.8658 | 0.1437 | 0.38707 | -0.11265 | 42.9522 | 0.2543 | 775.7604 | -0.049181 | -0.31614 | 2.6411 | -0.039524
2023-11-22 17:12:00.016 | 47.5509 | 35830.3634 | 23207.644 | -0.22274 | 4360.9038 | 13.4585 | 33.0669 | 730.9902 | 388000 | 0.72075 | 9.6344 | 5.3973 | 0.23422 | -0.18912 | 0.35807 | 37.8486 | 0.63735 | 774.2355 | 0.0218 | 0.45719 | 1.981 | -0.041471
2023-11-22 17:12:00.967 | 48.502 | 35824.3442 | 23214.9996 | 3.0848 | 3310.8638 | 12.9204 | 25.1689 | 648.6758 | 388000 | 1.633 | 4.3757 | -4.273 | 0.19433 | 0.18933 | 0.32612 | 47.6849 | -0.093939 | 751.5995 | 0.053265 | 0.17688 | 1.4426 | 0.065116
2023-11-22 17:12:01.918 | 49.453 | 35818.3257 | 23222.3544 | 0.27646 | 3434.8689 | 12.596 | 25.8842 | 682.2516 | 388000 | 0.019957 | 3.3689 | -1.582 | 0.063465 | 0.19462 | 0.3354 | 58.086 | -0.096587 | 845.3395 | -0.014071 | -0.064218 | 0.98824 | 0.066978
2023-11-22 17:12:02.869 | 50.404 | 35812.3071 | 23229.7092 | -3.5336 | 3191.0859 | 14.4518 | 75.6879 | 658.7237 | 388000 | 0.96786 | 0.93565 | 12.5559 | 0.081831 | 0.0086649 | 0.33088 | 25.9922 | 0.24646 | 840.4026 | -0.013916 | 0.17956 | 0.85257 | -0.017313
2023-11-22 17:12:03.820 | 51.355 | 35806.2886 | 23237.0641 | -3.1817 | 3348.8386 | 13.6269 | 41.0809 | 617.2147 | 388000 | 1.0825 | 0.98624 | 3.8117 | 0.073743 | 0.0077934 | 0.034213 | 23.4119 | -0.085821 | 675.9701 | 0.017979 | -0.2755 | 0.98767 | 0.003219
2023-11-22 17:12:04.771 | 52.3061 | 35800.2694 | 23244.4197 | -1.1499 | 2845.4449 | 17.131 | 5.4821 | 644.6969 | 388000 | 1.2446 | 1.2522 | 3.2812 | 0.21601 | 0.19157 | -0.18136 | 28.1803 | -0.095138 | 768.1983 | 0.019886 | -0.30524 | 1.3383 | -0.038025
2023-11-22 17:12:05.722 | 53.2571 | 35794.2509 | 23251.7745 | 2.1777 | 3069.4321 | 12.4042 | 45.5702 | 613.3785 | 388000 | 1.4785 | 2.206 | 1.2534 | 0.10102 | 0.37461 | -0.10812 | 23.7245 | 0.075451 | 779.7514 | 0.08759 | -0.30521 | 1.2168 | 0.10775
2023-11-22 17:12:06.673 | 54.208 | 35788.2329 | 23259.1285 | 6.4888 | 3117.286 | 10.9792 | -22.9919 | 583.1983 | 388000 | 0.73864 | 2.0652 | 0.66403 | 0.040734 | 0.0080534 | 0.035882 | 15.9418 | 0.23035 | 659.3365 | -0.044874 | 0.16832 | 1.2531 | -0.016046
2023-11-22 17:12:07.624 | 55.1591 | 35782.2138 | 23266.4841 | -0.64416 | 3121.5738 | 9.3053 | 0.4768 | 617.2429 | 388000 | 1.142 | 2.2688 | 8.7959 | 0.078578 | 0.0082402 | 0.3176 | 33.461 | -0.091331 | 689.1365 | 0.051447 | -0.059979 | 1.5178 | 0.023537
2023-11-22 17:12:08.575 | 56.1101 | 35776.1952 | 23273.839 | 1.8781 | 3401.0249 | 9.1929 | 11.5909 | 722.1568 | 388000 | 0.43612 | 3.4792 | 2.7059 | 0.17472 | 0.0094449 | -0.27971 | 43.3232 | 0.27091 | 774.54 | -0.015584 | -0.33568 | 2.1446 | -0.13341
2023-11-22 17:12:09.526 | 57.0611 | 35770.1767 | 23281.1938 | 3.1066 | 3230.8586 | 9.2855 | 99.922 | 599.5666 | 388000 | 0.72849 | 7.3889 | -7.124 | 0.062297 | 0.0084947 | -0.1067 | 19.102 | -0.094456 | 651.7452 | -0.014081 | -0.30224 | 1.3276 | 0.12765
2023-11-22 17:12:10.477 | 58.0121 | 35764.1581 | 23288.5486 | 3.2209 | 3241.9922 | 12.75 | 46.9032 | 666.3167 | 388000 | 1.2323 | 1.7784 | 2.8945 | 0.14347 | -0.17931 | -0.11045 | 42.7365 | -0.097913 | 652.9912 | -0.049457 | -0.31313 | 2.002 | 0.11094
2023-11-22 17:12:11.428 | 58.9632 | 35758.1389 | 23295.9042 | 0.27598 | 3162.5273 | 8.7907 | 5.3956 | 679.4575 | 388000 | 1.4158 | 0.75698 | -1.4391 | 0.061265 | 0.008319 | -0.10454 | 29.6301 | -0.092803 | 738.3151 | -0.046913 | -0.060459 | 1.5413 | 0.12544
2023-11-22 17:12:12.379 | 59.9142 | 35752.1204 | 23303.2591 | 1.7193 | 3474.1169 | 12.4713 | -4.5037 | 640.8858 | 388000 | 0.81026 | 1.8996 | 4.4738 | 0.024706 | 0.37655 | 0.18645 | 21.6084 | -0.095804 | 674.7318 | 0.053696 | -0.30607 | 1.7133 | -0.079804
2023-11-22 17:12:13.330 | 60.8652 | 35746.1018 | 23310.6139 | -6.2216 | 3560.0964 | 10.9579 | 74.7019 | 736.2381 | 388000 | 1.2306 | 3.6733 | 13.3923 | 0.16779 | 0.0089927 | 0.35049 | 17.983 | -0.10064 | 692.6526 | -0.05096 | -0.32136 | 2.7001 | 0.070118
2023-11-22 17:12:14.281 | 61.8162 | 35740.0833 | 23317.9687 | -1.1457 | 3254.6358 | 7.7189 | 45.9526 | 710.8172 | 388000 | 0.43647 | 4.6182 | -0.9454 | 0.12129 | 0.0085539 | 0.11322 | 14.8857 | -0.095888 | 757.3735 | -0.014518 | 0.18181 | 1.5918 | -0.037886
2023-11-22 17:12:15.232 | 62.7672 | 35734.0647 | 23325.3235 | -0.18586 | 3558.6332 | 3.9225 | 65.1955 | 724.3556 | 388000 | 1.2026 | 6.6001 | -5.6974 | 0.17664 | 0.55275 | 0.11173 | 32.3731 | 0.24387 | 695.961 | 0.019227 | -0.30152 | 2.1728 | 0.065907
2023-11-22 17:12:16.183 | 63.7183 | 35728.0455 | 23332.6791 | -0.18557 | 3549.0454 | 7.9775 | 20.5398 | 677.5638 | 388000 | 1.0435 | 14.8587 | -1.9434 | 0.17745 | 0.0084429 | 0.4766 | 43.6253 | 0.24491 | 614.0044 | 0.086724 | -0.30272 | 2.0609 | -0.016698
2023-11-22 17:12:17.134 | 64.6693 | 35722.027 | 23340.034 | -2.0551 | 3416.8015 | 6.8944 | 143.9026 | 729.7692 | 388000 | 0.53907 | 9.3773 | -5.9647 | 0.081116 | 0.72956 | -0.10496 | 60.756 | 0.074175 | 674.8504 | -0.014365 | -0.29942 | 2.7594 | -0.16007
2023-11-22 17:12:18.085 | 65.6203 | 35716.0084 | 23347.3888 | -1.2093 | 3145.0694 | 9.9812 | -36.8182 | 696.7768 | 388000 | 1.4361 | 9.9766 | 0.0054229 | 0.25141 | 0.0090121 | -0.035434 | 53.8396 | 0.080241 | 759.521 | -0.051707 | -0.065352 | 1.6869 | 0.11537
2023-11-22 17:12:19.036 | 66.5713 | 35709.9899 | 23354.7436 | -0.73244 | 3697.5598 | 12.3002 | 0.65224 | 708.4508 | 388000 | 1.012 | 12.0068 | 1.4545 | 0.049018 | 0.0093943 | 0.12599 | 36.3357 | 0.083751 | 725.5925 | 0.059057 | 0.20175 | 2.4389 | 0.16681
2023-11-22 17:12:19.987 | 67.5224 | 35703.9707 | 23362.0992 | -4.8314 | 3130.9777 | 10.1629 | 20.2391 | 590.3552 | 388000 | 0.97547 | 6.8315 | -0.70664 | 0.21227 | 0.0082555 | 0.039356 | 40.7204 | -0.093447 | 592.5186 | -0.047606 | 1.1276 | 3.2202 | 0.10606
2023-11-22 17:12:20.938 | 68.4734 | 35697.9522 | 23369.4541 | 1.2576 | 2937.3801 | 11.1682 | 61.4586 | 638.3644 | 388000 | 1.2848 | 4.3188 | 7.6443 | 0.044592 | 0.56325 | 0.11466 | 28.4816 | 0.24846 | 668.0292 | -0.014939 | -0.30665 | 3.4455 | -0.12194
2023-11-22 17:12:21.889 | 69.4243 | 35691.9342 | 23376.8081 | 2.9919 | 3471.5417 | 10.488 | 118.7494 | 638.5848 | 388000 | 1.5214 | 6.3897 | 10.1245 | 0.092458 | 0.2144 | 0.12726 | 51.5727 | 0.084254 | 707.5382 | -0.01662 | -0.068201 | 2.0455 | -0.041853
2023-11-22 17:12:22.840 | 70.3754 | 35685.9151 | 23384.1637 | 5.3573 | 3067.1923 | 11.377 | 102.8511 | 505.6342 | 388000 | 0.68923 | 4.9169 | -3.0585 | 0.061499 | -0.16937 | 0.25226 | 20.8474 | -0.092596 | 640.3182 | -0.047303 | -0.058961 | 1.6532 | -0.096789
2023-11-22 17:12:23.791 | 71.3264 | 35679.8965 | 23391.5185 | -2.6656 | 2885.8269 | 13.6576 | 136.9386 | 549.6138 | 388000 | 0.15332 | 2.3067 | 0.59012 | 0.046212 | 0.0087497 | -0.033883 | 22.44 | 0.43489 | 730.7957 | -0.015603 | -0.063359 | 0.38032 | -0.12588
2023-11-22 17:12:24.742 | 72.2775 | 35673.8773 | 23398.8741 | 0.3232 | 3036.158 | 15.6214 | -15.6197 | 505.06 | 388000 | 0.86585 | -0.015741 | 1.1761 | 0.11024 | -0.18902 | -0.11417 | 20.847 | 0.26609 | 736.4356 | 0.093766 | -0.32805 | 0.39426 | -0.17552
2023-11-22 17:12:25.693 | 73.2284 | 35667.8594 | 23406.2282 | -0.1771 | 3692.188 | 11.1589 | 96.9657 | 545.8729 | 388000 | 1.2128 | 1.1081 | 1.5849 | 0.10287 | 0.1932 | 0.18909 | 21.6981 | -0.09642 | 651.2492 | 0.053206 | -0.061063 | 1.4747 | 0.046501
2023-11-22 17:12:26.644 | 74.1795 | 35661.8402 | 23413.5838 | 1.2092 | 2966.1731 | 8.7237 | 58.8734 | 575.2585 | 388000 | 0.27154 | 1.6754 | 1.8374 | 0.0058199 | 0.0080648 | -0.10171 | 12.1459 | -0.092329 | 674.2242 | -0.047348 | -0.29278 | 1.0586 | 0.10493
2023-11-22 17:12:27.595 | 75.1305 | 35655.8217 | 23420.9386 | -2.3172 | 3278.8127 | 10.8411 | 28.7915 | 726.7375 | 388000 | 0.66866 | 2.8248 | 5.4077 | 0.22116 | 0.0093102 | -0.28096 | 24.0174 | 0.083967 | 734.1647 | 0.020914 | 0.47466 | 1.6323 | 0.02829
2023-11-22 17:12:28.546 | 76.0816 | 35649.8025 | 23428.2942 | -1.2274 | 3534.4611 | 7.6532 | 28.1891 | 700.3336 | 388000 | 1.5064 | 4.1548 | -2.92 | 0.13257 | 0.80971 | 0.44534 | 16.1837 | -0.1045 | 633.0018 | -0.016644 | -0.065831 | 1.0646 | -0.10888
2023-11-22 17:12:29.497 | 77.0325 | 35643.7846 | 23435.6483 | -0.65911 | 3328.939 | 7.1382 | 98.048 | 683.8979 | 388000 | 0.46609 | 5.4961 | -6.0928 | 0.10412 | 0.38184 | 0.4155 | 31.03 | 0.59896 | 802.7746 | -0.015582 | 0.18609 | 0.62014 | 0.23826
2023-11-22 17:12:30.448 | 77.9836 | 35637.7654 | 23443.0039 | 1.1487 | 3431.4257 | 11.0438 | 69.5895 | 688.657 | 388000 | 1.0351 | 2.0231 | 6.2954 | 0.093458 | 0.0075914 | 0.17202 | 33.967 | 0.22494 | 1824.841 | 0.016974 | 0.61098 | 0.89086 | -0.1101
2023-11-22 17:12:31.399 | 78.9346 | 35631.7468 | 23450.3587 | -0.68471 | 3978.2104 | 10.6744 | 107.5787 | 763.2895 | 388000 | 1.4285 | -0.01405 | 6.1073 | 0.067827 | 0.39798 | 0.19999 | 60.8191 | 0.079836 | 2219.4509 | -0.052384 | -0.32157 | 0.6464 | 0.18202
2023-11-22 17:12:32.351 | 79.8857 | 35625.7277 | 23457.7143 | 2.7267 | 3366.3516 | 12.1719 | 57.0104 | 732.1503 | 388000 | 1.2894 | 1.4977 | 3.7011 | 0.1214 | 0.48126 | 0.036172 | 62.8884 | 0.50703 | 3082.8581 | 0.015917 | 0.36723 | 0.4198 | 0.2018
2023-11-22 17:12:33.301 | 80.8366 | 35619.7097 | 23465.0684 | 1.588 | 3500.0617 | 10.7456 | 106.5419 | 809.201 | 388000 | 1.5241 | -0.011758 | 3.0614 | 0.16398 | 0.0075658 | 0.44068 | 42.1804 | 0.068766 | 3452.517 | 0.016834 | -0.054715 | 1.115 | 0.099684
2023-11-22 17:12:34.252 | 81.7876 | 35613.6912 | 23472.4232 | -2.7112 | 3876.2358 | 13.2369 | 32.9311 | 692.3531 | 388000 | -0.63978 | 6.428 | 2.7408 | 0.17057 | 0.20408 | -0.18924 | 56.2726 | -0.10205 | 2634.8947 | 0.091845 | 0.19517 | 0.7787 | 0.11614
2023-11-22 17:12:35.204 | 82.7387 | 35607.672 | 23479.7788 | 3.1545 | 3474.403 | 15.4174 | 55.8996 | 573.4932 | 388000 | 1.0585 | 0.78025 | 0.0070224 | 0.14044 | -0.17444 | -0.030831 | 37.0426 | 0.074891 | 2806.3828 | -0.015592 | -0.30151 | 0.60679 | 0.15023
2023-11-22 17:12:36.155 | 83.6897 | 35601.6535 | 23487.1336 | -3.9263 | 3647.6932 | 12.9579 | 20.6328 | 748.1061 | 388000 | 1.3441 | 2.3481 | 5.3859 | 0.21544 | 0.37072 | -0.17543 | 43.3964 | 0.41248 | 2630.9807 | 0.018027 | -0.29916 | 2.4125 | 0.046028
2023-11-22 17:12:37.106 | 84.6407 | 35595.6349 | 23494.4884 | 0.8217 | 3685.2847 | 14.7081 | 11.2518 | 745.0649 | 388000 | 0.95898 | 2.6395 | 11.4402 | 0.086862 | 0.39051 | 0.27343 | 38.7279 | -0.099843 | 2309.3434 | 0.018928 | 0.69735 | 1.7786 | -0.038366
2023-11-22 17:12:38.057 | 85.5917 | 35589.6164 | 23501.8433 | -1.0716 | 3324.1157 | 18.1507 | 58.8815 | 626.0672 | 388000 | 2.001 | 1.9793 | -6.2633 | 0.0063101 | 0.0079032 | 0.32328 | 29.3253 | 0.23686 | 1669.3134 | -0.047896 | -0.29098 | 2.2305 | 0.085005
2023-11-22 17:12:39.008 | 86.5428 | 35583.5972 | 23509.1989 | -0.60542 | 3257.3329 | 6.6671 | 101.3291 | 773.2578 | 388000 | 2.5598 | 0.14019 | 4.7288 | 0.17079 | 0.007799 | 0.11048 | 52.3708 | 0.3967 | 2245.8659 | -0.015112 | -0.056396 | 0.92746 | 0.064209
2023-11-22 17:12:39.959 | 87.4938 | 35577.5786 | 23516.5537 | -1.6222 | 3778.9215 | 17.8928 | -4.3819 | 791.5767 | 388000 | 0.21873 | 1.6146 | 4.1537 | 0.16394 | 0.19575 | 0.2687 | 60.8518 | -0.098012 | 2812.5825 | -0.016303 | -0.06052 | 0.6225 | -0.058845
2023-11-22 17:12:40.910 | 88.4447 | 35571.5607 | 23523.9078 | -1.6546 | 4019.713 | 17.5558 | 58.6138 | 780.2413 | 388000 | 0.81799 | -1.1737 | 0.0513 | 0.087178 | 0.0085293 | 0.27438 | 34.1204 | 0.078334 | 2490.2369 | -0.016703 | -0.061682 | 0.88999 | -0.060021
2023-11-22 17:12:41.861 | 89.3958 | 35565.5415 | 23531.2634 | -2.7484 | 3255.4169 | 13.1914 | 111.051 | 758.7114 | 388000 | 1.0821 | 0.86084 | 6.3116 | 0.076285 | 0.0074486 | -0.027408 | 17.6029 | 0.068498 | 3058.9509 | -0.04563 | 1.0546 | 0.22162 | -0.052458
2023-11-22 17:12:42.812 | 90.3468 | 35559.523 | 23538.6182 | 3.2438 | 3405.2694 | 11.6621 | 62.5999 | 852.9689 | 388000 | 1.9452 | -0.3364 | 11.285 | 0.1837 | 0.57042 | 0.6436 | 47.1347 | 0.42623 | 3448.9219 | -0.01649 | -0.30859 | 0.49771 | 0.28226
2023-11-22 17:12:43.763 | 91.2979 | 35553.5038 | 23545.9738 | -4.5627 | 3722.571 | 14.1703 | 94.0953 | 723.3699 | 388000 | -0.33099 | -0.17467 | -0.32041 | 0.04654 | 0.0083697 | -0.33209 | 17.5394 | 0.253 | 3225.5587 | -0.016654 | 0.18931 | 0.50076 | 0.24114
2023-11-22 17:12:44.714 | 92.2488 | 35547.4859 | 23553.3278 | -1.8743 | 3281.1507 | 10.395 | 83.3784 | 732.9819 | 388000 | 0.053768 | 0.86 | 0.62497 | 0.18134 | 0.17441 | -0.22732 | 13.5025 | -0.087417 | 3742.5739 | 0.016107 | 0.38915 | 0.33246 | 0.080695
2023-11-22 17:12:45.665 | 93.1999 | 35541.4667 | 23560.6834 | 0.80771 | 3653.1063 | 11.5492 | 102.8594 | 763.6305 | 388000 | 0.63671 | 0.47257 | 8.2436 | 0.12371 | 0.19376 | 0.044298 | 21.789 | -0.097137 | 4750.5477 | -0.01652 | 0.18651 | 0.61642 | 0.047483
2023-11-22 17:12:46.616 | 94.1509 | 35535.4481 | 23568.0383 | -1.7046 | 3850.241 | 17.7942 | 33.5115 | 774.0234 | 388000 | 0.93114 | 2.3927 | 2.5437 | 0.19416 | 0.60224 | -0.031725 | 28.056 | 0.080947 | 4216.8544 | -0.054307 | -0.06328 | 0.39382 | -0.15185
2023-11-22 17:12:47.567 | 95.102 | 35529.429 | 23575.3939 | 0.76967 | 3328.5498 | 6.4179 | 39.5876 | 684.5092 | 388000 | 1.8031 | -0.77488 | 5.5925 | 0.11767 | 0.36052 | 0.18337 | 18.5599 | -0.092355 | 3462.7743 | 0.016827 | -0.056339 | 0.35109 | 0.045203
2023-11-22 17:12:48.518 | 96.0529 | 35523.411 | 23582.7479 | 1.2572 | 3588.7536 | 10.5693 | 75.2939 | 770.0293 | 388000 | -0.13857 | 3.7504 | -2.9012 | 0.15834 | 0.0079561 | 0.25999 | 38.8082 | 0.24222 | 3128.9843 | -0.01626 | 0.18169 | 0.11902 | -0.056355
2023-11-22 17:12:49.469 | 97.0039 | 35517.3925 | 23590.1028 | 1.9017 | 4012.239 | 10.1722 | 132.1775 | 777.5338 | 388000 | 0.96704 | 2.0601 | 8.3233 | 0.11191 | 0.0087497 | -0.11096 | 35.4692 | 0.45222 | 3591.6076 | 0.055641 | -0.063348 | 0.3958 | -0.039415
2023-11-22 17:12:50.420 | 97.955 | 35511.3733 | 23597.4584 | -2.3336 | 3730.4444 | 13.6648 | 187.1197 | 703.4495 | 388000 | 1.214 | 1.0198 | 6.0549 | 0.13084 | 0.0074398 | -0.16206 | 32.2679 | 0.22715 | 3191.8497 | 0.047321 | -0.27829 | -0.0010769 | -0.014272
2023-11-22 17:12:51.371 | 98.906 | 35505.3548 | 23604.8132 | 0.73522 | 3573.9978 | 11.3629 | 208.3723 | 775.0064 | 388000 | 0.37805 | 0.13703 | -2.1367 | 0.11201 | 0.34263 | 0.10774 | 25.8174 | -0.087834 | 2582.7336 | 0.01576 | -0.053277 | 0.33372 | 0.1003
2023-11-22 17:12:52.322 | 99.857 | 35499.3362 | 23612.168 | -0.61932 | 3909.7288 | 21.8121 | 36.0069 | 802.6468 | 388000 | 1.7116 | 1.8918 | 5.5154 | 0.14115 | 0.37306 | -0.02851 | 50.3692 | 0.24488 | 2582.7333 | 0.017096 | -0.057939 | 1.0925 | -0.036073
2023-11-22 17:12:53.273 | 100.808 | 35493.3177 | 23619.5228 | -1.5398 | 3980.1116 | 15.1538 | 183.6863 | 762.4255 | 388000 | 0.88331 | -0.47607 | -1.4365 | 0.13888 | -0.17168 | -0.17148 | 29.8392 | 0.073377 | 1996.6292 | -0.049727 | -0.29491 | 0.11838 | -0.076284
2023-11-22 17:12:54.224 | 101.7591 | 35487.2985 | 23626.8784 | 3.1156 | 3825.353 | 14.141 | 65.0084 | 808.0593 | 388000 | -0.019781 | -1.0976 | -6.4225 | 0.063552 | 0.54576 | 0.68913 | 40.7335 | -0.093989 | 2166.3517 | -0.049728 | 0.18091 | -0.0011398 | 0.10739
2023-11-22 17:12:55.175 | 102.7101 | 35481.2799 | 23634.2333 | -4.3962 | 3463.6554 | 18.0673 | 156.3362 | 746.1943 | 388000 | 0.79687 | 3.7857 | -5.8184 | 0.21739 | 0.0079459 | 0.19042 | 32.4973 | 0.24436 | 2346.9263 | -0.016859 | 0.66682 | -0.0011579 | -0.015171
2023-11-22 17:12:56.126 | 103.661 | 35475.262 | 23641.5873 | -1.1302 | 3899.3401 | 22.6396 | 53.0683 | 745.3402 | 388000 | -0.64547 | 2.1287 | 4.2722 | 0.10697 | 0.38716 | 0.4254 | 29.1771 | 0.78433 | 2768.4099 | 0.017475 | -0.059849 | -0.0012042 | -0.080381
2023-11-22 17:12:57.077 | 104.6121 | 35469.2428 | 23648.9429 | -1.098 | 4070.5389 | 15.2096 | 163.2291 | 819.547 | 388000 | 1.9093 | -0.80744 | -1.2203 | 0.162 | 0.0080122 | 0.045516 | 23.8793 | 0.075246 | 2991.0233 | 0.085145 | -0.30235 | 0.24412 | 0.21521
2023-11-22 17:12:58.028 | 105.5631 | 35463.2243 | 23656.2977 | -1.9868 | 3859.3319 | 26.2456 | 167.8127 | 875.4919 | 388000 | 1.0735 | 0.45643 | 1.5114 | 0.13813 | 0.0077424 | 0.044171 | 38.3277 | 0.40544 | 2788.2876 | -0.016693 | -0.29254 | 0.11756 | 0.066368
2023-11-22 17:12:58.979 | 106.5142 | 35457.2051 | 23663.6534 | 0.86739 | 4051.7031 | 14.0001 | 135.829 | 748.976 | 388000 | 0.21645 | -2.3876 | 4.3741 | 0.069664 | 0.40023 | 0.20528 | 34.9414 | 0.26269 | 2911.3985 | -0.054675 | -0.32132 | 0.12915 | -0.038429
2023-11-22 17:12:59.930 | 107.4651 | 35451.1872 | 23671.0074 | 0.80122 | 3420.7165 | 16.2545 | 5.8728 | 707.2913 | 388000 | 0.5751 | 0.61982 | -2.7576 | 0.064319 | 0.18854 | 0.045019 | 34.4415 | 0.073776 | 2873.5285 | 0.049867 | -0.2964 | 0.11916 | -0.11763
2023-11-22 17:13:00.881 | 108.4162 | 35445.168 | 23678.363 | 0.79964 | 3416.33 | 15.8708 | -53.6835 | 678.2127 | 388000 | 1.0507 | -0.47616 | 1.6373 | 0.21525 | 0.36808 | 0.18905 | 34.3333 | 0.57771 | 3182.5794 | 0.016291 | -0.056589 | 0.23871 | -0.014783
2023-11-22 17:13:01.832 | 109.3672 | 35439.1494 | 23685.7178 | -3.1751 | 3813.222 | 18.5882 | -9.7448 | 754.7037 | 388000 | 0.5132 | 0.49915 | 8.189 | 0.13061 | 0.20307 | 0.12659 | 20.4847 | 0.26105 | 3305.0098 | 0.017533 | -0.061085 | 0.38755 | -0.17091
2023-11-22 17:13:02.783 | 110.3183 | 35433.1303 | 23693.0734 | 0.36497 | 3665.9708 | 12.2472 | -15.2644 | 650.139 | 388000 | 1.5365 | 1.1877 | -6.2149 | 0.15269 | 0.0084816 | 0.20676 | 11.1087 | 0.26385 | 3778.0105 | -0.018781 | 0.19917 | 0.52273 | -0.038444
2023-11-22 17:13:03.734 | 111.2692 | 35427.1123 | 23700.4275 | -0.58606 | 3248.8853 | 13.887 | 44.5711 | 609.2931 | 388000 | 1.6196 | -1.2288 | 4.4342 | 0.062846 | 0.18367 | 0.39636 | 29.2648 | 0.071841 | 3515.8513 | 0.015731 | -0.055138 | 0.93671 | 0.0056828
2023-11-22 17:13:04.685 | 112.2202 | 35421.0938 | 23707.7823 | 3.0434 | 3699.0688 | 13.1468 | 57.5901 | 694.0825 | 388000 | -0.038778 | -1.6092 | 12.8475 | 0.30983 | -0.19632 | 0.46188 | 9.0799 | -0.10769 | 3246.7357 | 0.01825 | 0.47973 | 0.54496 | 0.02999
2023-11-22 17:13:05.636 | 113.1713 | 35415.0746 | 23715.1379 | -4.816 | 3787.5702 | 19.9153 | 224.978 | 782.6336 | 388000 | 1.8318 | 2.0311 | 5.3092 | 0.045616 | -0.17287 | 0.33458 | 19.0057 | 0.24216 | 2429.4174 | 0.082887 | -0.056442 | 0.72032 | 0.088063
2023-11-22 17:13:06.587 | 114.1223 | 35409.0561 | 23722.4927 | -0.54273 | 3312.411 | 16.855 | 262.8383 | 713.8016 | 388000 | 1.2506 | 2.2691 | -1.3259 | 0.19601 | 0.17086 | -0.023909 | 19.2379 | 0.066813 | 2331.6413 | 0.014456 | -0.26836 | 0.32618 | 0.042652
2023-11-22 17:13:07.538 | 115.0733 | 35403.0375 | 23729.8476 | -2.0053 | 3562.1655 | 18.6025 | 175.4423 | 721.9194 | 388000 | 2.44 | -0.16282 | 5.9078 | 0.15951 | 0.18856 | -0.026266 | 43.2817 | 0.24243 | 2983.6417 | -0.017593 | -0.056397 | 0.23962 | -0.014582
2023-11-22 17:13:08.489 | 116.0243 | 35397.019 | 23737.2024 | -1.0993 | 3746.0238 | 12.2934 | 26.6938 | 636.1942 | 388000 | 0.2312 | 1.7736 | -1.3244 | 0.08632 | 0.0079655 | -0.32513 | 33.259 | 0.076008 | 2553.8687 | 0.085356 | 1.1778 | 0.12294 | 0.027409
2023-11-22 17:13:09.440 | 116.9754 | 35390.9998 | 23744.558 | -4.1579 | 3456.3845 | 10.1232 | 43.8348 | 671.3764 | 388000 | 1.4655 | -0.0053064 | 4.3102 | 0.09822 | -0.16553 | 0.38989 | 32.9511 | -0.09083 | 2209.9272 | 0.079092 | -0.053823 | -0.0011016 | 0.1041
2023-11-22 17:13:10.391 | 117.9264 | 35384.9812 | 23751.9128 | 3.3885 | 3722.3438 | 18.532 | 54.5694 | 736.676 | 388000 | 0.40157 | 3.3622 | -5.4819 | 0.21204 | 0.39643 | 0.59297 | 44.0867 | 0.26016 | 2288.7027 | 0.088708 | 0.71158 | -0.001237 | 0.028609
2023-11-22 17:13:11.342 | 118.8774 | 35378.9627 | 23759.2677 | 0.3506 | 3499.5004 | 13.8667 | 163.8192 | 693.3559 | 388000 | 1.5895 | 0.79498 | -4.4583 | 0.31763 | -0.17662 | -0.17381 | 39.6545 | -0.096933 | 2097.9229 | 0.050092 | -0.3019 | -0.0011762 | 0.11114
2023-11-22 17:13:12.293 | 119.8284 | 35372.9441 | 23766.6225 | -0.98102 | 3375.1903 | 19.6432 | 102.2341 | 698.6933 | 388000 | 0.90491 | -1.4531 | 6.118 | 0.077464 | 0.17405 | 0.043064 | 31.8188 | 0.068023 | 3276.3577 | 0.045275 | -0.051834 | 0.11009 | -0.10823
2023-11-22 17:13:13.244 | 120.7795 | 35366.9249 | 23773.9781 | -3.6572 | 3244.5882 | 16.6087 | 48.0143 | 692.5837 | 388000 | -0.031455 | -2.0771 | 4.1111 | 0.061322 | 0.17787 | 0.2488 | 11.7134 | -0.089688 | 3382.1417 | 0.046209 | -0.052929 | 0.11251 | 0.044661
2023-11-22 17:13:14.195 | 121.7305 | 35360.9064 | 23781.3329 | 1.8917 | 4111.2934 | 17.5475 | 189.4787 | 808.273 | 388000 | 0.34679 | 2.3647 | 9.145 | 0.15197 | 0.0082609 | -0.027421 | 30.0429 | 0.80753 | 3878.1879 | -0.055613 | 0.1982 | -0.0012458 | -0.10419
2023-11-22 17:13:15.146 | 122.6814 | 35354.8885 | 23788.687 | -3.6584 | 3905.4232 | 18.912 | 102.9521 | 813.6651 | 388000 | 0.8825 | 0.50096 | -4.697 | 0.27363 | 0.20252 | 0.36125 | 22.8138 | 0.079126 | 4218.932 | -0.019483 | -0.31779 | 0.5162 | 0.050933
2023-11-22 17:13:16.097 | 123.6325 | 35348.8693 | 23796.0426 | 1.8056 | 3621.4426 | 13.9838 | 124.2561 | 769.4937 | 388000 | 0.91132 | -1.7796 | -4.9757 | 0.047485 | 0.56594 | 0.12286 | 17.306 | 0.075746 | 3245.6146 | -0.018723 | -0.30422 | 0.37036 | -0.099276
2023-11-22 17:13:17.048 | 124.5835 | 35342.8507 | 23803.3974 | 3.7762 | 4275.3559 | 15.431 | 114.4329 | 872.3779 | 388000 | 0.63964 | -0.56673 | 0.12899 | 0.12306 | 0.87266 | -0.20255 | 30.6131 | 0.28931 | 2728.3301 | 0.018166 | -0.353 | 0.57355 | -0.11517
2023-11-22 17:13:17.999 | 125.5346 | 35336.8316 | 23810.753 | 2.6936 | 3843.7762 | 13.5869 | 90.8351 | 783.0017 | 388000 | -1.0369 | 2.3484 | 9.0521 | 0.23573 | 0.0076082 | 0.48095 | 12.4072 | 0.073574 | 2520.5944 | 0.015142 | -0.05584 | 0.35985 | 0.088596
2023-11-22 17:13:18.950 | 126.4855 | 35330.8136 | 23818.1071 | -1.585 | 3395.875 | 11.6972 | 73.7105 | 686.4966 | 388000 | 0.43236 | -0.65596 | -4.7408 | 0.16633 | -0.18003 | 0.7256 | 6.0262 | -0.098855 | 3314.128 | -0.019126 | -0.3072 | -0.0012038 | 0.049414
2023-11-22 17:13:19.901 | 127.4366 | 35324.7945 | 23825.4627 | 0.88092 | 3817.2973 | 12.4418 | 86.8791 | 781.8545 | 388000 | 0.84972 | -1.1826 | -3.1387 | 0.1108 | 0.20228 | -0.33699 | 32.2619 | 0.26013 | 2846.0206 | -0.01983 | -0.3173 | -0.0012444 | -0.059291
2023-11-22 17:13:20.852 | 128.3876 | 35318.7759 | 23832.8175 | 3.9674 | 3855.1159 | 11.1902 | 6.6046 | 692.9554 | 388000 | 0.73056 | 0.33881 | -0.74699 | 0.11269 | 0.20562 | 0.36771 | 35.203 | 0.080297 | 2298.2258 | 0.052855 | -0.060835 | 0.13012 | 0.074411
2023-11-22 17:13:21.804 | 129.3387 | 35312.7567 | 23840.1731 | 0.79025 | 3297.6913 | 10.8175 | -18.1691 | 625.0467 | 388000 | 0.72525 | 1.9571 | 2.5054 | 0.08106 | 0.18107 | -0.023507 | 20.4056 | 0.23286 | 2001.1248 | -0.017883 | 0.17691 | -0.0011157 | 0.10509
2023-11-22 17:13:22.754 | 130.2896 | 35306.7388 | 23847.5271 | -2.5807 | 3543.7731 | 28.6323 | 116.4047 | 713.149 | 388000 | -0.48914 | -0.16768 | 7.017 | 0.10844 | 0.38741 | 0.20205 | 29.2181 | -0.099858 | 2620.9769 | 0.050675 | -0.31 | 0.12511 | 0.0068922
2023-11-22 17:13:23.705 | 131.2406 | 35300.7203 | 23854.882 | 2.2993 | 3834.545 | 10.2243 | 68.0348 | 705.36 | 388000 | 1.3167 | -1.458 | 7.8066 | 0.06748 | 0.56694 | -0.17401 | 15.0664 | -0.098106 | 2756.2313 | -0.019318 | -0.057338 | 0.37108 | 0.049195
2023-11-22 17:13:24.657 | 132.1917 | 35294.7011 | 23862.2376 | 0.35563 | 3656.2041 | 18.5951 | 80.9724 | 644.9182 | 388000 | 0.22236 | -1.257 | -6.6972 | 0.10339 | 0.36904 | -0.096363 | 5.7958 | -0.095154 | 2736.5176 | -0.052273 | -0.29526 | -0.0011633 | 0.12996
2023-11-22 17:13:25.608 | 133.1427 | 35288.6825 | 23869.5924 | -2.9886 | 3422.6936 | 12.1792 | -34.5954 | 607.2992 | 388000 | -0.21515 | 0.63854 | -3.464 | 0.20253 | -0.17703 | 0.64018 | 32.9481 | -0.09725 | 2895.2794 | 0.014922 | -0.056752 | 0.49074 | -0.014181
2023-11-22 17:13:26.559 | 134.0937 | 35282.664 | 23876.9472 | -5.4252 | 4727.2204 | 46.9967 | 477.0279 | 1232.6779 | 388000 | 3.0658 | -1.7374 | 37.9234 | 0.10303 | 0.41605 | 7.2944 | 32.2892 | 0.16238 | 1459.6239 | 0.25403 | -0.65236 | 0.26338 | 0.33277
2023-11-22 17:13:27.510 | 135.0447 | 35276.6454 | 23884.302 | 131.1241 | 6459.2987 | 51.5669 | 1083.2448 | 4125.2948 | 388000 | 36.0575 | 2.7474 | 32.2501 | 0.49174 | 0.13302 | 47.0333 | 102.8482 | 1.3038 | 1233.8118 | 0.25673 | -0.98437 | -0.020701 | -0.97439

## Things to cite
Paton, C., Hellstrom, J., Paul, B.,Woodhead, J. and Hergt, J. (2011) Iolite: Freeware for the visualisation and processing of mass spectrometric data. Journal of Analytical Atomic Spectrometry. doi:10.1039/c1ja10172b.